## Slide 1: LHC BWS Mechanics
BWS project team meeting
2/5/2023

## Slide 2: Some ‘definitions’
Hybrid design
  2 instruments currently installed in the LHC
  Compatible with the LIU control system
  Using the existing support and infrastructure
  0/90 measurement configuration
  Ball screw drive and encoder
  All vacuum components (bellows, fork assemblies, feedthroughs) unchanged
Hybrid+ design
  Nothing currently installed in the LHC
  Compatible with the LIU control system
  Using the existing support and infrastructure
  0/90 measurement configuration
  Ball screw drive and encoder
  Re-design fork assemblies and feedthrough
  Magnetically coupled drive depends on ongoing development
Full Consolidated design
  Nothing currently installed in the LHC
  Compatible with the LIU control system
  New support design
  45 degree measurement configuration?
  Drive and fork position system to be decided
  Fork assembly and feedthrough to be decided
  Drive coupling (bellows/magnetic?) and (linear?) motor to be decided

## Slide 3: Current list of ‘urgent’ questions
Do we agree on the hybrid strategy that:
  We aim to consider the 2 ‘Hybrid’ instruments as available for operations by end 2023
  We aim to build and install 2 additional ‘Hybrid+’ designs, replacing 2 ‘legacy’ designs for YETS 23-4
As a strategy for the Fully consolidated design…
  We design and build a linear motor test bench
    Procure one or more linear drives to test technology
  We design and build a 45° tank
    Do we install it in the SPS, LHC in YETS23-4 or just on a test bench?
  Position sensor R&D
    Depends on magnetically or bellows coupled