## Slide 1: PLC & Fieldbus Survey – May 11th 2023 Executive Summary
29 participants
Two presentations
  https://indico.cern.ch/event/1272496/
  PLC survey
  Fieldbus survey and recommendations
PLC Survey
  First summary of the survey’s answers
  Some answers were just received yesterday
  Analysis and recommendations from the survey will be presented in a future meeting
  Forum would be interested to have a presentation on the usage of B&R PLC. To be scheduled in the future.
Fieldbus Survey and Recommendations
  Clarification that the 2013 recommendations were only addressing Ethernet based fieldbuses, and the 1996 recommendations are still valid
  Discussion on the proposed recommendations
  Recommendations summarized and updated in the following slide

## Slide 2: Fieldbus Recommendations to the CTTB
Maintain the support of currently centrally supported fieldbuses
    CAN, EtherNet/IP, FIPIO, MODBUS, PROFIBUS/PROFINET famililes, White Rabbit, WorldFIP
Foster ethernet based fielbuses
    Migrate from serial to ethernet based fieldbuses whenever possible for existing installations
    Ethernet based fieldbuses should be favored for new installations
Explore wireless fieldbuses
    Mandate a group or task force to evaluate and validate existing solutions
    e.g. PROFINET over IEEE 802.11
Update the 2013 list of recommended fieldbuses
    Add explicitly WorldFIP
    Clarify that PROFINET profiles are recommended
Mandate a task-force to formalize and establish the recommendations
    A more formalized process to establish, agree and follow the recommendations is needed through a dedicated task force
    The forum is a good place to collect inputs, but does not necessarily have the legitimity to establish the recommendations