## Slide 1: RFD Cryomodule…Warm Measurements
Measurements taken at warm during cryomodule assembly (courtesy of G. Burt)
There is almost no change between the measurements of the cavity string post-cleanroom and post-load transfer when measuring HHOM-VHOM up to 2 GHz
The 750 MHz mode is split in two in measurements involving the field antenna, but 400 MHz signal is fine
Notes: Finally a quick nod to RFD measurements taken on the cryomodule at Daresbury recently. The HOM spectrum measured from the RFD HHOM to VHOM are stable. Observation of a very small change around 750MHz where one mode has now split and now appears as two modes, this is not explained but is not considered and issue at the moment.

## Slide 2: Cavity 1 & 2 – HHOM to FA

## Slide 3: Cavity 1 & 2 – HHOM to FA - 750MHz

## Slide 4: Cavity 1 & 2 – VHOM to FA

## Slide 5: Cavity 1 & 2 – VHOM to FA - 750MHz

## Slide 6: Cavity 1 & 2 – VHOM to HHOM

## Slide 7: Cavity 1 – Warm measurements at CERN before transport -

## Slide 8: Cavity 2 – Warm measurements at CERN before transport -