## Slide 1: X-Box Update
14.06.2023

## Slide 2: X-Box 2: TD31 N3 N4

## Slide 3: X-Box 2 TD31 N3 N4: Structure A
Restarted 05.06.2023
Currently up to 50MW

## Slide 4: X-Box 2: TD31 N3 N4 Structure A – Peak Power

## Slide 5: X-Box 2: TD31 N3 N4 Structure A – Gradient

## Slide 6: X-Box 2: TD31 N3 N4 Structure A – Pos

## Slide 7: X-Box 2: DC Histogram

## Slide 8: X-Box 2: 06. June 2023 Pulse 313636962
Log 0
Log 2
Log 1

## Slide 9: X-Box 2: 06. June 2023 Pulse 313657497
Log 0
Log 2
Log 1

## Slide 10: X-Box 2: 06. June 2023 Pulse 313798416
Log 0
Log 2
Log 1

## Slide 11: X-Box 2: 06. June 2023 Pulse 313798640
Log 0
Log 2
Log 1

## Slide 12: X-Box 2: 06. June 2023 Pulse 313983633
Log 0
Log 2
Log 1

## Slide 13: X-Box 2: 06. June 2023 Pulse314132985
Log 0
Log 2
Log 1

## Slide 14: X-Box 2: 06. June 2023 Pulse314133551
Log 0
Log 2
Log 1

## Slide 15: X-Box 2: 06. June 2023 Pulse 314135207
Log 0
Log 2
Log 1

## Slide 16: X-Box 2: 06. June 2023 Pulse 31458942
Log 0
Log 2
Log 1

## Slide 17: X-Box 2: 06. June 2023 Pulse 314549440
Log 0
Log 2
Log 1

## Slide 18: X-Box 2: 06. June 2023 Pulse 314556044
Log 0
Log 2
Log 1

## Slide 19: X-Box 2: 06. June 2023 13:17:19
Log 0
Log 2
Log 1

## Slide 20: X-Box 2 TD31 N3 N4: Structure B
Shut down

## Slide 21: X-Box 2: TD31 N3 N4 Structure B – Peak Power

## Slide 22: X-Box 2: TD31 N3 N4 Structure B – Gradient

## Slide 23: X-Box 3: TD31

## Slide 24: High Efficiency Klystron ER37117 TUBE1 Measurement campaign
Measurements at 70kV (CANON configuration)
Sweep up to current value of 11A, saturation point not found
Calculated uPe differs from Canon value by an 8.4%

## Slide 25: High Efficiency Klystron ER37117 TUBE1 Measurement campaign
Measurements at 100kV
Sweep up to current value of 11A, saturation point not found

## Slide 26: High Efficiency Klystron ER37117 TUBE1 Measurement campaign
Klystron output: voltage vs current curves

## Slide 27: X-Box 3 Line 1: TD31 N1
Shut down

## Slide 28: X-Box 3 Line 1: TD31 N1 – Peak Power

## Slide 29: X-Box 3 Line 1: TD31 N1 – Gradient

## Slide 30: X-Box 3 Line 2: TD31 N2
Shut down

## Slide 31: X-Box 3 Line 1: TD31 N2 – Peak Power

## Slide 32: X-Box 3 Line 1: TD31 N2 – Gradient