## Slide 1: Development of monitoring system for DAQ servers
Presentation by : Nechirawan Mohammed
Supervised by: Adam Abed Abud
22 Aug 2023
CERN Summer student programme 2023

## Slide 2: Who am I?
Nechirawan Mohammed from Erbil (Kurdistan Region of Iraq)
Theoretical Cosmology
Shahid Beheshti University-Tehran

## Slide 3: Outline
Introduction to DUNE
ProtoDUNE
Project Overview
Monitoring Ping, Andrew File System (AFS), and CernVM File System (cvmfs)
My contribution
Conclusion

## Slide 4: Deep underground neutrino experiment (DUNE)
Liquid Argon time projection chamber
Fermilab Accelerator generate intense neutrino beam
4 Far detector modules (1.48 Km underground) in Sanford
Detector size (14 x 14 x 62) m3
Wide physics programme
Accelerotor based neutrino physics
Supernovae neutrino studies
Proton decay

## Slide 5: ProtoDUNE
Two prototype far detectors at CERN
The first started taking data in Sep 2018
Detector size (6 x 6 x 6) m3
  5% of DUNE

## Slide 6: ProtoDUNE DAQ room
Network file system,
Run control, monitoring,
readout
Safety, power control, UPS
Disk arrays
Storage servers
Disk arrays
Triger
Timing

## Slide 7: EP-DT-DI DAQlab
Located in building 0021 R-0069
11 machines used for development by Detector Interface section
Mainly used for DAQ development
  E.g.: (Proto)DUNE, NA61, NA62 experiments
  Both software and firmware development
Temperature monitoring available and alarm based alerting system

## Slide 8: Project description
Developing a web-based application to monitor the status of a list of servers and assess the availability of different services
Functionality:
Checks server status using ICMP ping and SSH
Verifies AFS and CVMFS availability
Potentially including other services
Benefits:
Quick assessment of server statuses to support System Administrators
  E.g. In case of power cut
Visual representation with color coding

## Slide 9: What are Ping - AFS – CVMFS ?

## Slide 10: Ping Monitoring
The ping monitoring feature provides a real-time indication of the servers’ status, enabling administrators to quickly identify potential issues
Functionality:
ICMP Echo Requests
Response Time
Online Status

## Slide 11
AFS is a distributed network file storage system designed for sharing files and data across multiple machines
Features:
Distributed File System
Secure Access
Organized Structure
CERN Virtual Machine File System (CVMFS) :
CVMFS is optimized for scientific computing environments, distributing software and data to researchers
Features:
Global Distribution
Immutable File System
Caching files on the user’s machine
Andrew File System (AFS):

## Slide 12: My contribution
The web application has been develop using the following python modules
Python's modules offer modular and structured programming by encapsulating functions, classes, and variables in standalone chunks of code
Flask (Creating a web application )
Socket (Check server’s availability)
Paramiko (SSH connection)
Getpass (Secure passwords)
Subprocess (Checking the status of the servers)

## Slide 13: My contribution
Logic and Workflow:
Give a Server List
enter your username & password
Check server status
Check SSH Connectivity
Check File System AFS & CVMFS
Compilation of the result and rendering
Show up the result on a web page

## Slide 14: My contribution
Check Ping
Connect SSH
Using Paramiko
Down
AFS & CVMFS
N/A
Check AFS
Check CVMFS
etc
Authentication Exception
N/P
server
Up
Down
Down
Up
Down
Up
Exception
Up

## Slide 15: Display
The results are displayed on a web page as shown:

## Slide 16: Conclusion
The provided Python code sets up a Flask web application to monitor the status of a list of servers
It utilizes various libraries, such as
  Subprocess for checking the status of the servers
  paramiko for SSH interactions
  Flask for web rendering
The application checks server connectivity, SSH availability, and the status of AFS and CVMFS file systems
The results are displayed on a web page, allowing users to quickly assess the health of the listed servers
Outlook:
  Extend the services to monitor(e.g. server metrics monitoring, etc.)
  Hyperlink to remote web control of the servers (IPMI)
  Improving the code to give the status of the servers continuously

## Slide 17: Thank you for your attention