## Slide 1: WP5 progress report
Tuesday 13th June 2023
ITS3
WP5 collaboration

## Slide 2: BBM4 bending
@Pieter
Bending and integration of a real wafer size sensor (L0 size, 50um thin, MLR1 65 nm tech.)
Wire-bonding integrity under airflow speed 4-8m/s (optical inspect)
Vibration measurements (identify natural frequencies real sensor)
MLR1 central piece
Top view
Bottom view
Glass window
Max 12 mm

## Slide 3: BBM4 bending (11/5/2023 >1 month)
@Pieter, Antoine
Placement of the sensor in the vacuum table
Vacuum table
Silicon sensor
(electronics side)
Mandrel (L0)
Mylar
Kapton tape
Vacuum table
Alignment with the mandrel
Contact between the kapton tape and the sensor
Mandrel (L0)
Kapton tape
Silicon sensor
Start of the bending procedure
Kapton tapes
Mylar
Mandrel (L0)
Silicon sensor
(electronics side)
End of the bending procedure
Removal of the mylar foil

## Slide 4: ONGOING and NEXT
Present airflow control system
Upgrade under consideration:
-new valves, air flow and pressure sensors
Fan outside the lab
Upgrade under consideration:
-new chiller (vortex system)
Prototype
BP with window for the displacement sensor,
For vibration measuring of layer0
Upgrade of BBM3 ongoing
Upgrade of the wind-tunnel ongoing
@Philippe, Cedric, Fabio, Pieter
BBM4 assembly NEXT wire-bonding and mechanics gluing
End of June (DSF closed 19/6 – 28/6)
All assembly parts (almost) ready
@Pieter, Antoine