## Slide 1: X-Box Update
14.06.2023

## Slide 2: X-Box 2: TD31 N3 N4

## Slide 3: X-Box 2 TD31 N3 N4: Structure A
Restarted 05.06.2023
After general blackout, we restarted on Friday 7th
Currently stuck at 45 MW

## Slide 4: X-Box 2: TD31 N3 N4 Structure A – Peak Power

## Slide 5: X-Box 2: TD31 N3 N4 Structure A – Gradient

## Slide 6: X-Box 2: TD31 N3 N4 Structure A – Pos

## Slide 7: X-Box 2: 07 July 2023 Pulse 395085264

## Slide 8: X-Box 2: 07 July 2023 Pulse 395098471

## Slide 9: X-Box 2: 07 July 2023 Pulse 395099235

## Slide 10: X-Box 2: 08 July 2023 Pulse 396422527

## Slide 11: X-Box 2: 08 July 2023 Pulse 396423586

## Slide 12: X-Box 2: 08 July 2023 Pulse 396424792

## Slide 13: X-Box 2: 08 July 2023 Pulse 395099235

## Slide 14: X-Box 2: 08 July 2023 Pulse 396436789

## Slide 15: X-Box 2 TD31 N3 N4: Structure B
Restarted 11.07.2023

## Slide 16: X-Box 2: TD31 N3 N4 Structure B – Peak Power

## Slide 17: X-Box 2: TD31 N3 N4 Structure B – Gradient

## Slide 18: X-Box 3: TD31

## Slide 19: High Efficiency Klystron ER37117 TUBE1 Measurement campaign
Measurements at 70kV (CANON configuration)
Sweep up to current value of 11A, saturation point not found
Calculated uPe differs from Canon value by an 8.4%

## Slide 20: High Efficiency Klystron ER37117 TUBE1 Measurement campaign
Measurements at 100kV
Sweep up to current value of 11A, saturation point not found

## Slide 21: High Efficiency Klystron ER37117 TUBE1 Measurement campaign
Klystron output: voltage vs current curves

## Slide 22: X-Box 3 Line 1: TD31 N1
Shut down

## Slide 23: X-Box 3 Line 1: TD31 N1 – Peak Power

## Slide 24: X-Box 3 Line 1: TD31 N1 – Gradient

## Slide 25: X-Box 3 Line 2: TD31 N2
Shut down

## Slide 26: X-Box 3 Line 1: TD31 N2 – Peak Power

## Slide 27: X-Box 3 Line 1: TD31 N2 – Gradient