## Slide 1
A Large Ion Collider Experiment
ALICE data transfer rates and
DC 2024
L. Betev, M. Litmaath
Nov 9, 2023 DC2024 workshop

## Slide 2: Planned and achieved data rates
A Large Ion Collider Experiment
ALICE target rates are defined for Run3/4 and remain unchanged
All rates tested and achieved during data challenges and subsequently in 2022/2023 (real data transfers)
No data will be shipped to RU T1, all other T1s can and have pledged to absorb the difference
Centre | Target rate GB/s | Achieved rate GB/s
CNAF | 0.8 | 2 (250%)
IN2P3 | 0.4 | 0.8 (200%)
KISTI | 0.2 | 1 (500%)
GridKA | 0.6 | 2 (300%)
NDGF | 0.3 | 0.4 (133%)
NL-T1 | 0.1 | 0.9 (900%)
RRC-KI | 0.4 | 0.53 (128%)
RAL | 0.1 | 0.7 (700%)
CERN | 10 | 20 (200%)
Target 2.5GB/s (T1s) + 10GB/s (T0)

## Slide 3: Rates rationale
A Large Ion Collider Experiment
The rates to T0/T1s - proportional to the pledges resources of the corresponding centre
Largest contribution are the Compressed Time Frames (CTF) - the ALICE equivalent of RAW data in Run3+
  All data are located on the O2 disk buffer at CERN prior to transfer
Most intensive transfer period - after the end of Pb-Pb data taking for the corresponding year
  Copy the data to tape in 3-4 months after completion of data taking

## Slide 4: DC 2024 participation
A Large Ion Collider Experiment
If the Pb-Pb data transfer is not completed yet - will continue with standard transfer programme
If Pb-Pb is done - synthetic transfers up to the planned rates
  In this case, the data will be removed after DC completion
No software changes in the ALICE DM system foreseen
TPC monitoring (xrootd) is available and good enough for us
  A common monitoring system could in principle obtain the relevant data from MonALISA