## Slide 1
ZEPLIN-III SECOND SCIENCE RUN
Henrique Araújo
Imperial College London
on behalf of ZEPLIN-III Collaboration:
Edinburgh University (UK), Imperial College London (UK),
ITEP-Moscow (Russia), LIP-Coimbra (Portugal)
STFC Rutherford Appleton Laboratory (UK)
IOP2011 NPPD CONFERENCE
3-7 April 2011, University of Glasgow

## Slide 2: ZEPLIN-III: 2-phase xenon TPC
Readout of scintillation light and ionisation charge with array of 31 photomultipliers
Liquid xenon
Gaseous xenon
Primary Scintillation
photomultipliers
S1
Sensitivity to single ionisation electrons!
Edwards et al., arXiv:0708.0768
Secondary Scintillation (electroluminescence)
S2

## Slide 3: First science run
First science run at Boulby: 83 days in 2008
Strong constraints on WIMP-nucleon scattering cross-sections
  V. N. Lebedenko et al., Phys. Rev. D 80: 052010 (2009)
  Scalar cross-section excluded above 8.1x10-8 pb (90% CL) at 60 GeV/c2
  V. N. Lebedenko et al., Phys. Rev. Lett. 103: 151302 (2009)
  WIMP-neutron cross-section excluded above 1.9x10-2 pb (90% CL)
  Akimov et al., Phys. Lett. B 692: 180 (2010)
  Explanation of DAMA with inelastic DM model ruled out at 87% CL
Phase-II upgrades commissioned in 2009/10
  New photomultiplier array (low background)
  New anti-coincidence veto (background reduction & diagnostic)
  New calibration hardware (reduction of systematics)
  System automation (underground effort, improved stability)
Second science run underway since Jun 2010

## Slide 4: Photomultiplier upgrade
PMT gamma-rays limited sensitivity of first run by a large factor
Custom design for ultra low-background tubes, pin-by-pin compatible
Assembly onto ZEPLIN-III array in early 2010
Aiming for 30x reduction in radioactivity to <50 mBq/PMT

## Slide 5
Anti-coincidence (veto) detector
52-ch (~3p) veto detector replaces some hydrocarbon shielding around target
Inner gadolinium-loaded hydrocarbon surrounded by plastic scintillator
Delayed-coincidence detection of Gd-158 gammas (11 ms mean capture time)
60% neutron tagging, 28% gamma-ray tagging, important diagnostic tool
 see talks by Chamkaur Ghag, Ant Hollingsworth & Lea Reichhart

## Slide 6: SSR OPERATIONS
TARGET TEMPERATURES
LN2 TEMPERATURES
Z3/VETO COUNT RATE
10:00
Co-57 cal
10:30
LN2 filling
12 hours
target control temperature
LXe flange temperature
GXe pressure
TARGET PRESSURES
PRESSURE
LN2 TEMPERATURES
1 month
Xe pressure
environment
reference
daily LN2 refill

## Slide 7: Second science run goal

## Slide 8: SSR e-recoil background
0.75 evt/kg/day/keVee
(20x lower than in first run)
Very good (absolute) agreement of energy and spatial distributions with component-level simulations
PMT array 35x lower background

## Slide 9: Background expectation in SSR dataset
Electron and nuclear recoil background rates
(5-50 keVnr in 6.5 kg fiducial, unity signal acceptance)
Background expectation in
1-year dataset, in a/c with veto
and realistic signal acceptance:
0.4±0.1 neutron scatters
2.4±0.2 electron recoils
  Main challenge is to achieve the same discrimination power as in FSR with new phototubes (poorer optical performance)

## Slide 10: Vertex reconstruction
Light response functions reconstructed for all PMTs from calibration
This process automatically equalises (‘flat-fields’) the array
Depth (z coordinate) from drift time in liquid (to tens of mm)
Least squares fit to all channels simultaneously yields (E,x,y)
S2 reconstruction: 2 mm FWHM in horizontal plane for 122 keV
S1 reconstruction: 12 mm FWHM
Multiple scintillation, single ionisation (MSSI) events (‘living-dead’)
    Spatial c2 maps help identify multiple vertices in S1
S1 reconstruction
S2 reconstruction

## Slide 11: Vertex reconstruction: improvements
8.3% FWHM for Co-57 gamma-rays, resolving fully 122.1 keV and 136.5 keV line

## Slide 12: New Leff Analysis
Scintillation efficiency for nuclear recoils relative to 122 keV gamma-rays
Threshold of LXe experiments is (was) at stake: significant systematic error
Direct measurements at neutron beam
Indirect measurements (fit to MC)
Previous ZEPLIN-III result showed
marked decrease at low energy,
contradicting other data (~constant)
Subsequent beam result from Yale
showed something else yet again!
New calibration and analysis with
improved software highlighted
issue with dual-range DAQ matching
See talk by A. Currie for new Leff and
impact on previous result
 see talk by Alastair Currie
A. Manzur et al, PRC 81, 025808 (2010)

## Slide 13: SSR sensitivity
CMSSM Buchmueller et al
CMSSM Trotta et al
From 2,000 kg*days raw fiducial exposure
(>11 month run)

## Slide 14: Conclusions
Experiment upgraded very successfully:
  Background approximately 20 times lower
  New veto detector surrounding WIMP target
SSR data taking progressing with high duty cycle:
  Aim for 2,000 kg*days by end of May’11
Data analysis ongoing, still blind in signal region
Main challenges (MSSI events and poor PMT performance) being addressed by improved vertex reconstruction software
New measurements confirm more favourable Leff at low energy
SI sensitivity could reach 1-2x10-8 pb/nucleon