## Slide 1: YETS 23/24 preparation

## Slide 2
              Actual situation
Two spare wire scanners ready, will be moved to BA4 in the next few days
BA4 WS operational
BI ready to replace BA4 WS if needed(see LMC minutes of the 26th of July 2023)

## Slide 3
Preliminary planning for SPS WS interventions
Week 47: removal of the BA5 WS(and tank modification?)
Week 2(2024): BA5 WS installation (and tank modification?)
Week 3(2024): BA4 WS installation(and tank modification)

## Slide 4
WS modification
BA4 WS have 6 ferrites in the horizontal tank(41677) and 5 ferrites and coupler in the vertical tank(41688)
Which scheme shall be used to modify the other tanks?
Shall we go back to the original layout: vertical WS in BA4 and horizontal in BA5?
Ferrites tiles might be difficult to procure in time, do we have in house?
When the final decision will be taken?
Shall we change the BA4 WS wires even if they will survive the 2023 run?