## Slide 1: X-Box Update
09.08.2023

## Slide 2: X-Box 2: TD31 N3 N4

## Slide 3: X-Box 2 TD31 N3 N4:
Stopped 11.07.2023
Ongoing calibration to operate Structure B
LabView issues solved (thanks to Paz and Ben)
Soon operating again
New temperature sensors and Flowmeters installed
Integration of temperature sensors will be done next

## Slide 4: Xbox 2 Breakdown definition

## Slide 5: X-Box 2: TD31 N3 N4 Structure A – Peak Power

## Slide 6: X-Box 2: TD31 N3 N4 Structure A – Gradient

## Slide 7: X-Box 2: TD31 N3 N4 Structure A – Pos

## Slide 8: Distribution of DC

## Slide 9: Distribution of DC down
Shift due to offset of DC down at XBox2 (Structure A)
Smaller Offset at XBox3 (Structure A)

## Slide 10: X-Box 2: 06. June 2023 13:17:19
Log 0
Log 2
Log 1

## Slide 11: X-Box 2: TD31 N3 N4 Structure A – Missing Energy

## Slide 12: X-Box 2: TD31 N3 N4 Structure A – Missing Energy

## Slide 13: Position distribution of BD

## Slide 14: Distribution of Missing energy

## Slide 15: Distribution of Missing energy

## Slide 16: BD investigation individual pulse – Example 1
All signals
Shifted signals
Zoomed signals

## Slide 17: BD investigation individual pulse – Example 1
Integrated over signal width of 10 points
Subtraction of integrals: PSI-PEI-PSR
Next time include the subtraction of previous pulse

## Slide 18: BD investigation individual pulse – Example 2
All signals
Shifted signals
Zoomed signals

## Slide 19: BD investigation individual pulse – Example 2
Integrated over signal width of 10 points
Subtraction of integrals: PSI-PEI-PSR
Next time include the subtraction of previous pulse

## Slide 20: X-Box 2 TD31 N3 N4: Structure B
Calibration needed

## Slide 21: X-Box 2: TD31 N3 N4 Structure B – Peak Power

## Slide 22: X-Box 2: TD31 N3 N4 Structure B – Gradient

## Slide 23: Xbox 3 Breakdown definition