## Slide 1: X-Box Update
22.08.2023

## Slide 2: X-Box 2: TD31 N3 N4

## Slide 3: X-Box 2 TD31 N3 N4: Structure B
Restarted 22.08.2023
100% power going to Structure B
Calibration lines B – checked
Starting at ~20MW

## Slide 4: X-Box 2 TD31 N3 N4: Structure B

## Slide 5: BD investigation individual pulse – Example 1
Overview
Aligned
Zoomed
Breakdown
Normal

## Slide 6: BD investigation individual pulse – Example 1
Integration (fixed to 10 points)
Variable Integration

## Slide 7: BD investigation individual pulse – Example 2
Overview
Aligned
Zoomed
Breakdown
Normal

## Slide 8: BD investigation individual pulse – Example 2
Integration (fixed to 10 points)
Variable Integration

## Slide 9: BD investigation individual pulse – Example 3
Overview
Aligned
Zoomed
Breakdown
Normal

## Slide 10: BD investigation individual pulse – Example 3
Integration (fixed to 10 points)
Variable Integration

## Slide 11: BD investigation individual pulse – Example 4
Overview
Aligned
Zoomed
Breakdown
Normal

## Slide 12: BD investigation individual pulse – Example 4
Integration (fixed to 10 points)
Variable Integration

## Slide 13: X-Box 3: High Efficiency Tubes Characterisation
Calibrated setup – problems with VNA
Measured curves of first TUBE (mod A)
Now – interlock in mod A due to missing signal

## Slide 14: High Efficiency Klystron ER37117 TUBE1 Measurement setup
RF Gen
SSA
Klystron
HP DC
Load
DC
Isolation + Transition + Attenuation
Power Meter 1 - PKI
Attenuation
PKI to Power Meter 1
HP DC
Power Meter 2 - PKI
PKI to Power Meter 2
Chain | Att(dB)@11.994GHz
PKI, chain 1 | 42.76
PKI, chain 2 | 45.10
KLYIN | 49.68

## Slide 15: High Efficiency Klystron ER37117 TUBE1 Measurement setup
(*) Beam Current is set on basis of oscilloscope measurement. A uPe of 1.55 has been assumed.
Same Configuration as CANON | Same Configuration as CANON
Beam Current (A) | 94 (*)
RF pulse width (us) | 1.00
Klystron pulse width( us) | 6.4
Frequency (Hz) | 11.994
PRR | 50
Main Coil Sol Curr (A) | 32
Counter Coil Sol Curr (A) | 7

## Slide 16: High Efficiency Klystron ER37117 TUBE1 Optimal operation point
Optimal point @9.5A
Confirmed
Hypothesis: CANON reported curves for CCC=11 A instead of CCC= 7 A
Saturation point @ drive power=297W
Chart: Drive Power (W)
| 0 | 50 | 100 | 150 | 200 | 250 | 300
Canon | 0 | 4.5 | 6.4 | 7.4 | 7.8 | 8 | 8.1
CCC=7A | 4.2983 | 6.1773 | 6.8202 | 7.2744 | 7.4611 | 7.4439 | 7.3249
CCC=11A | 1.5798 | 3.0325 | 6.365 | 6.6958 | 7.0275 | 7.1417 | 7.2912 | 7.3418 | 7.4097 | 7.4662 | 7.449 | 7.4696 | 7.4834 | 7.4783

## Slide 17: High Efficiency Klystron ER37117 TUBE1 Optimal operation point
Optimal point @9.5A
Hypothesis confirmed: CANON reported curves for CCC=11 A instead of CCC= 7 A
Fine tuning of CCSC to find optimal point

## Slide 18: High Efficiency Klystron ER37117 TUBE1 Frequency behaviour
(*) Use of fixed value for attenuation (Att@11.994 GHz) – low frequency structure observed in calibration

## Slide 19: High Efficiency Klystron ER37117 TUBE1 Frequency behaviour
(*) Use of fixed value for attenuation (Att@11.994 GHz) – low frequency structure observed in calibration

## Slide 20: High Efficiency Klystron ER37117 TUBE1 Beam voltage dependency

## Slide 21: X-Box 3 Line 1: TD31 N1
Shut down

## Slide 22: X-Box 3 Line 1: TD31 N1 – Peak Power

## Slide 23: X-Box 3 Line 1: TD31 N1 – Gradient

## Slide 24: X-Box 3 Line 2: TD31 N2
Shut down

## Slide 25: X-Box 3 Line 1: TD31 N2 – Peak Power

## Slide 26: X-Box 3 Line 1: TD31 N2 – Gradient