## Slide 1: RMS Status
What we can do and what is missing

## Slide 2: Definition of general system information
Machines / Rooms / Racks
CPUs
Crates / Interface cards
PLCs / Interface modules / Polling groups
Software modules
OPC Server / OPC groups
WinCC OA Systems
Panels
Cycle Codes (Masks&Filters)

## Slide 3: Definition of data types
Device class definition

## Slide 4: Versions and States
Each data type/data point/Working Set/Virtual Accelerator can exist in multiple versions
Each version can be in one out of three states:
  In work (one version at a time, modifiable)
  Released (one version at a time, not modifiable)
  Deprecated (multiple versions at a time, not modifiable)
in work
released
deprecated

## Slide 5: Definition of data points
Device class instantiation

## Slide 6: Definition of working sets
Set of devices

## Slide 7: Definition of virtual accelerators
Set of working sets

## Slide 8: Definition of configuration
Virtual Accelerators
Working Sets
Devices

## Slide 9: Steps to do from 0Configuration
Definition of the general system Information
Definition of device classes
Definition of device instances
Working Set definition
Virtual Accelerator definition
Create configuration

## Slide 10: What is missing
Navigator Panel Manager
  Define available panels
  Define panel tree
Wave form builder (first version delivered)
Sequence builder (for building timing sequences)