## Slide 1: Training vs Quadrant in MQXFS
Susana Izquierdo Bermudez

## Slide 2: General considerations
Training strategy:
  MQXFS3a/b/c and MQXFS5 trained protecting with EE+QH
  The rest of the magnets use QH+CLIQ up to Iult, QH + EE from Iult to Iss
The CLIQ parameters for the training are 200 V/50 mF, which corresponds to a peak current of about 2 kA
Conductors with different layouts, in some cases, coils already trained in a previous assembly (in bold in the table below)
 | Training strategy | Coil ordering |  |  |  |  | 
 |  | Q1 | Q2 | Q3 | Q4 |  | 
MQXFS3a/b | QH + EE | 7 | 105 | 107 | 106 |  | RRP 108-127
MQXFS3c |  | 107 | 106 | 8 | 105 |  | RRP 144-169
MQXFS5a |  | 203 | 205 | 204 | 206 |  | RRP 132-169
MQXFS4a/b/c | QH+CLIQ up to Iult, QH + EE from Iult to Iss | 109 | 111 | 108 | 110 |  | PIT 192
MQXFS6a |  | 209 | 210 | 208 | 212 |  | PIT 192 Bundle
MQXFS6b/c/d |  | 204 | 210 | 203 | 212 |  | 
MQXFS7a-f |  | 211 | 114 | 113 | 207 |  | 
MQXFS8 |  | 115 | 210 | 116 | 212 |  | 

## Slide 3: Connection scheme long vs short
Magnet connection polarity: B is positive, A is negative.
CLIQ connection polarity: B is positive, A is negative.
Quench heater connection polarity: B is positive, A is negative.
Basically the same for MQXFB and MQXFS, except for MQXFS3 where the connection was different, but it was not used for the training

## Slide 4: MQXFS3
I will look only at the first part of the training of S3a (up to ≈17 kA)

## Slide 5: MQXFS4

## Slide 6: MQXFS5

## Slide 7: MQXFS6

## Slide 8: MQXFS7

## Slide 9: MQXFS8
Not trained yet to Imax

## Slide 10: First quench
 | Training | First Quench |  |  | 
 | strategy | Q1 | Q2 | Q3 | Q4
MQXFS3a/b | QH + EE | 7 | 105 | 107 | 106
MQXFS3c |  | 107 | 106 | 8 | 105
MQXFS5a |  | 203 | 205 | 204 | 206
MQXFS4a/b/c | QH+CLIQ up to Iult, QH + EE from Iult to Iss | 109 | 111 | 108 | 110
MQXFS6a |  | 209 | 210 | 208 | 212
MQXFS6b/c/d |  | 204 | 210 | 203 | 212
MQXFS7a-f |  | 211 | 114 | 113 | 207
MQXFS8 |  | 115 | 210 | 116 | 212

## Slide 11: # quenches to reach Itarget and Imax
For the coils assembled in a previous magnet (bold), I also count for the quenches in the previous run (s)
n.a. means not applicable because the magnet did not reach ultimate current
 | Training | # quenches to 16.5 kA (excluding 1st quench) |  |  |  |  |  |  | 
 | strategy | Q1 |  | Q2 |  | Q3 |  | Q4 | 
MQXFS3a/b | QH + EE | 7 | 0 | 105 | 5 | 107 | 1 | 106 | 0
MQXFS5a |  | 203 | 0 | 205 | 1 | 204 | 1 | 206 | 1
MQXFS4a/b/c | QH+CLIQ up to Iult, QH + EE from Iult to Iss | 109 | 0 | 111 | 0 | 108 | 0 | 110 | 0
MQXFS6a (didn't reached 16.5 kA) |  | 209 | 2 | 210 | 0 | 208 | 12 | 212 | 0
MQXFS6b/c/d |  | 204 | 1 | 210 | 0 | 203 | 0 | 212 | 0
MQXFS7a |  | 211 | 3 | 114 | 0 | 113 | 0 | 207 | 1
MQXFS8 |  | 115 | 4 | 210 | 0 | 116 | 0 | 212 | 0
 | Training | # quenches to 17.5 kA (excluding 1st quench) |  |  |  |  |  |  | 
 | strategy | Q1 |  | Q2 |  | Q3 |  | Q4 | 
MQXFS3a/b (didn't reached 17.5 kA) | QH + EE | 7 | n.a | 105 | n.a | 107 | n.a | 106 | n.a
MQXFS5a |  | 203 | 4 | 205 | 6 | 204 | 2 | 206 | 7
MQXFS4a/b/c | QH+CLIQ up to Iult, QH + EE from Iult to Iss | 109 | 0 | 111 | 0 | 108 | 2 | 110 | 0
MQXFS6a (didn't reached 16.5 kA) |  | 209 | n.a | 210 | n.a | 208 | n.a | 212 | n.a
MQXFS6b |  | 204 | 1 | 210 | 0 | 203 | 0 | 212 | 0
MQXFS7a |  | 211 | 6 | 114 | 0 | 113 | 0 | 207 | 2
MQXFS8 |  | 115 | 12 | 210 | 0 | 116 | 0 | 212 | 0

## Slide 12: # quenches to reach Imax
Quenches at 4.5 K not considered
 | Imax | Training | # quenches to Imax (excluding 1st quench) |  |  |  |  |  |  | 
 |  | strategy | Q1 |  | Q2 |  | Q3 |  | Q4 | 
MQXFS3a/b (didn't reached 17.5 kA) | n.a. | QH + EE | 7 | n.a | 105 | n.a | 107 | n.a | 106 | n.a
MQXFS5a | 18529 |  | 203 | 10 | 205 | 12 | 204 | 4 | 206 | 10
MQXFS4a/b/e | 19148 | QH+CLIQ up to Iult, QH + EE from Iult to Iss | 109 | 5 | 111 | 2 | 108 | 5 | 110 | 3
MQXFS6a (didn't reached 16.5 kA) | n.a. |  | 209 | n.a | 210 | n.a | 208 | n.a | 212 | n.a
MQXFS6b | 19117 |  | 204 | 7 | 210 | 4 | 203 | 15 | 212 | 5
MQXFS7a | 18576 |  | 211 | 8 | 114 | 3 | 113 | 2 | 207 | 3
MQXFS8 | n.a. |  | 115 | n.a | 210 | n.a | 116 | n.a | 212 | n.a