## Slide 1: X-Box Update
20.09.2023

## Slide 2: X-Box 2: TD31 N3 N4

## Slide 3: X-Box 2 TD31 N3 N4- Structure B
Restarted 22.08.2023
100% power going to Structure B
Calibration lines B – checked
Currently: 25MW
New electrical installation is ready

## Slide 4: X-Box 2 TD31 N3 N: Peak power

## Slide 5: X-Box 2 TD31 N3 N

## Slide 6: X-Box 2 TD31 N3 N

## Slide 7: X-Box 2 TD31 N3 N

## Slide 8: X-Box 2 TD31 N3 N
Weird behaviour >26 MW
  Structure B / Phase shifter / Power splitter / Pulse compressor
  PXI / ADC

## Slide 9: X-Box 3: High Efficiency Tubes Characterisation
Calibrated setup – problems with VNA -> recalibrated using VNA with coaxial type N ports
Measured curves of first TUBE (mod A)
Now – no tension in fillament (under investigation)

## Slide 10: High Efficiency Klystron ER37117 TUBE1 Measurement setup
RF Gen
SSA
Klystron
HP DC
Load
DC
Isolation + Transition + Attenuation
Power Meter 1 - PKI
Attenuation
Power Meter 2 - PKI

## Slide 11: High Efficiency Klystron ER37117 TUBE1 Measurement setup
RF Gen
SSA
Klystron
HP DC
Load
DC
Isolation + Transition + Attenuation
Power Meter 1 - PKI
Attenuation
PKI to Power Meter 1
HP DC
Power Meter 2 - PKI
PKI to Power Meter 2
Chain | Att(dB)@11.994GHz
PKI, chain 1 | 43.04
PKI, chain 2 | 45.0
KLYIN | 49.68

## Slide 12: High Efficiency Klystron ER37117 TUBE1 Frequency behaviour

## Slide 13: High Efficiency Klystron ER37117 TUBE1 Frequency behaviour

## Slide 14: High Efficiency Klystron ER37117 TUBE1 Beam voltage dependency

## Slide 15: X-Box 3 Line 1: TD31 N1
Shut down

## Slide 16: X-Box 3 Line 1: TD31 N1 – Peak Power

## Slide 17: X-Box 3 Line 1: TD31 N1 – Gradient

## Slide 18: X-Box 3 Line 2: TD31 N2
Shut down

## Slide 19: X-Box 3 Line 1: TD31 N2 – Peak Power

## Slide 20: X-Box 3 Line 1: TD31 N2 – Gradient