## Slide 1: Challenges of short light pulses in 4th generation storage rings
Simone Di Mitri
Elettra Sincrotrone Trieste & University of Trieste

## Slide 2: References (not exhaustive) & credits
I. Martin, PhD Thesis, Wolfson College, University of Oxford, UK (2011)
Papers:
  X. Huang et al., PRAB 22, 090703 (2019); PRAB 26, 120701 (2023).
  Feng, C. & Zhao, Z. (2017). Sci. Rep. 7, 4724.
  Zholents, A., NIM A 798 (2015) 111–116.
  Evain, C., et al., NJP, 14, 023003 (2012).
  Wustefeld, G., Jankowiak, A., Knobloch, J. & Ries, M., IPAC’11, Spain, THPC014.
  Feikes, J., Holldack, K., Kuske, P. &Wustefeld, G., EPAC’04, Switzerland, WEPLT051.
  Zholents, A., Heimann, P., Zolotorev, M. & Byrd, J., NIM A 425 (1999), 385–389.
  Zholents, A. A. & Zolotorev, M. S. (1996). Phys. Rev. Lett. 76, 912–915.
  For a review and list of refs.: S. Di Mitri, J. Synchrotron Rad. 25 (2018)
Acknowledgments: F. Cullinan, M. Ries, L. Stingelin, M. Lonza, E. Karantzoulis

## Slide 3: Outline
Scientific motivations
Timing modes
Challenges @ 4GSR
Conclusions

## Slide 4: Scientific motivations to timing mode
3rd gen. SRLS: high average brilliance, moderate peak intensity
  Track aerosol in free-flight, non-equilibrium states
  Map reversible dynamics of molecular systems
  Photo-electron spectroscopy
  Probe charge transfer dynamics
  Image orbital, spin, and lattice degree of freedom
  EXAFS
avoid sample damage (burning, ablation) and space charge
nano- to pico-second time scale at nanometer size
Large wavelength tuneability
4th gen. SRLS: high degree of transverse coherence in x-rays
improves lateral resolution
preserves high energy resolution (monochromators)
reduces the integrated time of measurements

## Slide 5: Strong and weak points
R. Costantini et al., J. Electr. Spectr. Rel. Phen. 254 (2022)
space-charge limit
too low, too high
too weak
too long

## Slide 6: Timing modes – simultaneous to standard operation
TRIBS
LASER-SLICING
CAMSHAFT BUNCH (PSB)
CHG, EEHG
CRAB CAVs
SR RF beating
VSR

## Slide 7: Features of 4GSR
Tight lattice, small dispersion (<60 mm), DL-optics imposes limited flexibility
Small , small sizes , small ID gap (< 5 mm)
Large , low (< 2 kHz), long bunches (>50 ps fwhm)

## Slide 8: Features of 4GSR
Tight lattice,...
Small ,…
Large ,…

## Slide 9: PSEUDO-SINGLE BUNCH
Tight lattice,...
Large ,…
MWI & IBS, large harmonic voltage, TBL & PTBL
Non-uniformity of lifetime and transverse emittance (IBS)
Ad hoc tuning of dark gap and HC. Still, good for CBI and Ion Trapping.
Courtesy of
M. Pedrozzi, L. Stingelin et al.
@ SLS
Small ,…
(10% in SLS-2)

## Slide 10: TRIBS
Tight lattice,...
Small ,…
Large ,…
Courtesy of F. Cullinan
3p resonance, optimized nonlinear dynamics.
IDs’ roll-off, special compensation.
Charge diffusion, radiation background (S/N0.1%), intensity fluctuation (<5%), energy resolution (mono E/E0.1%).
Tailored hybrid fill pattern for few mA’s in the islands (TBL).

## Slide 11: LASER-SLICING, CHG, EEHG
Tight lattice,...
Small ,…
Large ,…
Space for MOD & RAD
Dispersion (R56)
Charge dilution
Camshaft bunch (TBL)
S. Di Mitri, JSR 26 (2019)
S. Di Mitri, JSR 25 (2018)

## Slide 12: CRAB CAVITIES (TRANSV. RF BEATING)
Tight lattice,...
Small ,…
Large ,…
Vertical tune and phase advance
ID gap, deflecting voltage
Kicks cancellation: multiple CCs, vert. emittance

## Slide 13: VARIABLE PULSE LENGTH (LONG. RF BEATING)
Tight lattice,...
Small ,…
Charge density, IBS & MWI (mostly for SC option)
Non-uniformity of lifetime of short and long bunches
Tailored hybrid fill pattern for pump-probe experiments (TBL)
Large ,…
BESSY VSR TDR – SC RF
Courtesy of M. Ries – NC RF
Shortening every 2nd bunch to ps-scale
Keep length of every 2nd bunch to 10 ps-scale

## Slide 14: (Sub-)Picosecond X-ray pulses
TREES workshop outcome (2018)
CHG
10-7
Total Efficiency of Emission
10-6
10-5
10-4
10-3
10-2
10-1
1
t,ph (RMS) [ps]
0.01
0.5
1.0
10
5.0
100 – 500 MHz
1 – 10 kHz
Laser-Slicing
10 – 100 kHz
Max. Photon Pulse RR:
Compatible with standard multi-bunch user mode
1 – 100 MHz
VSR
Crab Cav.
Low-
PSB (>15 ps)

## Slide 15: Complexity vs. performance
 |  | Laser-Slicing |  | 
 | PSB | TRIBS | CHG, EEHG | 
 |  | CRAB CAVs |  | Beam-slicing
 |  |  | VSR | Magnetic compression
Complexity of implementation
Ave. Flux/pulse duration
> 40 ps fwhm
(sub-)ps domain

## Slide 16: Elettra 2.0 – Options for timing mode
 |  | Low current | Hybrid | Crab Cavities | Laser-slicing
Stored Current | mA | 0.25  400 bn. | 2 + 400 | 2 + 400 | 2 + 400
SP Duration, fwhm | ps | 9 | 40 | 1 | 0.5
SP Repetition Rate | MHz | 500 | 1.157 | 1.157 | 0.01 – 0.1
 |  | Low current | Hybrid | Crab Cavities | Laser-slicing
Stored Current | mA | 0.25  400 bn. | 2 + 400 | 2 + 400 | 2 + 400
SP Duration, fwhm | ps | 9 | 40 | 1 | 0.5
SP Repetition Rate | MHz | 500 | 1.157 | 1.157 | 0.01 – 0.1
Total stored current in low current mode is 100 mA


## Slide 17: Concluding remarks
No universal show-stoppers in 4GSR to timing modes simultaneous to standard multi-bunch operation.
TBL looks like the main challenge, both in long and short pulse modes. It challenges beam-synchronized systems, implies specific tuning of HC and dark gap.
TRIBS constraints several aspects of the 4GSR design (optics, injection).
Laser-based schemes are hardly compatible with 4GSR lattice and linear optics.
RF-based schemes look almost transparent to 4GSR optics, but still dealing with TBL and technology R&D.
Not touched in this talk:
  -buckets, hardly compatible with nonlinear dynamics and low dispersion of 4GSR.
  Magnetic compression, suitable for swap-out footprints, but invasive + synchronization issues.
  Injection efficiency, critical for RF-schemes and depending from on-/off-axis injection.

## Slide 18: Thank you for your kind attention Comments and questions are welcome

## Slide 19: FEL & SR
10-3
10-2
10-1
1
10
102
t,ph [ps]
106
105
104
103
102
10
1
10-1
10-2
Rep. Rate [kHz]
LCLS
ESRF-MB
Elettra-MB
Elettra-SB
Femto-sliciing
EU-XFEL
LCLS-II
107
109
1011
1013
1015
1017
#ph/sec/0.1%bw
Examples of accelerator-based X-ray sources:
0.1 – 1 keV photon energy
# of phs. at the source
FEL in short pulse mode
Can a (DL)SR target
 sub-ps,
10 kHz,
> 108 ph/s/0.1%bw or 106 ph/pulse ?
What flux and pulse duration can be produced up to MHz RR ?
SwissFEL
FERMI
Lattice-invasive ?
Standard user operation ?
VSR, CC

## Slide 20: By-pass / Swap-out
e-Beam magnetic compression
  Full flux form single bunch
Pros:
- transparent to DLSR lattice and optics
- short pulses at all the (existing) beamlines
- DLSR nominal flux, but at the expense of lower spectral brilliance
Cons:
- new fast stripline kicker
- injector upgrade (0.1-2.5 GeV,  100Hz)
- new ring-to-booster transfer line
- low- (3) optics in Booster
S. Di Mitri, M. Cornacchia, New J. Phys. 2015
S. Di Mitri, JSR 2018
S. Di Mitri, A. Bianco, S. Lizzit, NIM A 1051 (2023( 168197
A
B
C
D
G
new TL
F
E
Injector upgrade

## Slide 21: Beam-slicing
He, F. Willeke, L.-H. Yu (2014)
Energy-sliced electrons must be separated from the bunch
  Angular separation is more efficient, but typically invasive on SR lattice.
R&D and limitations:
Promised slicing efficiency is 10-7
Background radiation limits the contrast ratio to 10
Requires kHz (NC) to 1 MHz (SC) e-Gun + Linac + Magnetic Compressor
Angular separation