## Slide 1: X-Box Update
04.10.2023

## Slide 2: X-Box 2: TD31 N3 N4

## Slide 3: X-Box 2
No operation for 2 weeks
  Interlock in modulator not allowing triggering
  \Waiting for HP switching units for modulator
Currently:
  Readout of water flow
  Duplication of channel DC_DOWN_B, with and without attenuation
  Addition of extra temperature channels

## Slide 4: X-Box 2
No operation for 2 weeks
  Interlock in modulator not allowing triggering
  \Waiting for HP switching units for modulator
Currently:
  Readout of water flow
  Duplication of channel DC_DOWN_B, with and without attenuation
  Addition of extra temperature channels

## Slide 5: X-Box 3: High Efficiency Tubes Characterisation
Completed measuring campaign for both klystrons
  TUBE1 22M001 (left)
  CAV 22G002 (right)

## Slide 6: High Efficiency Tubes Characterisation Measurement setup
RF Gen
SSA
Klystron
HP DC
Load
DC
Isolation + Transition + Attenuation
Power Meter 1 - PKI
Attenuation
Power Meter 2 - PKI

## Slide 7: High Efficiency Tubes Characterisation Gain curves vs Counter Coil Current
22M001 TUBE
22G002 CAV

## Slide 8: High Efficiency Tubes Characterisation Gain curves vs Counter Coil Current
22M001 TUBE
22G002 CAV

## Slide 9: High Efficiency Tubes Characterisation Output power vs Beam Voltage
22M001 TUBE
22G002 CAV
Chart: BeamVoltage (kV)
| 109.93715647997709 | 125.97016289690519 | 141.2685295618993 | 159.46191293486228 | 167.33589998357294
 | 0.64565 | 2.1792 | 3.8371 | 5.4777 | 6.7236
-25MHz | 5.0211 | 7.4097 | 8.5704

## Slide 10: High Efficiency Tubes Characterisation Frequency Behaviour
22M001 TUBE
22G002 CAV
Chart: Frequency shift (MHz)
| -30 | -20 | -15 | -10 | -7 | -5 | -2 | 0 | 2 | 5 | 10 | 20
Fixed input | 3.9783 | 4.9147 | 5.3543 | 5.6676 | 5.6964 | 5.6312 | 5.3703 | 5.0489 | 4.7709 | 4.4096 | 4.0907 | 3.8905
Saturated power | 6.82 | 7.4097 | 7.226 | 6.269 | 5.821 | 4.4586 | 4.2218

## Slide 11: Dark Current Analysis
Idea:
  Retrieve knowledge about amount of energy lost due to Dark Current (DC)
    Energy lost due to acceleration of emitted electrons
Procedure:
  Simulate electric and magnetic field
  Calculate energy of electrons due to heat transfer
  Simulate Particle in Cell (PIC) and compare with measurements
  Estimate energy loss due to acceleration

## Slide 12: E and H field of small structure
E-field
H-field

## Slide 13: Particles at iris
Number of emission points: 704
Particle type: electron
PIC emission model: DC (rise time: 1e-3, absolute current: 1A)
Kinetic energy: 0.043044eV (calculated by temperature of iris)

## Slide 14: PIC simulation

## Slide 15: High Efficiency Klystron ER37117 TUBE1 Measurement setup
RF Gen
SSA
Klystron
HP DC
Load
DC
Isolation + Transition + Attenuation
Power Meter 1 - PKI
Attenuation
PKI to Power Meter 1
HP DC
Power Meter 2 - PKI
PKI to Power Meter 2
Chain | Att(dB)@11.994GHz
PKI, chain 1 | 43.04
PKI, chain 2 | 45.0
KLYIN | 49.68

## Slide 16: High Efficiency Klystron ER37117 TUBE1 Frequency behaviour

## Slide 17: High Efficiency Klystron ER37117 TUBE1 Frequency behaviour

## Slide 18: High Efficiency Klystron ER37117 TUBE1 Beam voltage dependency

## Slide 19: X-Box 3 Line 1: TD31 N1
Shut down

## Slide 20: X-Box 3 Line 1: TD31 N1 – Peak Power

## Slide 21: X-Box 3 Line 1: TD31 N1 – Gradient

## Slide 22: X-Box 3 Line 2: TD31 N2
Shut down

## Slide 23: X-Box 3 Line 1: TD31 N2 – Peak Power

## Slide 24: X-Box 3 Line 1: TD31 N2 – Gradient