## Slide 1: QNeutron Measuring the Neutron Electric Charge with Time-of-Flight Interferometry
Marc Persoz PhD student at University of Bern PSAS 2024 Zürich ETH, 12th of June 2024

## Slide 2
QNeutron
A technical motivation
Marc Persoz | PSAS2024
- High-precision measurement of a neutron beam deflection using newly developed techniques
- Neutron electric charge measurement
- Theoretical searches on neutrino mass, potential contribution to BAU
Time plan
September 2020 : Start of the project
April 2021 – June 2023 : Characterisation at Paul Scherrer Institute, BOA beamline
November 2023 (30 days): Characterisation at Laue-Langevin Institute, PF1b beamline
March 2024 (20 days): First neutron electric charge measurement at ILL, PF1b beamline
Notes: See katrin

## Slide 3
QNeutron
Measurement of a beam deflection
Marc Persoz | PSAS2024
Current charge upper limit :
Two orders of magnitude improvement at ESS : in picometer scale !
Baumann et al.,
Phys. Rev. D 37, 3107 (1988)
Piegsa, Phys. Rev. C 98, 045503 (2018)

## Slide 4
Marc Persoz | PSAS2024
Grating interferometry Interference or ballistic ?
Wavelength (velocity) distribution
at PF1b beamline :
Δt = 5 min

## Slide 5
General principle
Top view
Marc Persoz | PSAS2024
G0 : Source grating
G1 : Diffraction grating
G2 : Analyzer grating
Neutron detector
Beam exit

## Slide 6
2 behaviours
«interferometer» or «ballistic» configuration
Marc Persoz | PSAS2024
Narrow gap = DIFFRACTION
p = 25 µm
neutron
wide gap
No diffraction Trajectories not affected
Wide gap = NO DIFFRACTION
p = 250 µm
neutron
narrow gap
Diffraction Trajectories are affected
«ballistic» configuration
«interferometer» configuration
Wavelength-dependant !

## Slide 7
General principle
Top view
Marc Persoz | PSAS2024
G0 : Source grating
G1 : Diffraction grating
G2 : Analyzer grating
Neutron detector
Beam exit
2.75 m
2.75 m
p = 250 µm

## Slide 8
General principle
Ballistic trajectories
Marc Persoz | PSAS2024
G0 : Source grating
G1 : Diffraction grating
G2 : Analyzer grating
Neutron detector
If Neutron is absorbed removed
Beam exit
Random slope and starting point

## Slide 9
General principle
Ballistic trajectories
Marc Persoz | PSAS2024
G0 : Source grating
G1 : Diffraction grating
G2 : Analyzer grating
Neutron detector
Beam exit
Neutron hits the detector
saved

## Slide 10
General principle
Ballistic trajectories
Marc Persoz | PSAS2024
G0 : Source grating
G1 : Diffraction grating
G2 : Analyzer grating
Neutron detector
Beam exit

## Slide 11
General principle
Ballistic trajectories
Marc Persoz | PSAS2024
Beam exit
G0 : Source grating
G1 : Diffraction grating
G2 : Analyzer grating
Neutron detector

## Slide 12
General principle
Ballistic trajectories
Marc Persoz | PSAS2024
G0 : Source grating
G1 : Diffraction grating
G2 : Analyzer grating
Neutron detector
Beam exit

## Slide 13
General principle
Ballistic trajectories
Marc Persoz | PSAS2024
G0
Source grating
G1
Diffraction grating
G2
Analyzer grating
Neutron detector
Beam exit
Extraction of visibility :
Oscillating intensity pattern produced by scanning the analyser G2

## Slide 14
Grating interferometry
2-beam method
Marc Persoz | PSAS2024
G0 : Source grating
G1 : Diffraction grating
λ
p
G2 : Analyzer
LT
Identifying the working point of the interferometer
Look for a shift of the intensity modulation
Intensity
G2 position
Working point : Most sensitive position of the interferometer
Beam separator
Detector
Notes: Detail a bit the two-beam method, that it would be to simulate the central electrode. Take time here to explain the working point and stability measurement

## Slide 15
Grating interferometry
2-beam method
Marc Persoz | PSAS2024
G0 : Source grating
G1 : Diffraction grating
LT
p
G2 : Analyzer
Intensity
G2 position
Detector
Electric field
Application of an antiparallel Electric field
Intensity variations = shift of the interference pattern
Notes: Detail a bit the two-beam method, that it would be to simulate the central electrode. Take time here to explain the working point and stability measurement

## Slide 16
Marc Persoz | PSAS2024
TOF Characterisation at ILL-PF1b
« Ballistic » setup
Investigation for the best compromise between p, N and η
=
Optimisation of period, duty cycle and absorber thickness
6m
1mm
Monte-Carlo simulation – «Ballistic» setup
Piegsa, Phys. Rev. C 98, 045503 (2018)

## Slide 17
Qneutron – general overview
Experimental apparatus
Marc Persoz | PSAS2024
G0
G1
G2
2.75 m
Vacuum pipe
p = 10-2 mbar
2.75 m
30cm
Fermi chopper fpulses = 25 Hz
Cascade detector 10x10 cm2 area
X - Beam axis
Z
Y - Grating axis
Grating 6x6 cm2 area
Notes: Maybe the frame with the setup characterized doesn’t fit here… Maaybe in the summary after the ballistic case of one dedicated slide after this one.

## Slide 18
Marc Persoz | PSAS2024
Grating design optimisation

## Slide 19
Design optimisation
Grating parameters
Marc Persoz | PSAS2024
Gratings parameters to optimize (p = 250 µm) :
Duty cycle (opening fraction of 10%, 20% and 40%)
Absorber thickness (20 µm and 30 µm gadolinium)
Relative alignments
Manufacturing process
Notes: Make two slides with only 1 distance on the first

## Slide 20
Marc Persoz | PSAS2024
Beam deflection measurement

## Slide 21
Beam deflection
Aluminium prism
Marc Persoz | PSAS2024
Ref : no prism
prism
Extraction of the center value for “Left”, “Right” and “Top” zone
Time-of-Flight measurement
Difference Ref – Sample
LCUBE
Top
Left
Right
3 zones
G2
Notes: Left image is not so useful, maybe find another one with beeter view on the cube
Put a PAD with the 3 zones

## Slide 22
Beam deflection
Aluminium prism, L = 1m
Marc Persoz | PSAS2024
For Aluminium :
bc = 3.449 fm
ρ = 6.02 x 1028 m-3
L = 25, 50, 75, 100 cm
Snell-Descartes
Notes: Make two slides with only 1 distance on the first

## Slide 23
Beam deflection
Aluminium prism
Marc Persoz | PSAS2024
L [cm] | 25 | 50 | 75 | 100
Ath * L * 10-12 | 16.5 | 33.1 | 49.6 | 66.1
Ameas * 10-12 | 16.8 | 33.2 | 49.7 | 66.0
Δameas * 10-12 | 0.1 | 0.1 | 0.1 | 0.2
LCUBE = 100cm
LCUBE = 75cm
LCUBE = 50cm
LCUBE = 25cm
Notes: Make two slides with only 1 distance on the first

## Slide 24
Marc Persoz | PSAS2024
Stability and sensitivity
2-beam method

## Slide 25
Setup stability
2-beam method
Marc Persoz | PSAS2024
Beam separator :
- Gadolinium powder painted plexiglass
- BorAl aperture before and after the gratings
Slope in count/µm
Oscillating intensity pattern :
Extraction of the working point (steepest slope)
Notes: Axis label X : Transverse position of G2

## Slide 26
Setup stability
2-beam method
Marc Persoz | PSAS2024
Beamspot position & difference
Allan deviation
Best averaging time :
σ(Δy) = 4,7 nm
in 2’000 sec
Left
Right
Diff.
Notes: Remove legend of the ASD plot, not readable and can be emphasized orally
Include a plot of the temperature

## Slide 27
Marc Persoz | PSAS2024
Neutron electric charge measurement
Ballistic configuration

## Slide 28
QNeutron
First charge measurement at ILL-PF1b | 20 days in March 2024
Marc Persoz | PSAS2024
Ø 150 mm
2 polarities
Gap = 15 mm
Ground electrodes
HV electrode
Chopper removed for high intensity
Implementation of HV electrodes (2.5m)
Lead and concrete shield
Thermal shield
Oscillating pattern and working point
Notes: Don’t need so much details, maybe just mention that we work on several experiments.

## Slide 29
QNeutron
First charge measurement at ILL-PF1b | 20 days in March 2024
Marc Persoz | PSAS2024
High-voltage
Dead time
Polarity start
Polarity stop
Total cycle time = 2800 sec
«6-points» measurement
6 points measured at every polarity for 20s
Extraction of µL and µR and consider difference
Compare (HV+) – (HV-)
Determination of sensitivity on a beam deflection
µL
µR
Notes: Don’t need so much details, maybe just mention that we work on several experiments.

## Slide 30
QNeutron
Results and prospects
Marc Persoz | PSAS2024
«6-points» measurement
1 cycle (8 polarities + zero) = 30 minutes
4 values extracted per cycle
44 cycles of 30 minutes = 22 h (deadtime = 45%)
Total measurement time = 12,2 hours
 | Curent meas. «Ballistic» |  | Future plans «Inter.»
p [µm] | 250 |  | 25
η [%] | 75 |  | 90
E [kV/cm] | 23 |  | 100
L [m] | 2.5 |  | 5
λ [Å] | 4.3 |  | 4.6
N [kHz] | 500 |  | 1’600
σ(Qn) [e] | 1.0 x 10-19 in 10 days |  | 7.2 x 10-23 in 100 days
Piegsa F., Phys. Rev. C 98, 045503 (2018)
Current charge upper limit :
In 12 hours
Notes: Don’t need so much details, maybe just mention that we work on several experiments.

## Slide 31
QNeutron
Measuring the neutron charge with interferometry
Marc Persoz | PSAS2024
Thank you !
Neutron group in March 2024
Notes: Don’t need so much details, maybe just mention that we work on several experiments.