## Slide 1: ICALEPCS Feedbacks – November 16th 2023 Executive Summary
29 participants
Five presentations
  https://indico.cern.ch/event/1340083/
  Four from BE-ICS
  One from EN-CV
PLC Workshop
  55 participants from 19 institutes
  Presentations available on indico
  Presentation from Diogo M. (EN/CV) on db driven specification which could be of interest to the forum
  Presentation of XFEL: PLC framework based on Beckhoff similar in its philosophy to UNICOS
  Another PLC framework presented by ESS to integrate Beckhoff and Siemens S7-1500 to EPICS
  CEA Saclay also presented automatic code generation tools for Siemens and EPICS
  Other insititute(s) face the same issue with VersionDog as CERN.
Conference
  Hype around Beckhoff automation
    Industrial PC as a PLC with TwinCAT solution
      Visual Studio IDE for development
      Linux based operating system (BSD)
      Better integration for code dev and versioning
    Used by several HEP institue
  Trend of merging IT and PLC world
    E.g. monitoring using Zabbix
    E.g. Beckhoff PLCs managed using Ansible
    Unit testing, test driven development
    CI/CD
  Application of advanced controls in several fields
  Digital twins and system models
    For training of machine learning algorithms
    For improvement of controls
    For operator training