## Slide 1: CTTB Industrial Control Forum Going Forward
Rodrigo Ferreira, Jean-Charles Tournier
02-Nov-2023

## Slide 2: Forum Objectives
Foster information exchange in an open and informal way
  Within CERN
  Among industrial controls developers
Identify new technologies
  Technology watch, bring new products and techniques to the table
  Relevant to CERN
Identify common needs
  Between groups/departments
Promote synergy between groups, avoid duplication of work.
This part edit by "Insert > Header and Footer”

## Slide 3: Next ICF Meeting – November 16th 2023
Dedicated to gather feedback from ICALEPCS
With a focus on industrial controls (new trends, technologies, systems used in other labs, etc.)
Interesting approaches/tools/technologies in accelerator control which could be beneficial to industrial controls?
One presenter scheduled so far
Forum attractiveness depends on your participation
Looking for more presenters among the conference attendees
Presentation can be completely informal with minimal (or even no) slides

## Slide 4: Topics of Interest Identified in 2021
Fieldbuses - current offer vs needs
Wireless Fieldbuses
DI/OT integration in Industrial Controls as Radiation Tolerant I/O
Advanced controls for industrial plants
Functional Safety
Maintenance and Predictive Maintenance tools
Formal verification of PLC programs
Reduce environmental impacts with Industrial Controls
  Noise, water quality, energy consumption
Version Control and CI/CD for SCADA applications
Asset management of Industrial Systems
Techniques for Engineering and upgrade of applications
  Could be split into SCADA and PLC
Specification of Industrial Control Applications
Alarm Management overview
  Standards vs. Current practices at CERN
  Monitoring of alarms, notifications
Web access for Industrial Control Systems
  Application on the web, dashboards, etc.
  Remote Terminal Gateways
Machine Learning for Industrial Control Systems
Integration of Industrial Control Systems with CERN control system technologies
  DIP, CMW, etc
Local and Mobile operations and interventions in Industrial Control Systems
  Needs, current solutions, strategies
Distributed Controls for PLC applications
  Standard, current use cases and needs

## Slide 5: Topics of Interest Not Yet Covered
Fieldbuses - current offer vs needs
Wireless Fieldbuses
DI/OT integration in Industrial Controls as Radiation Tolerant I/O
Advanced controls for industrial plants
Functional Safety
Maintenance and Predictive Maintenance tools
Formal verification of PLC programs
Reduce environmental impacts with Industrial Controls
  Noise, water quality, energy consumption
Version Control and CI/CD for SCADA applications
Asset management of Industrial Systems
Techniques for Engineering and upgrade of applications
  Could be split into SCADA and PLC
Specification of Industrial Control Applications
Alarm Management overview
  Standards vs. Current practices at CERN
  Monitoring of alarms, notifications
Web access for Industrial Control Systems
  Application on the web, dashboards, etc.
  Remote Terminal Gateways
Machine Learning for Industrial Control Systems
Integration of Industrial Control Systems with CERN control system technologies
  DIP, CMW, etc
Local and Mobile operations and interventions in Industrial Control Systems
  Needs, current solutions, strategies
Distributed Controls for PLC applications
  Standard, current use cases and needs

## Slide 6: And after?
Go for another round of collecting topic of interests?
Revisit some topics?
Any other ideas?