## Slide 1
Miguel Navarro Baeza, ATS-DO, HL-LHC WP15 Integration
24/11/2023
Integration of the R2E-HL-LHC120A-10V Power Converters in HL-LHC
With inputs from WP6B (SY-EPC)

## Slide 2: 120 A Power Converters Replacement
Replacement of 124x RPLBC (LHC120A-10V) power converters in x44 RYLDA racks.
The replacement is integrated into the HL-LHC project.
RR13/RR17, RR53/RR57, RR73/RR77, UL14/UL16, USC55, UL557.
Includes radiation-tolerant RPLBC converters.
Before 2 or 4 PCs in a rack  Now only 3 converters can fit in new RYLDA rack  an additional rack is needed in each RR cavern.
While the new RYLDA racks will be positioned similarly, the replacement will impact the overall layout configuration.
Reference: HL-MCF Meeting #119 (https://indico.cern.ch/event/1280376/)

## Slide 3
Engineering Specification Content
R2E-HL-LHC120A-10V POWER CONVERTER IN THE RR13,17,53,57,73,77
Describes replacement of 92x (/124x) RPLBC (LHC120A-10V) power converters only in RR caverns (RR13/RR17, RR53/RR57, RR73/RR77).
Technical details.
HL-LHC RRs layouts with reference to corresponding WP15 AIRs.
Also includes converter internal layout, cabling, connections updates
  AC Cabling
  DC Cabling
  Lead Cabling
  WORLDFIP CONNECTION
  PIC CABLING
Official updated layout ONLY in WP15 AIRs.
Reference: EDMS 2789129

## Slide 4: Integration of 120 A Power Converters
120 A Power converters integration documentation must be followed :
WP6B Engineering Specification
(Technical details)
WP15 Area Integration Reports
(Official layouts)

## Slide 5
Type of Document | Title | HL-LHC Responsible | EDMS Number | EDMS Status | Next action
Engineering Specification | R2E-HL-LHC120A-10V POWER CONVERTER IN THE RR13,17,53,57,73,77 | WP6B | 2789129 | In work | Document to be updated by WP6B
Area Integration Report | Integration of RR13 and RR17 | WP15 | 1758110 | HL Engineering Check | Version to be released
 | Integration of RR53 and RR57 | WP15 | 1758153 | HL Engineering Check | Version to be released
 | Integration of USC55 | WP15 | 1836699 | HL Engineering Check | Version to be released
 | Integration of UL14 / UL16 / UJ14 / UJ16 | WP15 | 1836784 | Released | New version upcoming
 | Integration of UL557 | WP15 | 1836818 | Released | New version upcoming
 | Integration of RR73 and RR77 | WP15 | 2989906 | In work | Document to be distributed for release
Documents for Integration of R2E-HL-LHC120A-10V Power Converters

## Slide 6: 120 A Integration – Next steps
WP6B to update Engineering Specification with links to RRs WP15 AIRs.
WP15 and WP6B to finish review process and release RR13/RR17, RR53/RR57, and USC55 AIRs (see comments in Indico).
WP15 to update UJ14, UJ16, UL14, UL16, UJ56, UL557 Area Integration Reports (see presentation in Indico).
WP15 to distribute first version of Area Integration Reports for RRs in P7 for HL Engineering check approval.

## Slide 7: Thanks!

## Slide 8: Spare Slides

## Slide 9: Documentation summary
Type of Document | Title | HL-LHC Responsible | EDMS Number | EDMS Status | Next action
Engineering Specification | R2E-HL-LHC120A-10V POWER CONVERTER IN THE RR13,17,53,57,73,77 | WP6B | 2789129 | In work | Document to be updated by WP6B
Area Integration Report | Integration of RR13 and RR17 | WP15 | 1758110 | HL Engineering Check | Version to be released
 | Integration of RR53 and RR57 | WP15 | 1758153 | HL Engineering Check | Version to be released
 | Integration of USC55 | WP15 | 1836699 | HL Engineering Check | Version to be released
 | Integration of UL14 / UL16 / UJ14 / UJ16 | WP15 | 1836784 | Released | New version upcoming
 | Integration Report of UJ56 | WP15 | 2113496 | Released | New version upcoming
 | Integration of UL557 | WP15 | 1836818 | Released | New version upcoming
 | Integration of RR73 and RR77 | WP15 | 2989906 | In work | Document to be distributed for release

## Slide 10: References
LHC to HL-LHC Transition:
AREA INTEGRATION REPORT UL14 / UL16 / UJ14 / UJ16, EDMS 1836784
AREA INTEGRATION REPORT UJ56, EDMS 2113496
AREA INTEGRATION REPORT UL55 UL557, EDMS 1836818
HL-LHC INTEGRATION REPORT FOR INSTALLATION APPROVAL - WP11: 11T Dipole Full Assembly Integration Study, EDMS 1904620
R2E-HL-LHC120A-10V POWER CONVERTER IN THE RR13,17,53,57,73,77, EDMS 2789129
LHC Electrical Layouts:
https://porlandi.web.cern.ch/LHC_equipements.htm