## Slide 1: Beam Gas Curtain Monitor Preparation for 2025 run
Gerhard Schneider
BGC collaboration meeting,
May 2023, CERN, Geneva, CH

## Slide 2: Contents
Status
Options for run 2025
Purchase and documentation

## Slide 3: Status
Where do we expect to be end 2024:
  Sufficient data both for ions and protons with Neon and 0.3 mm wide skimmer, no more advancements expected without changing the parameters
    Flat top
    Injection
    Ramp
  Beam size comparison/difference understood comparing to BSRT and wire scanner measurement

## Slide 4: Options to prepare for 2025 run - Please add!-
On BGC itself
  Change skimmer to smaller skimmer, 0.2 mm? Shorter?
  Optics?
On the environment
  Add pumping (Ion Pumps) to reduce local background on either side of BGC
  How to reduce synchrotron light?  Beam vacuum opening
  Reduce noise in camera? Shielding?
Change of gas
  Candidate gases are Argon and Nitrogen  need CERN internal discussions and approval. Better to start the process soon.
  Need to install significant Ion Pumping (and NEG pumping?) close for the BGC? Details to be evaluated. Some installation for pumps, cabling, controls  cost but no showstoppers.

## Slide 5: Purchase and Documentation
Engineering Change Request
  Ideally before May 2024 to allow to for production and procurement.
    Change of beam pipes and warm modules?
    Cabling requests
Procure
  Gas and the connectors (Neon, Nitrogen, Argon)
  Skimmers
  Ion Pumps (assume 10 KCHF/unit + controllers)
  NEG Pumps (assume 10 KCHF/unit + controllers)
  Cabling (assume 3 KCHF per cable)
  Tubes and WMs (15 KCHF?)

## Slide 6: Summery
Many options for run 2025
How can we reduce the options?
Options with “only” BI and the CERN vacuum group involved easier
Change to Nitrogen (or Argon) will need detailed preparation and documentation

## Slide 7: Thank you!