## Slide 1
WLCG Service Report 4 weeks, May 22 – June 18 WLCG Management Board, June 18, 2024 Borja Garrido, Maarten Litmaath v1.2

## Slide 2: Operations Coordination meetings
These meetings normally are held once per month
  Usually on the first Thursday
Each meeting has a standard agenda plus usually at least one dedicated topic, announced in advance
Experiments and sites are kindly asked to have the relevant experts attend, depending on the topic(s)
Next meeting on July 11
  Topics TBD

## Slide 3: Operations Coordination highlights (1)
Outcomes of the Ops and Facilities session in WLCG WS
XRootD monitoring status and next steps
  Proposal for validation next steps
  Proposal to drop the legacy GLED collectors with CC7 EoL
Update on the transition from VOMS-Admin to IAM
  ATLAS VOMS-Admin switched off, other experiments to follow

## Slide 4: Operations Coordination highlights (2)
ATLAS
  Tape consolidation campaign finished
  Widespread problems seen with CVMFS (timeouts, synchronisation)
    Ticket will be open if they persist
CMS
  Asked sites to remove x86-64-v1 microarchitecture worker nodes
  Working on legacy VOMS phaseout
LHCb
  Data challenge re-run between CERN and IHEP Beijing
    Met the performance targets
  Very busy with the migration from VOMS-Admin to IAM
    Debugging user record differences, adjusting DIRAC, checking legacy VOMS usage
  SAM tests have been updated

## Slide 5: Selected items from Operations (1)
ATLAS
  Alarm ticket GGUS:166838 opened for CERN on May 23 because writing to EOSATLAS from P1 was impossible due to “No space left on device”
    Fixed within 30 minutes
  VOMS-Admin and VOMS services switched off on June 3
    Unexpected fall-out in GGUS (see page 7)
ALICE
  VOMS-Admin and VOMS services switched off on June 17
CERN
  All IAM services were upgraded to a pre-release of v1.9.0 which already fixes several high-priority issues in the area of VO management
RAL
  CVMFS Stratum-1 has been migrated to new infrastructure & architecture

## Slide 6: Selected items from Operations (2)
FNAL
  GGUS paging still broken
    Decided to wait for the new WLCG Helpdesk and work on its SNow integration
    Weekends are covered by a person on call, but not during the night
SARA
  Grid services unusable for a few days due to a major network incident
    On Wed evening June 12 all grid services became unreachable due to a network problem on the EVPN that connects them all
      All of its switches had to be restarted
      Some needed firmware upgrades
    dCache was restored the next morning
    The last of the grid services were only restored Monday morning
    The root cause is unknown at this time
    A ticket has been opened with the vendor

## Slide 7: Selected items from Operations (3)
GGUS
  EL9 migration blocked certificates from SHA-1 root CAs for a few days
    Fixed by enabling SHA-1 support
  Lists of certificate DNs allowed to open Team and/or Alarm tickets have become static
    Triggered by VOMS-Admin retirement
    Changes to these lists can be requested by GGUS tickets or e-mail
Middleware
  The WLCG repository has been updated with various packages for EL9 and EL8 while the EGI UMD-5 repository for EL9 remains delayed

## Slide 8: Service Incident Reports
No new incident reports

## Slide 9: GGUS summary (4 weeks, May 20 – June 16)
VO | Incidents | Alarms | Total
ALICE | 3 | 0 | 3
ATLAS | 71 | 1 | 72
CMS | 39 | 0 | 39
LHCb | 21 | 0 | 21
Totals | 134 | 1 | 135
Chart: GGUS incident tickets