## Slide 1
WLCG Service Report 4 weeks, September 17 – October 15 WLCG Management Board, Oct 15, 2024 Panos Paparrigopoulos, Maarten Litmaath v1.2

## Slide 2: Operations Coordination meetings
These meetings normally are held once per month
  Usually on the first Thursday
Each meeting has a standard agenda plus usually at least one dedicated topic, announced in advance
Experiments and sites are kindly asked to have the relevant experts attend, depending on the topic(s)
Next meeting on November 7, 2024
  TBD

## Slide 3: Operations Coordination highlights (1)
APEL status report
  EL7 migration:
    Some issues have been detected by the sites during testing of the client, which are now fixed. Deployment ongoing.
    The server should be deployed in production by the end of October.
  APEL version with tracking of HS23 deployment
    Testing by the sites with various configurations is ongoing.
    A new server with HS23 functionality should be deployed in production by the end of November.
AUDITOR
  A detailed presentation on AUDITOR's architecture and capabilities.
  Support for accounting of different resources shared by an overlay batch system and for distributing accounting data to various clients (incl. APEL).
  Already in use at KIT for various use cases.
  Can potentially replace the APEL client, in particular for sites that have different types of resources and send normalized records.

## Slide 4: Operations Coordination highlights (2)
Analysis of conversion factors by using HS23
  Thorough study showing that core-power values often are inconsistent across various sources.
    ATLAS-CRIC, BDII, and the actual values obtained from benchmarking results.
  Discussion on how such differences can be avoided and remedied.
  Follow-ups on potential developments foreseen in the Technical Coordination Board and discussions in the Open Technical Forum.
WLCG Helpdesk status
  On October 1st, a broadcast was sent inviting users to register.
  More functionality will be announced when ready for testing.

## Slide 5: Operations Coordination highlights (3)
UMD-5 for EL9 is being beta-tested
  Software category descriptions still require improvement.
  An official readiness announcement is expected on 21 October.
ATLAS inquired on whether there is a WLCG protocol for site decommissioning
  The question arose after a site was decommissioned without adequate communication, resulting in data being trapped at the site.
  WLCG Ops coordination will look into a formal procedure for decommissioning sites.
Usage of Russian sites after 30 November
  To be clarified in this MB meeting.

## Slide 6: Operations Coordination highlights (4)
CMS
  SRM to REST migration for tape endpoints has one site remaining.
    Blocked by transfer backlog of 16 PB.
LHCb
  New T2 site in Lanzhou, China.
  Run-1 and -2 data sets reduced to single replicas because of disk space shortage.

## Slide 7: Selected items from Operations (1)
LHCb
  Alarm ticket for SARA because of job submission failures (GGUS:168300)
CNAF
  LHCb reported that normal activity at CNAF has been restored and the site appears to be mostly stable.
    A set of files were corrupted due to a network problem (GGUS:168495)
  200 TB hot-storage buffer on NVMe added for I/O-intensive LHCb jobs.
    Filled up quickly right after its preparation, CNAF is trying to put a proper placement policy in place.
  Waiting for vendor to implement the proposed solution by end October.
    More disk space and a new controller configuration.

## Slide 8: Service Incident Reports
CNAF incident is recorded but a report is pending from CNAF

## Slide 9: GGUS summary (4 weeks, Sep 16 – Oct 13)
Delete this text box and put the Excel graph here instead.
Please follow the procedure described here:
https://twiki.cern.ch/twiki/bin/view/LCG/GgusOperations#Before_the_WLCG_MB_on_Monday
VO | Incidents | Alarms | Total
ALICE | 1 | 0 | 1
ATLAS | 53 | 0 | 53
CMS | 62 | 0 | 62
LHCb | 17 | 1 | 18
Totals | 133 | 1 | 134