## Slide 1: Integration News
F. Valchkova-Georgieva & Dieudonne Adrien Ngo'O Ella
17.04.2024

## Slide 2
  Integration topics:
  Integration of RF sectoin point L
  Integration of RF sectoin point H
  To come:
  30th April:
  Integration of FCC-ee Experiment point ( PA&PD)
  Integration of Big and Small Alcove
  15 May:
  Integration of FCC-ee point B
  Update integration of RF sections
F. Valchkova-Georgieva & Dieudonne Adrien Ngo'O Ella
17.04.2024

## Slide 3
  FCC-ee Underground Structure Point L
F. Valchkova-Georgieva & Dieudonne Adrien Ngo'O Ella
FCC WEEK 2023
New Baseline
17.04.2024

## Slide 4
  FCC-ee Underground Structure Point L
F. Valchkova-Georgieva & Dieudonne Adrien Ngo'O Ella
New Baseline
New QRL Size ?
17.04.2024

## Slide 5
  FCC-ee Underground Structure Point L
F. Valchkova-Georgieva & Dieudonne Adrien Ngo'O Ella
17.04.2024
Collider Center
Junction Cavern
Klystron Gallery
Service Shaft
Service Cavern (60x25m)
Machine tunnel
ø9,5m Connection Tunnel
5 Evacuation staircase
(each 225 m)
IP
ø7m Connection Tunnels (Cavern/Klystron Gallery)
Junction Cavern

## Slide 6
  FCC-ee Underground Structure Point L
Collider Center
F. Valchkova-Georgieva & Dieudonne Adrien Ngo'O Ella
153,8m
35m
250m
17.04.2024
Service Shaft
LCB (lower cold box)
dimensions: 13x6x6 m (LxWxH)
- weight: 42 tonnes
4000
8000

## Slide 7
  FCC-ee Underground Structure Point L
F. Valchkova-Georgieva & Dieudonne Adrien Ngo'O Ella
Collider Center
10m
17.04.2024

## Slide 8
  FCC-ee Underground Structure Point L
Collider Center
F. Valchkova-Georgieva & Dieudonne Adrien Ngo'O Ella
Chilled water
DN300
4 Cable trays:
Raw water
DN350
2 Cable tray
2 Cable tray
1 Cable tray
0,98m
1,03m
17.04.2024
2,03m
Smoke/He extraction
S=1.098m2 instead of S=1.946m2

## Slide 9
  FCC-ee Underground Structure Point H
F. Valchkova-Georgieva & Dieudonne Adrien Ngo'O Ella
17.04.2024
Collider Center
Junction Cavern
Klystron Gallery
Service Shaft
Service Cavern (60x25m)
Machine tunnel
8 Evacuation staircase
(each 250 m)
IP
ø7m Connection Tunnels (Cavern/Klystron Gallery)

## Slide 10
  FCC-ee Underground Structure Point H
F. Valchkova-Georgieva & Dieudonne Adrien Ngo'O Ella
Collider Center
1,8m
17.04.2024
Chilled water
DN300
4 Cable trays:
Raw water
DN350
2 Cable tray
2 Cable tray
1 Cable tray
0,98m
1,03m

## Slide 11: Thank you for your attention.
11
F. Valchkova-Georgieva
17.04.2024