## Slide 1: Integration News
F. Valchkova-Georgieva
30.04.2024

## Slide 2
  Integration topics:
  FCC-ee Regular Arc
  FCC-ee Underground Structure at point A
  FCC-ee beamstrahlung dump at point A
  FCC Small Alcove with Small Layby
  FCC Small Alcove with Big Layby
  FCC Big Alcove
  Integration of RF sectoin point H

## Slide 3
  FCC-ee Regular arc
F. Valchkova-Georgieva

## Slide 4
  Integration of FCC-ee machine elements (regular arc)
Collider Center
Machine tunnel 5.5m in diameter
3 Cable trays:
3 DC cable trays
5 Cable trays:
5 DC Cable trays
Chilled water
DN300
Magnet vehicle
Transport space reservation
2.2m x 2.25m (LxH)
HV Cable
2 Cable tray:
2 Fibre optic Cable trays
He/Smoke extraction
Raw water
DN350
Demineralized water
DN550
Compressed air
DN80
4 Cable trays:
4 DC Cable trays
Leaky feed
F. Valchkova-Georgieva & Dieudonne Adrien Ngo'O Ella

## Slide 5
  FCC-ee Underground Structure at point A
F. Valchkova-Georgieva

## Slide 6
F. Valchkova-Georgieva
  FCC-ee Underground Structure at point A
Experimental Shaft ø18m
Elliptical Service Shaft
Bypass tunnel ø 5.5m
Machine tunnel
Service Cavern
Experiment Cavern
2 x Evacuation
connection tunnel
Survey Gallery
Connection tunnel ø 10m
Connection tunnel ø 5.5m

## Slide 7
F. Valchkova-Georgieva
  FCC-ee Underground Structure at point A
1.7 km
Elliptical Service Shaft
Experiment Shaft

## Slide 8
  FCC-ee beamstrahlung dump at point A
F. Valchkova-Georgieva

## Slide 9
IP
125m
  FCC-ee beamstrahlung dump integration at point A
14.8m
5.73m
2.01m
339.4mm
3390.7mm
6160.7mm
E+ ring
E- ring
Beamstrahlung
Booster ring
F. Valchkova-Georgieva
0.98m

## Slide 10
IP
330m
  FCC-ee beamstrahlung dump integration at point A
16.4m
6.51m
2.01m
2603.2mm
7132mm
3467.5mm
E+ ring
E- ring
Beamstrahlung
Booster ring
F. Valchkova-Georgieva
0.98m

## Slide 11
  FCC-ee beamstrahlung dump integration at point A
18.6m
6.3m
4340mm
8640mm
1720mm
E+ ring
E- ring
Beamstrahlung
Booster ring
F. Valchkova-Georgieva
0.98m
IP
443m

## Slide 12
  FCC-ee beamstrahlung dump integration at point A
18.6m
6.3m
5415.4mm
9419.9mm
4563.5mm
E+ ring
E- ring
Beamstrahlung
Booster ring
F. Valchkova-Georgieva
0.98m
IP
500m

## Slide 13
F. Valchkova-Georgieva
  Integration of FCC alcove and transport Layby

## Slide 14
F. Valchkova-Georgieva
  FCC Alcove and transport Layby integration
Schematic of the principle of cabling from the alcoves
Courtesy Jean-Paul Burnet

## Slide 15
F. Valchkova-Georgieva
  FCC Small Alcove with Small Layby
Indicate the position of different electrical equipment in the FCC Alcove in the arc
Fire detection’s equipment

## Slide 16
F. Valchkova-Georgieva
  FCC Small Alcove with Big Layby
Indicate the position of different electrical equipment in the FCC Alcove in the arc
Fire detection’s equipment

## Slide 17
F. Valchkova-Georgieva
  FCC Small Alcove with Big Layby
Indicate the position of different electrical equipment in the FCC Alcove in the arc
Fire detection’s equipment

## Slide 18
F. Valchkova-Georgieva
  Integration of FCC-ee Big Alcove
29m
18m
CV Control Cubicle
CV Air Handling Unit
Cryo Racks

## Slide 19
F. Valchkova-Georgieva
  Integration of FCC-ee Big Alcove
Passage for cable trays
Smoke extraction
Passage for cable trays
Evacuation passage
2.5m
2.2m
8.5m
3m

## Slide 20
F. Valchkova-Georgieva
  Integration of FCC-ee RF section point L

## Slide 21
  FCC-ee Underground Structure Point L
FCC WEEK 2023
New Baseline

## Slide 22
  FCC-ee Underground Structure Point L
New Baseline
New QRL Size ?

## Slide 23
  FCC-ee Underground Structure Point L
Collider Center
Junction Cavern
Klystron Gallery
Service Shaft
Service Cavern (60x25m)
Machine tunnel
ø9,5m Connection Tunnel
4 Evacuation staircase
(each 225 m)
IP
ø7m Connection Tunnels (Cavern/Klystron Gallery)
Junction Cavern
Evacuation staircase with lift
Midpoint RF section

## Slide 24
  FCC-ee Underground Structure Point L
Collider Center
153,8m
35m
250m
Service Shaft
LCB (lower cold box)
dimensions: 13x6x6 m (LxWxH)
- weight: 42 tonnes
4000
8000
IP
Midpoint RF section
200m
300m

## Slide 25
  FCC-ee Underground Structure Point L
Collider Center
10m

## Slide 26: Thank you for your attention.
26
F. Valchkova-Georgieva