## Slide 1: A MAPS detector application in a Young-Feynman interference experiment with single electrons
F. Giorgi(1), S. Frabboni(3), A. Gabrielli(1,2),
G.C. Gazzadi(3) , G. Matteucci(2), G. Pozzi(2),
N. Semprini(1,2), M. Villa(1,2), A. Zoccoli(1,2)
INFN – Bologna, Italy
Physics Department – University of Bologna , Italy
CNR-Institute of Nanoscience-S3 and University of Modena and Reggio Emilia, Italy

## Slide 2: Outline
Young’s double slit interference experiment
Historical notes on electron interference
Setup of a quantum experiment with single electrons
The digital sensor
Measures and results
Conclusions

## Slide 3: Young’s double slit experiment
  LIGHT
  Monochromatic and coherent source
  Two slits at distance d (primary wave split into 2 sources of coherent waves)
  Detection on screen at distance D>>d
  Fringes at multiples of θ =  /d
R. Feynmann: “We should say right away that you should not try to set up this experiment” Lecture on Physics, vol 3. (1963)
De Broglie @ 60 KeV ~ 5 ∙ 10-12 m (0.05 A)
(~ 1/20 Hydrogen’s Bohr diameter)
  PARTICLES (i.e. electrons)
  Mono-energetic and coherent (small) source
D
d

## Slide 4: Young’s double slit experiment
  LIGHT
  Monochromatic and coherent source
  Two slits at distance d (primary wave split into 2 sources of coherent waves)
  Detection on screen at distance D>>d
  Fringes at multiples of θ =  /d
R. Feynmann: “We should say right away that you should not try to set up this experiment” Lecture on Physics, vol 3. (1963)
De Broglie @ 60 KeV ~ 5 ∙ 10-12 m (0.05 A)
(~ 1/20 Hydrogen’s Bohr diameter)
  PARTICLES (i.e. electrons)
  Mono-energetic and coherent (small) source
1961 – Jönsson C. (Zeitschrift für Physik 161, 454-474) English translation: Electron Diffraction at Multiple Slits on the American Journal of Physics (1974) 42, 4-11
Material
double slit
High electron
flux

## Slide 5: Young’s double slit experiment
  LIGHT
  Monochromatic and coherent source
  Two slits at distance d (primary wave split into 2 sources of coherent waves)
  Detection on screen at distance D>>d
  Fringes at multiples of θ =  /d
R. Feynmann: “We should say right away that you should not try to set up this experiment” Lecture on Physics, vol 3. (1963)
De Broglie @ 60 KeV ~ 5 ∙ 10-12 m (0.05 A)
(~ 1/20 Hydrogen’s Bohr diameter)
  PARTICLES (i.e. electrons)
  Mono-energetic and coherent (small) source
1972 – O. Donati, G.F. Missiroli, G. Pozzi (American Journal of Physics (1973) 41, 639-643)
1974 – P.G. Merli, G.F. Missiroli, G. Pozzi (American Journal of Physics (1976) 44, 306-7)
1987 – A. Tonomura (American Journal of Physics (1989) 57, 117-120)
Electron
bi-prism
Low-flux:
Average e- distance: >10 km
single electrons!

## Slide 6: From gedanken to real, a step further
single counts
AND
Time-tagging
TEM Philips M400T
actual
double slit
mechanical
stopper
Thermo-ionic electron emitter
HEP MAPS sensor
APSEL4D chip by SLIM5 (INFN)
Custom DAQ board
“Digital movie” shot @ 6000 fps


## Slide 7: DAQ Boards
Vacuum connector
MAPS sensor
Back-end board

## Slide 8: Nanometric Double Slit
FIB (Focuses Ion Beam) 30 keV Ga+ source. 10 pA beam.
Carbon membrane with Au deposition ( 50-100nm thick).
Length: 1550nm.
Width: 100nm.
Distance: 450nm.
2007 – S. Frabboni, G. C. Gazzadi e G. Pozzi (American Journal of Physics (2007) 75, 1053)
SEM Image

## Slide 9: The MAPS sensor APSEL4D
Developed by the INFN SLIM5 collaboration: R&D for HEP collider experiments.
MAPS: Monolithic Active Pixel Sensor CMOS ST .13 m technology
Thickness 300 m, pitch 50x50 m
4096 channels (32x128)
ENC 75 e-
S/N ~ 20 (MIP)
Signal discriminator with extern. threshold
Binary hit information.
Digital readout:
  Data Driven
  Sparsified hit extraction
  Time tagging down to 1 s.
Clock frequency 20-50 MHz
Efficiency ~ 90% measured at CERN with 12-GeV proton beam.
4096-MAPS matrix
100k std-cell area
Sensitive area: 6.4 mm x 1.6 mm ~ 10 mm2
32x128 pix - 50 mm pitch
periph & spars logic
2008 – S. Bettarini et Al. (Nuc. Instr. And Meth. A, 623 (2010) 942-953)

## Slide 10: Sparsified Digital Readout
Macro Pixels (MP) have dedicated lines
1 Fast OR
1 Latch enable

## Slide 11: Sparsified Digital Readout
Macro Pixels (MP) have dedicated lines
1 Fast OR
1 Latch enable
TIME STAMP
TIME STAMP

## Slide 12: Sparsified Digital Readout
Macro Pixels (MP) have dedicated lines
1 Fast OR
1 Latch enable
Pixel hit extraction
1 column at a time
Only fired MP are inspected column by column

## Slide 13: Sparsified Digital Readout
Macro Pixels (MP) have dedicated lines
1 Fast OR
1 Latch enable
Pixel hit extraction
1 column at a time
Only fired MP are inspected column by column

## Slide 14: Sparsified Digital Readout
Macro Pixels (MP) have dedicated lines
1 Fast OR
1 Latch enable
Pixel hit extraction
1 column at a time
Only fired MP are inspected column by column

## Slide 15: Sparsified Digital Readout
Macro Pixels (MP) have dedicated lines
1 Fast OR
1 Latch enable
Pixel hit extraction
1 column at a time
Only fired MP are inspected column by column

## Slide 16: Sparsified Digital Readout
Macro Pixels (MP) have dedicated lines
1 Fast OR
1 Latch enable
Pixel hit extraction
1 column at a time
Only fired MP are inspected column by column

## Slide 17: Sparsified Digital Readout
Macro Pixels (MP) have dedicated lines
1 Fast OR
1 Latch enable
Pixel hit extraction
1 column at a time
Only fired MP are inspected column by column

## Slide 18: Sparsified Digital Readout
Macro Pixels (MP) have dedicated lines
1 Fast OR
1 Latch enable
Pixel hit extraction
1 column at a time
Only fired MP are inspected column by column

## Slide 19: Sparsified Digital Readout
Macro Pixels (MP) have dedicated lines
1 Fast OR
1 Latch enable
Pixel hit extraction
1 column at a time
Only fired MP are inspected column by column

## Slide 20: Sparsified Digital Readout
Macro Pixels (MP) have dedicated lines
1 Fast OR
1 Latch enable
Pixel hit extraction
1 column at a time
Only fired MP are inspected column by column
Fired pixel in the active column are coded by sparsifier components
Hits converge on a common formatted output.
y
x
time
coded hit

## Slide 21: The Measures

## Slide 22: System test: Carbon-grating diffraction
X pixel
X pixel
Y pixel
dN/dx
Grid sample pitch: 400 nm
40 keV electrons: =h/p= 5.9 pm ; θ ~ 10-5 rad
3 ms time resolution: 333 fps
High average number of electrons per frame
Peak distance: 13 pixels
 0.65 mm

## Slide 23: The single electron interference experiment results
40 keV electrons
165 μs time resolution: ~6000 fps

## Slide 24: Vast majority of frames are empty (empty/hit ~ 70)

## Slide 25: The edited movie
1st part: Both empty and single-electron frames are being played
~20 min. run
96k e- recorded
~80 e-/s 
1500 km av. Distance
(β~.5)
2nd part: Empty frames are being skipped.
3rd part: Single electron frames are overlapped together

## Slide 26: Frame data analysis
Electron multiplicity in frames
zero-multiplicity (empty frames) ~ 7x106
Time distance between electrons
Almost every electron was already “on tape” before the next one was emitted

## Slide 27: Conclusions
A Young-Feynmann experiment with a sub-micron double slit, a HEP pixel sensor and a Transmission Electron Microscope was setup.
40KeV Single electrons could be detected, time-tagged with a 165 µs time resolution and taped out one by one  For the 1st time the arrival time distribution (mean ~10 ms) has been reconstructed.
The double slit interference pattern was build up off-line with a statistic of about 100k electrons that travelled at an average distance of ~1500 km between each other.

## Slide 28: Thank you

## Slide 29: Still image of the overlapped single electron frames