## Slide 1: Intro Sustainability for lange scale Research Infrastructures
ALEGRO Workshop 2024
Denise Völker, Head of Sustainability at DESY
20th March 2024

## Slide 2: Basics

## Slide 3: Climate Change
Temperature rise
Scientific facts: Research Centers as scientific institutions have to act accordingly!
| Source: https://showyourstripes.info
Notes: 3

## Slide 4: Planetary Boundaries
The Challenges
| Source: The evolution of the planetary boundaries framework. Azote for Stockholm Resilience Centre, Stockholm University. Based on Richardson et al. 2023, Steffen et al. 2015, and Rockström et al. 2009

## Slide 5: Public Perception
Securing social and political legitimacy
Sins for research
How climate-damaging is basic research allowed to be?
Trouble‘s brewing @ Helmholtz
Notes: 5

## Slide 6
Sustainable Research Centers
Research for Sustainability = What
Sustainable Research = How
| e.g. Contribution UN Sustainable Development Goals
| e.g. Usage of eco-power
What are we looking at?
What and How
Notes: 6

## Slide 7: Sustainability at Research Organizations (Germany)
Science
culture of scientific integrity to ensure good scientific practice
reflection of societal responsibility in the research process
Staff
Sustainable career development
Keep knowledge on campus and attract best talents
Supporting processes
Procurement
Cooperation in campus security, safety, environmental protection and mobility
Corporate Governance
Transparent to employees and stakeholders
Documentation of processes and decisions
Boost socio-economic impact (education, employment, technology transfer)
Infrastructure
Reuse of infrastructure
Energy saving technologies
New building concepts and materials
Broad approach

## Slide 8: Impact Degree
Including Effort
Measures not specific for research centers
(e.g. Travel, Catering, Mobility ….)
Measures with the infrastructure
(e.g. Remote access, renewable energy, waste heat, PV ….)
Measures at the infrastructures
(e.g. energy recovery; high temperatures, substitutes for certain gases, Plasma, Data management ….)
Easy, cheap, many volunteers
Fast, needs investment
Possibly decades of research needed

## Slide 9: Focus Infrastructure
grid energy consumption
energy procurement
waste management & recycling
water consumption
research infrastructure system efficiency
Footprinting / LCAs
heating & waste heat recycling
office/lab energy consumption
efficient technologies
use of materials and resources
Design for Sustainability

## Slide 10: Life Cycle
“LCA is a tool for the analysis of the environmental burden of products at all stages in their life cycle”
+ Social
+ Governance
It starts with the DESIGN
I Source: European Commission, Joint Research Centre, Cristobal-Garcia, J., Pant, R., Reale, F., et al., Life cycle assessment for the impact assessment of policies, Publications Office, 2017, https://data.europa.eu/doi/10.2788/318544

## Slide 11: What is being looked at?
Not only Greenhouse Gases
I Source: European Commission, Joint Research Centre, Cristobal-Garcia, J., Pant, R., Reale, F., et al., Life cycle assessment for the impact assessment of policies, Publications Office, 2017, https://data.europa.eu/doi/10.2788/318544

## Slide 12: What is being looked at?
    Indicator Unit
    Climate Change Potential (Global Warming) GWP kg CO2 eq.
    Eutrophication Potential (Over-fertilization) EP kg P eq./kg N eq.
    Photochemical Ozone Depletion Potential (Summersmog) POCP kg Ethene eq.
    Ozone Depletion Potential (Ozone hole) ODP kg CFC-11 eq.
    Acidification Potential land and ocean (Acid rain) AP kg SO2 eq.
    Human toxicity HTP kg 1,4-DCB eq.
    Ecotoxicity FAETP / MAETP / TETP kg 1,4-DCB eq.
    Abiotic Resource Depletion (Resource scarcity) ADP kg Cu eq.
    Water scarcity m3 world eq.
    Land use m2a
    …… …….
Not only Greenhouse Gases

## Slide 13
Design for Sustainability
General Approach
I Source: Boston Consulting Group. Six Strategies for Designing Sustainable Products; https://www.bcg.com/publications/2023/six-strategies-to-lead-product-sustainability-design

## Slide 14: Projects examples

## Slide 15: Energy consumption at DESY 2021

## Slide 16: Energy consumption at DESY 2021
DESY campus in Hamburg
In 2021 this is in total as much energy consumption as 14.000 households1 (but: households use most energy for heating and DESY uses mainly electrical energy)
Comparison only in electrical energy:
  Only DESY 49.000 households2
  DESY + XFEL ca. 70.000 households2
1 source: Energy consumption of private households: 16.433 kWh; ca. 70% for room heating; https://www.destatis.de/DE/Presse/Pressemitteilungen/2018/10/PD18_378_85.html ; average household has ca. 2 persons: http://www.bpb.de/nachschlagen/zahlen-und-fakten/soziale-situation-in-deutschland/61587/haushalte-nach-zahl-der-personen
2 source: Only electricity, no other energies. Electricity consumptions depends on size of household. Average household of ca. 2 persons uses 3.106 KWh (https://www.destatis.de/DE/Themen/Gesellschaft-Umwelt/Umwelt/UGR/private-haushalte/Tabellen/stromverbrauch-haushalte.html)

## Slide 17: Climate Protection at DESY
DESY has 3 big CO2 emission sources (and many little ones)
  Electrical power: from 2023 on 100 % Renewable – 40.000 tons CO2 less per year (55.000 tons with XFEL) (compared to 2019)
  Business trips: 1/3 less travel in total - short trips only by train - flights we can´t avoid to be compensated - CO2 savings between 4.000-6.000 tons
  Heating: currently comes from a coal plant nearby - already use waste heat from the cryogenic hall (>10 GWh/y) – next project: usage of unused waste heat of ca. 12 GWh/y – possible CO2 savings of about 4.000 tons (compared to 2019)
Focus CO2

## Slide 18: Waste Heat Usage 1
Cryogenic Plant - in use since 2017
Since 2017 use of waste heat from cryogenics
Cooling of helium down to 2 Kelvin for the operation of the superconducting accelerators
Waste heat with a temperature of 70 °C
More than 10 GWh each year
→ More than 1/3 of the required heat @ DESY
Notes: Seit 2017 Nutzung der Abwärme aus der Kryogenik
Kühlung von Helium auf 2 Kelvin für den Betrieb der supraleitenden Beschleuniger
Dabei entsteht Abwärme mit einer Temperatur von 70 °C
Jährlich stehen so mehr als 10 GWh zur Verfügung
Mehr als ein Drittel der benötigten Wärme bei DESY

## Slide 19: Waste Heat Usage 2
Waste heat from accelerators not yet in use
Project with University of applied science in Hamburg (HAW) to identify potential → Result: 129 GWh/y of waste heat available at a temperature level of 30°C - 40°C
Can cover all of DESYs heat demand (12 GWh/y ) → usable in existing and new buildings
Possible CO2 savings at DESY campus of about 4.000 tons/y
Unused Potential at DESY Campus in Hamburg

## Slide 20: Civil Construction
Assessment System for Sustainable Building (BNB)
I CTA-SDMC Zeuthen
I DESYUM

## Slide 21: Sustainability at DESY
Green DESY
Benefits:
more efficient rainwater management through retention by increasing water seepage and evaporation opportunities
Healthy microclimate
Reduction of the heat island effect (cooling down of the city heat in summer)
Air pollution control / Respirable dust absorption
Breeding and foraging habitats for birds and insects
Contribution to biodiversity
Building 36 – Total area of greening 4,570 m² = half a hectare (roof and 3 walls)
Bird's eye view at the beginning and in a few years Draft: L+ Landschaftsarchitekten Visualization: luminousfields

## Slide 22: DESY Sustainability Report
2019-2021
https://nachhaltigkeit.desy.de/sustainability_report/index_eng.html

## Slide 23: Lets get closer to the accelerator

## Slide 24: Upgrade PETRA III : PETRA IV.
What is the benefit of the upgrade?
Brilliance increase by
➔500 x (hard X-rays)
➔1000 x (high-energy X-rays)
PETRA IV. brilliance at 100 keV
higher than for 10 keV at PETRA III today!!
Photon source size –ideal imaging capabilities
 | PETRA III | PETRA IV
Horizontal | 1300 pm rad | 20 pm rad
Vertical | 10 pm rad | 5 pm rad
Coherence of the emitted light for PETRA III (bottom) and PETRA IV. (upper figure)
[1] C.G. Schroer et all Eur. Phys. J. Plus 137, 1312 (2022)
Spectral brightness of PETRA IV (H6BA lattice) compared to PETRA III [1]
Comparison of the beam emittance for PETRA III (left) and PETRA IV (right)

## Slide 25
Permanent Magnets - Energy Consumption
Increasing use of PM in new lattices
PMs run without electricity
Hugh power savings
ESRF: before upgrade 16.9 GWh / year after upgrade 8.5 GWh / year
PSI: SLS 6.4 GWh / year SLS2.0 2.6 GWh / year
HZB: BESSY II 5.1 GWh / year BESSY III < 1.3 GWh / year
I
J.Chavanne, Permanent accelerator magnets for light sources, 5th ESSRI Workshop 2019, https://indico.psi.ch/event/6754/contributions/18013/
I
M.Seidel, Technologies for Sustainable Accelerators, First iFAST annual meeting, 2022, https://indico.cern.ch/event/1138690/contributions/4782721/
I
J.Völker, Overview permanent magnets at accelerator facilities, iFAST REE workshop 2023, https://indico.desy.de/event/35655/timetable/#20230206.detailed
DESY calcutaled Energy savings with the current design:
about 2.87 GWh/year (calculated with 6500 h operation time per year; without cooling and heating)
Very good

## Slide 26
Rare Earth Elements - Current situation
Rare earths (REE) are mined and processed under destructive social and environmental conditions
No alternative sources or certified mining and processing available
So far no sufficient progress on recycling of old PM
https://indico.desy.de/e/ree
I ORF, 2015, Auf der dunklen Seite des Fortschritts: https://orf.at/v2/stories/2272650/2272651/
I UK Guardian: article on shocking working conditions in cobalt mining, cobalt is also to be used in PM
I Spektrum, 2020, Politik bedroht unberührte Amazonasgebiete, https://www.spektrum.de/news/politik-bedroht-unberuehrte-amazonasgebiete/1754314
Very bad

## Slide 27
What to do?
Implement life cycle management already in planning phase of new Ris
Find best practice for recycling of these materials
Support development of certification system for mining and processing of critical materials
I Image by brgfx on Freepik
I Image by juicy_fish on Freepik
I from M.Erdmann: https://indico.desy.de/event/35655/contributions/137541/
(Re-)Use / Recycling
(optional)
Retail / Wholesale
Manufac-turing
Separation
Ion exchange, Solvent extraction
Intermediary Trade
(optional)
Processing
Flotation, Roasting, Leaching, Precipitation (optional)
Exploration, Mining and Comminution
Refining / Reduction
Calcination, Electrolysis
Upstream Supply Chain
Downstream Supply Chain
Semi-Fabrication & Conversion
Small steps have value

## Slide 28
Tunnel Temperature PETRA III
Heated and unheated Sections
|Source:Temp.Calc.Kickoff| PETRA IV WP 1.12 - Michael Bieler
Tunnel Climatization today:
Air (25º C) blown in every 300/600 m
Cooling water inlet: 25º C
Temperature over one year
Temperature difference between positions up to 5°C
Operating schedule of PETRA clearly visible
Summer and winter time visible
Black curve, 26º – 31º C: Concrete floor, OR59, air temperature regulated (30º C)
Red curve, 23º – 34º C: Concrete floor, SOR87, air temperature unregulated
Blue curve, 23º – 36º C: Air temperature, SOR85, air temperature unregulated

## Slide 29
3D calculation of tunnel air and heat flowa
Cooperation with Fraunhofer Magdeburg for CFD-simulation (fluid dynamic)
Digital Twin of the tunnel in CAD (not yet completed) Single parts can be selected and hidden It can be rotated etc.
A list with all consumer of electricity with their heat input (called Stromkreisliste)
Including the cooling capacity and the position of air conditioners
Fluid dynamical simulations:
  Heat distribution also for corners and hidden places
  Optimization for cooling and heating (in shutdowns)
  Optimization of cabeling
(Cedric Kula TAC)
screenshot of the app
and first test results
(R. Zimmermann)

## Slide 30
CO2 emissions for different tunnel temperatures
Including shutdowns, when we have to heat for a constant temperature.
Optimal temperature in the tunnel are:
Water: 30°C
Air: 25°C
Primary energy consumption and CO2 emission for different tunnel temperatures and cooling water inlet temperatures with reference PETRA IV operation
(T. Warnecke „Report on thermal parameters of PETRA IV”)
PETRA IV requires very stable temperature

## Slide 31
Accelerator R&D
Plasma based injector PETRA IV

## Slide 32: Sustainable Design
International exchange on Sustainable Accelerators
ESSRI conference
Energy for Sustainable Science at Research Infrastructures (ESSRI) 25./27. Sept. 2024 in Madrid
Program includes: energy management, latest efficiency ideas and critical materials
https://agenda.ciemat.es/event/4431/
Know your footprint Campaign
Developed by the young High Energy Physicists (yHEP)
Paper: https://arxiv.org/abs/2403.03308
Calculator: https://limesurvey.web.cern.ch/863499?lang=en

## Slide 33: Thank you

## Slide 34
Denise Völker
D6 - Nachhaltigkeit
E-Mail: denise.voelker@desy.de
Telefon: +49 (0)40 - 8998 4414