## Slide 1: “Data Management”
Some updates from GridPP and SWIFT-HEP related work
Sam Skipsey (he/they)
On behalf of: Tim Noble, Raul Lopes, Matt Doidge and others

## Slide 2: Data Management and Storage Topics
Storage:
  DPM Migration
  “Xrootd matters” [see Jyothish’s talk immediately preceding]
  Ceph care-and-feeding an increasingly important aspect of UK storage sites
    (outside London…)
Data Management:
  SWIFT-HEP
    work on Data Lakes with Rucio led by Tim Noble @ RAL
    work with Xcache led by Raul Lopes, Ivan Reid @ Brunel

## Slide 3: Swift-HEP data management
Work Package 1.1 objective is to create and develop a UK based data lake using the data management software Rucio. The data lake will incorporate different types of storage endpoints.
Some of the storage endpoints need to include flash based storage for high performance that the data management can be developed to utilise performance for job efficiency.
In order to be able to maximise flash based storage endpoints; monitoring needs to be in place to be able to compare and contrast the performance between the endpoint technologies.

## Slide 4: UK data lake monitoring
The CERN Monit FTS monitoring was used as a gold-standard monitoring page for data movement to be build for Rucio. The brief for the monitoring solution was to design a solution that used Rucio components, a dashboard creation service like Grafana, and minimal steps in between. Thereby making it easy to maintain and troubleshoot.
The features designed into the monitoring are:
Data rate and total
Transfer efficiency
Deletion Rate and total
Breakdown of site to site metrics
Customisable filters
Transfer Error metrics
Direct links to FTS error logs
Flexibility to add more types of monitoring
Keeping the required software number low allow the monitoring to be deployed for communities outside of CERN to have monitoring of their dataflow for campaign and functional tests.

## Slide 5: The designed solution
The monitoring solution Tim designed, implemented, and bug fixed:
Rucio logs are created by the daemons and stored in the database.
The messaging daemon then retrieves the messages from the database.
The messages are then sent to and ingested into Elasticsearch.
The data is then parsed in Elasticsearch to make the data searchable and filterable.
The indexed data is then used as a data source by Grafana to build dashboards.
Rucio Database
Logs
Rucio Daemons
Rucio Daemons
Rucio Daemons
Rucio Daemons
Elasticsearch
Rucio Hermes
Grafana Dashboard
Take logs from message queue
Logs

## Slide 6: Data lake Monitoring
These figures are from the deployed monitoring solution at RAL. A similar one is deployed for LSST and is waiting for data to populate it.
Top figure is designed to replicate the FTS monitoring most HEP communities know and use.
Lower figure expands on this information to deletions and errors from Rucio to identify issues and have direct links to the error logs.
Flexibility in filters with plans to add more to facilitate flash based/ HDD comparisons for data management work.
Helm charts created for Multi-VO and LSST and in the process of being created for the Rucio repo to allow all Rucio users access.

## Slide 7: Next Steps for data lake
A robust, and flexible monitoring solution has been deployed for the UK data lake.
Since the monitoring has deployed this in stages a baseline of functional test monitoring data based on HDD storage endpoints has accumulated to be able to now work on incorporating flash based storage endpoints for direct comparison.
Data from the comparison will be used to inform the development of Rucio to best utilise the storage endpoints capabilities.
The general purpose helm chart will also be completed to allow all communities that use Rucio a monitoring dashboards for the Rucio internals as well as now the externals.

## Slide 8: Brunel XCache Work
CMS xcache: dc2-grid-srv-009.brunel.ac.uk
- 270TB cache on ZFS
- packages from OSG
xcache-3.6.0-1.osg36.el9.x86_64
cms-xcache-3.6.0-1.osg36.el9.x86_64
- Alma 9
XRootD/CEPH: xrootdgw.brunel.ac.uk
- 2.5PB CephFS
- 2 XRootD endpoints
xrootd-5.6.8-1.1osg36
- Alma 9
Next steps: Ivan to run extensive analysis to compare
access through cache
access directly to xrootdgw.
create a multi-server cache and declare in the CMS AAA.
Consider adding to the WLCG Xcache network that is being created by CMS.
Thanks to GridPP Storage Group
(and especially Rob Currie @ Edinburgh)
for extensive discussion and configs for Xcache
Install/configuration/management
Measuring efficiency of (CMS) analysis through a cache versus direct access.

## Slide 9: Lancaster Storage Status (1)
In generally working okay, most of the time.
  XRoot definitely has its moments, and CEPH generally works, but when it doesn’t…
XRootD checksumming a significant performance impact
  Forces scaling horizontally
  ~doubles stress caused by the gateways to the CEPH cluster
  ~doubles the number of gateway servers required
  requires significant gateway hardware investment per gateway (memory as well as network)
The key to running a successful system is extensive monitoring, for both CEPH and XRoot
  XRoot monitoring is hard to tune, Shoveller potentially powerful but finicky.
    Steven has worked integrating this into our monitoring
  CEPH has a metric for everything, but needs correlation to identify issues
    Gerard’s working on this. It involves piping stuff into SQLite databases…

## Slide 10: Lancaster Storage Status (2)
A quick case study in CEPH “moodyness”, as touched on my Jyoti in his talk we had ~2 weeks of sub-optimal performance.
  Smoking gun was ridiculously long time taken for some CEPH ops during “bad” periods.
    The dreaded “slow ops”
  We thought one contributor was being overfull, but clearing space actually made things worse
    Was the stress from deletions pushing us over? Hard to identify these operations (which is it’s own problem) – ceph deletions are effectively “shreds” in posix terms
    Concurrent FTS connections were set high - lowering these to the defaults made things get “less bad”.
  Was it a bad mix of user jobs hitting us in just the wrong way? The job mix changed at about the time, but it doesn’t perfectly line up.
  Was there some bad disks/sectors? There was a bad disk at the time.
  Was it just that Gerard was trying to have a week off and the CEPH missed him?
The issue fixed itself over the weekend, without any direct intervention.
  Been running fine since, with occasionally blips but nothing that the users/xroot have noticed.

## Slide 11: Graph showing the bad time.
Note the log scale!