## Slide 1
NOVEL SINGLE-PHASE TPC CONCEPTS
Various multiplier configurations for S2 & combined S1&S2 detection
Amos Breskin
Weizmann Institute of Science
In cooperation with
Vitaly Chepel (Coimbra) & Gonzalo Martinez-Lema (WIS/BGU)
https://doi.org/10.1088/1748-0221/17/08/P08002
Breskin 2022
Martinez Lema 2023
https://arxiv.org/abs/2308.08314
Goal - combined high-sensitivity S1 & S2 detection
Aims - overcome physical/technical 2-phase issues; lowering detection thresholds.
Potential applications - large-volume DM experiments & more.

## Slide 2
Microstructure:
E.g. Micro Strip Plates
cathode
UV
MSP LXe: gain 10
Policarpo et al. NIMA 1995
UV transparent plate
Printed anode strips
S1
S2
EL+CM
e
hn
PMT, SiPM, SPAD etc.
or reflective cathode.
Robust
Modular
MSP formed on VUV-transparent substrate, with semi-transparent Ni or Cr electrodes.
Deposited charges drift in liquid; undergo EL & small charge multiplication (CM) near thin (mm) anode strips.
The EL photo-yield depends on MSP type.
EL+CM S2 Photons recorded above.
S1 scintillation photons: with top & bottom photo-sensors (or reflective cathode)
Charge & Light multiplication with microstructures
S2 detection
Photosensors: PMT, SiPM, SPAD etc.

## Slide 3: Setup
Photo-yield @ 2.0 kV ~ 33 photons/e-
(MSP discharge limit)
Microstrip Plate - Preliminary results in LXe
From: Bruno Guerard ILL
Mesh + α source
grid
Microstrips plate
Back plane
Va
Vgrid
Vback
Vanode
Vcathode
a
1mm
0.4mm
f8mm
Single event
PMT
LXe
.
.
.
.
.
.
8mm
2.6mm
1mm
Hh
e-
3.6 mm
8 mm
0.6 mm
hn
Ω
Edrift
Much higher Q-gains/photoyields expected with other multipliers @ higher Vanode
MSGC
Vsource = -2.0 kV
Vcathode = ground
Vback = -2.0 kV
Martinez Lema
MSGC; LXe
Electroluminescence vs strip voltage
https://arxiv.org/abs/2308.08314
S1
S2
Amos Breskin - Novel Single-phase TPC Concepts DRD2-CERN 5.2.2024

## Slide 4: Prospects: MSGC vs COCA-COLA vs VCC
Cathode strips
COCA-COLA
VCC
MSGC
Conductive surface/grid
Conductive surface/grid
a
a
a
a
a
c
a
Oed 1988
Capeans 1997
  Bouclier 1991
MSGC has the best field configuration
But operation (discharge limit) is limited to ~2kV a-to-c (~33photons/e)
COCA-COLA & VCC can operate at higher V without discharges
 higher e- multiplication and light yields
@ 5kV; 8μm strips:
COCA-COLA COated CAthode - COnductive LAyer  Model-predicted: > 200 photons /e
VCC Virtual Cathode Chamber  Model predicted: > 800 photons /e
c
c
Dr
anode strip
EL
EL+CM
hn
e-
e
hn

## Slide 5
Model Predictions
VCC:
>800 photons/e
COCA-COLA:
>200 photons/e
  @ 5kV; 8μm strips:
Range for:
CM & EL
> threshold fields
Aprile JINST 2014
EL, ~400KV/cm;
CM, ~700KV/cm
Martinez Lema
https://arxiv.org/abs/2308.08314

## Slide 6
2-stage TPC with CsI-coated perforated electrode (L-THGEM) followed by a L-MSP
S2 e- & S1 VUV-pe- collected into L-THGEM holes & efficiently* transferred to the L-MSP.
EL+CM VUV photons emitted at the microstructure - detected above, by top photo-sensors.
A fraction of S1 photons – detected by bottom photo-sensors or reflected by a reflective-cathode to the CsI.
Option: top L-THGEM surface can be reflective or WLS-coated ( visible-range photo-sensors, glass substrate).
Charge & Light multiplication with cascaded microstructures
S1 & S2 detection
QEeff of CsI in LXe @ E> 5kV/cm: 25%
https://jinst.sissa.it/jinst/theses/2021_JINST_TH_002.jsp
Erdal 2021
Experimental Transfer Efficiency of e- and pe- through THGEM holes in LXe.
https://doi.org/10.1088/1748-0221/19/01/P01030
Martinez-Lema

## Slide 7
MHSP/COBRA
CsI + STRIP Multiplier on top
photocathode
CsI + microstructure
photocathode
Charge & Light multiplication with single microstructures
S1 & S2 detection

## Slide 8
AIMS:
Light sensing from EL & CM from microstructured electrodes in NL – coupled to photosensor arrays.
- Single-element multiplier for S2 detection
- Cascaded- & single-element multipliers for combined S1 & S2
POTENTIAL ADVANTAGES:
Potentially Robust
Modular
Intense & fast S2 & S1 induced light flashes by single e & pe (100’s of photons/e)
 permits deploying “high dark-noise” photosensors (SiPM, SPAD, etc)
 Potentially reduces detection threshold
R&D:
Focus - combined high-sensitivity light & charge multipliers.
Currently: VCC light-emission studies in LXe (future: LAr).
Many open questions requiring simulations & exp. R&D (LAr, LXe):
maximizing photoyield, robustness, photocathode stability in NL, physical parameters in LAr, multiplier/sensor studies etc.
EQUIPMENT:
We possess 2 fully-equipped cryostat systems with LXe & LAr purification,
CsI evaporator, VUV monochromator etc.
Open to collaborations – seeking for students/postdocs!
Summary & Outlook
Example: cascaded S1/S2 sensor module
photosensor
ST substrate
MSP
CsI/THGEM
Thank you!