## Slide 1: LHC BWS CONS project team meeting #11
BI-ML: William Andreazza, Morad Hamani, Lucas Limonet, Chiara Pasquino, Harry Sullivan, Maria Teresa Ramos Garcia, Raymond Veness BI-SW: Ana Guerrero Ollacarizqueta, Stephen Jackson, Steen Jensen BI-PM: David Belohrad, Daniele Butti, Nabil El-Kassem, Aurelie Noelle Goldblatt, Jean Tassan-Viol, Federico Roncarolo, Vishnu Varadan

## Slide 2: 2024 Introduction
Today’s first meeting of the year and good time to look to 2023 work done. (But still a busy time with EYETS, some people could not make it today)
We had in 2023: - 5 regular meetings
- 1 kick-off Bellows & Hybrid+
- 1 kick-off new design
- Meeting with compagnies (UHVD, LINMOT, ETEL)
- lots of ad-hoc meetings
=> More follow-up & actions tracking this year

## Slide 3: 2024 Introduction
2023 achievements
- Hybrids validated with beam (dedicated MD) - Hybrids test with new laser calibration bench - MCA extensively tested - Many R&D investigations - 4 Hybrid+ installed with new bellows in LHC Plan for 2024 Push Hybrid+ for operation (LMC recommendation) Test MCA with extended range (133mm!) Test linear motor bench as candidate for actuator R&D for in-vacuum parts and actuator Prototype to test for run2025 ?
Priorities
Continuity of service to OP before/after LS3
Test a suitable prototype before LS3 to validate the consolidation candidate.
Deploy the new devices during LS3, probably in // to Hybrid+ (requires additional infrastructure)
Agree with stakeholders of switch strategy parallel operation with Hybrid+ post-LS3?
Hybrid+ is just an intermediate system to ensure operation post LS3 with a proven system tested with beam.

## Slide 4: Documentations and follow-up
Move doc to official BI CONS structure (from BI-PM and BI-ML sources)
Use JIRA to follow-up actions (if you like)