## Slide 1
ALICE
MCH humidifier installation ongoing
System status:
TPC | Run – norm mix. Problem on valve to understand
TRD | Run – norm mix
TOF | Run – norm mix – purifier with new logic
HMPID | Stop- flushing Ar
MCH | Stop - installation of humidifier
MID | Run – norm mix
CPV | Run – norm mix
LPh-MattiaV

## Slide 2
ATLAS
.
System status:
TRT | Run
TFC | Run – dry air
MDT | Run – norm mix
RPC | Run – norm mix
MMG | Run only Ar– high flow test on-going
TGC | Run- only CO2
ID flushing | Run – N2
ID CO2flushing | Run – dry air
Kacper, Gianluca

## Slide 3
CMS
CSC, RPC on standard maintenance and planned upgrades (RPC)
System status:
DT | Run – norm mix
GEM | Run – only CO2
ID flushing | Run – norm mix
RPC | Run - problem with IR: no iC4H10
CSC | Run – norm mix. – a lot of Air in system
CF4 recup | Stop. Next week in run
FGR – R134a recup | Stop
Andrea, MattiaB

## Slide 4
LHCb
No access to UX in some days, details in Patrick’s elog https://eloggas.web.cern.ch/GASSYSOperationMaintenance/5488
System status:
MWPC | Run – Ar, CO2 (no CF4)
RICH2 | Run – norm mix (to check for CO2 absorption)
RICH1 | Run – CO2 only – 12 February C4F10
SciFi | Run- norm dry air
UT | Off -
Patrick, Pieter

## Slide 5
Non-LHC
LINAC OFF
CLOUD
Run low flow air from mixer– chamber at 5 mbarg
Toxic & strange gases disconnected. Gas lines under N2 purge
Toxic gas detection is active
NA62
Elog #700: leak in back-up system
CEDAR Profibus task to do
Fabio, Roberto