Task List (May/03/2011)

Calibration implementation:

- Calibration console integration (Matthias)

[Request to Joern to release FE-I4 code: Done]

[FE-I4 code adaptability for RCE  ?]

- FE-I4 calibration implementation (Dmitri/David + ?)    [TDAC calib debug]

- Individual calibration loose ends – check relevance of the two incomplete calibrations or any problem to follow up (Dmitri)

- IBL stave-0 operation interface suite (?)

- bookkeeping infrastructure (especially if forced to use own GUI), instructions for config setup (?)

RCE performance:

- Resume profiling work to check major CPU costs (Matthias)

[good progress on tools – fully ready to use ? ]

- Fitting code performance on current RCE (Matthias)

[Stony Brook to combine the profiling tools to test on TDAC calib ?]

- FE-I4 vs FE-I3 in performance given the different mask stage loop  (Martin)

[still worth doing soon to verify the performance dominating factors]

- Formatter going to firmware ?

[wait for profiling results to see when this may be needed]

- Multiple channel calibration with multiple RCEs check performance linearity, resources usage (Martin)   [Multi-channel calib code up and running. Scaling tests next.]

DAQ

- Online monitoring code for cosmic telescope, test beam, stave-0  (Kurt Barry)

[Kurt started on the project, next report ?]

- Scan timing to see when FE-I3 gets into trouble and whether FE-I4 has any trouble (Martin)

- Test beam rate capability, including logging

- Formal DAQ rate tests vs number of channels

Infrastructure / Hardware / Firmware:

- Upgrade crates with IPMI compatible (1 SLAC, 1 bldg-32). (Mike will purchase)

- IBL stave-0 hardware inventory (Martin)

  - Design of interface board  (Martin)

Include DORIC/VDC ? Support to cosmic telescope elements – FEI3 or FEI4 ? power ? scintillator trigger input ? An input clock input ?

- Build cosmic telescope (CERN ?)

- Two-slot crate with 1 RCE + 1 CIM (Mike to find a CIM ?)

- Firmware (Martin)

  - What kind of raw data readout support needed ?

- Upgrade plan to COB operation (Martin/Su Dong)  - later in the year

  - A minimal PGP RTM to be defined

  - Electrical scheme, in particular clocks via TTC

- CERN test stand computer (Rainer/Matthias)

[Rainer got the Ethernet card. Matthias setup switch and network, installed software and they run mechanically, although data not yet make sense.]

- Reestablish CERN test stand calibration

[check serf board and module OK ?]

- Establish separate Twiki page for CERN pixel RCE teststand (Matthias)

Software infrastructure:

- Code into TDAQ release   (Rainer/Matthias)

[Matthias can now create RTMs for RTEMS with TDAQ 03-00-01. Rcecalib code compilation and validation next. Rainer talked to Sergui and Reiner start on policy packages first. CMT from Matthias looks good. Still a few patches from Matthias needed to go in SVN. Rainer will then talk to Reiner/Sergui to get packages in one by one.]

- Remote installation capability (Matthias)     [Good progress reported]

Pixel RTM

- Define interface and design components (Su Dong/Mike)

[Investigate TX/RX alternatives]

- Documentation  (Su Dong/Mike)

Task list into Savannah ?