NDGF Site Report
Mattias Wadenstein
Hepix 2011 Fall Meeting
2011-10-24, Vancouver

---
NDGF Overview
- NDGF is a distributed site
- Most of the big HPC centers in Norway, Sweden, Finland and Denmark
- Tier1 storage at 7
  - Plus IJS in Slovenia
- 2010 Numbers
    - CPU is total cpu, not WLCG allocated

---
NDGF Organisation
- NDGF interim organisation, same as previous years
  - Project hosted by NorduNet A/S
- Should become hosted by Nordforsk
  - Funding agencies changed their mind about NDGF A/S as own legal entity
  - Director of NeIC to be appointed Dec 1st
- Much smaller than previously
  - Expect to hire as soon as director is appointed

---
NDGF Computing

---
CVMFS setup
- No site squids
  - Using two apache reverse proxies instead
  - Also running on Ubuntu as well as RHEL-derivatives
CVMFS_REPOSITORIES=atlas.cern.ch,atlas-condb.cern.ch
CVMFS_HTTP_PROXY=DIRECT
CVMFS_SERVER_URL="http://cvmfs-1.ndgf.org/opt/@org@;http://cvmfs-2.ndgf.org/opt/@org@"

---
Local site reports
HPC2N machine room update

---
HPC2N new machine room
- “As seen on HEPiX”
- Expansion last HEPiX
  - Transformer upgrade: 450kVA → 800kVA
  - Cabling, etc
  - From one to two 32A 400V plugs per rack
  - ~40kW/rack available
  - Up to total of ~700kW power, cooling at ~550kW
  - Tuning of cooling

---
HPC2N room upgrade

---
HPC2N new HPC cluster
- Abisko
- 318 nodes
  - 4 x 12 Interlagos cores
  - 128G memory
  - Fat nodes at 512G
  - Infiniband
- Interim system →
  - 2 racks of magny cours
- Ubuntu 10.04 + slurm

---
Questions
Questions?