## Slide 1
Basic Detection Processes
Energy Loss: Coulomb Interactions
Drift and Diffusion of Charges
Collisional Excitation and Ionization
Avalanche Charge Multiplication
Gas Detectors Physics 1

## Slide 2
Coulomb Interactions: Excitations and Ionizations
Excitations
Primary ionizations
d Rays: Secondary ionizations
Excitations due to distant collisions
Ionizations due to distant collisions
Ionizations due to close collisions
ENERGY TRANSFER (keV)
PROBABILITY
H2O
Charged Particles
Clusters

## Slide 3
Charged Particles
H. Fischle et al, Nucl. Instr. and Meth. A301 (1991) 202
2 keV
180 µm
Cluster Size and d Electrons Range
GASES AT NTP
200C 1 Atm
Cluster size n
Probability P(n)
AVERAGE CLUSTER SIZE ~3.5

## Slide 4
L. Scharenberg, MPGD 2022
Energy Loss Asymmetry:
Core Gaussian + Tails
Perpendicular Tracks
Charged Particles
d Electrons

## Slide 5
G. Charpak et al, NIM 167 (1979) 455
Energy loss asymmetry:
large incidence angles
Charged Particles
d Electrons
Position Accuracy
vs
Incidence Angle:

## Slide 6
Energy Loss Statistics: Gauss vs Landau
Charged Particles
Gaussian
Landau
Experimental
Differential Energy Loss in thin Gas Samples:

## Slide 7
Energy Loss Statistics: Gauss vs Landau
I. Lehraus et al, Phys. Scripta 23(1981)727
Charged Particles
Particle Identification:
Most Probable Energy Loss
0
500
1000
6000
4000
2000
N (i.p)
Counts
0
protons
electrons
15 GeV/c
SINGLE SAMPLE
Energy Loss:
Enery Loss resolution:
Statistical Multisample Analysis

## Slide 8
Particle Identification
Charged Particles
Alice GEM-TPC
Differential Energy Loss (Truncated mean)
Ph. Hauer, Nucl. Instr. Meth. 1039 (2022)167023

## Slide 9
Photons
E
E- EK,L,M..
E
EC
Ee
C
e
E
e+
e-
Photoelectric:
Compton:
Pair Production:
A. Thompson et al, X-RAY DATA BOOKLET (2001)
Photoelectric, Compton, Pair Production

## Slide 10
Soft X-Rays
Absorption Length
in Gases at NTP
55Fe 5.9 keV
3 mm
2 cm
20 cm
100 m

## Slide 11
Soft X-Rays
ESCAPE PEAK
2 cm
4 cm
55Fe 5.9 keV
5.9 keV
~ 2.7 keV
Escape
Main Peak
Argon NTP
EK 3.2 keV
Gaussian
N=220 e-
FULL
ESCAPE
s=15 e-

## Slide 12
Soft X-Rays Absorption Radiography
2001:
GEM with Electronic Readout
2018:
GEM with Optical Readout
F. Sauli
Nucl. Instr. Meth. A461(2001)47
F. Brunbauer et al,
JINST13 (2018)T02006
The GDD Bat

## Slide 13
Detection of Neutrons
n + M -->
protons
tritons
a particles
fission fragments
6Li
10B
3He
Energy (eV)
Cross Section (barn)

## Slide 14
Detection of Neutrons
F.A.F. Fraga et al,
Nucl. Instr. and Meth. A478 (2002) 357
Ionization Chamber with
Otical GEM Readout
M. Klein and Ch. Schmidt
Nucl. Instr. and Meth. A628 (2011) 9
Thermal Neutrons Radiography
10B Coated GEM

## Slide 15
Drift and Diffusion of Ions
m =
W
E
__
Drift Velocity:
Mobility:
µ+ ≈ µ-
Diffusion:
Independent from Ion Type
E (V/cm)
@ 1 kV/cm sx = 70 µm/√cm
W=
s
t
__

## Slide 16
Drift and Diffusion of Ions
CO2+ Ions Mobility Ar-CO2 Mixtures:
GAS | ION | µ (cm2 V-1 s-1)
He | He+ | 13.0
Ar | Ar+ | 1.7
CH4 | CH4+ | 2.22
Ar | CH4+ | 1.87
Ar | CO2+ | 1.72
% CO2
Ar-CO2
Ar-CO2 80-20. µ = 0.64 cm2 V-1 s-1
@ E=200 V cm-1 W ~ 130 cm s-1
Collisional Charge Transfer:
A+ + B --> A + B+
If Ei(B) < Ei(A) :
Blanc’s Law:

## Slide 17
Drift and Diffusion of Electrons
Drift Velocity w- = s/t
Diffusion
ek: Characteristic Energy
ek = kT : Thermal Limit
Piet Verwilligen and Djunes Janssens: MODELLING AND SIMULATIONS

## Slide 18
Drift and Diffusion of Electrons
Longitudinal and Transverse Diffusion
F. Sauli, Gaseous Detectors Handbook (CERN 2022)
http://fabio.home.cern.ch/fabio/
Low Electric Field
High Electric Field
sT
sL
s
Better Longitudinal
(Drif) Accuracy

## Slide 19
Drift of Electrons in Magnetic Field
Lorentz Force:
Changes Drift Velocity, Direction and Diffusion
^
Larmor frequency
t : Average time between electron-molecule collisions
//
r
B
s
L
T
s
w
B
Time Projection Chambers:
Better Transverse (X-Y)
Position Resolution
Particular Cases:

## Slide 20
Drift of Electrons in Magnetic Field: E // B
Time Projection Chambers:
Longitudinal Position Accuracy vs Drift Length
B=0
B=2.3 kG
B=8.5 kG
E
B
e-
Depends from Gas and Fields
C. Hargrove et al, Nucl. Instr. Meth. 219(1984)481
Magnetic Field Dependence:
Ar-CH4 (80-20)
ED 250 V/cm
x, y
z
Drift Distance z (cm)
FWHM2 (cm2)

## Slide 21
Electron-Molecule Collisions
Eletron-Molecule Cross Section at Increasing Electric Fields:
https://nl.lxcat.net/home/
Thermal
0.025 eV @ 20 0C

## Slide 22
Electrons Energy Distribution
Ei=15.7 eV
Ex=10.6 eV
Room Temperature E=0
Electrons in Any Gas:
High Electric Fields: Pure Argon
Ar NTP
 | EX (eV) | EI (eV)
ARGON | 11.6 | 15.8
CO2 | 5.2 | 13.7

## Slide 23
Electrons Energy Distribution
“Cooling” Effect of Molecular Gas Additions
Argon-CO2 (70-30)
Ar and Ar-CO2
100 V/cm

## Slide 24
Inelastic Electron-Molecule Collisions
Major Outcomes of the Electron-Molecule Colllisions
e +A e+A* Excitation
e +A e+e+A+. Ionization
A* A+ g Radiative Deexcitation
e +A+ A+ g Radiative recombination
A++B AB+ g. Radiative recombination
e +M M- + g Radiative capture
A*+A A*2 A+A+g Dimers formation
e +AB AB- A + B- Dissociative capture
e + A+B A-+B Three body collision
A*+B A+B*+e Penning effect (if Ei(B) < Ex(A))
………..
………..
➙
➙
➙
➙
➙
➙
➙
➙
➙
➙
➙
➙
Charge Multiplication
Fluorescence
Improved Energy Loss Resolution

## Slide 25
Fluorescence ad Scintillation
Noble Gases and Low Ionization Potential Vapors:
Vacuum UV Near UV Visible

## Slide 26
Fluorescence ad Scintillation
F. Brunbauer, CERN GDD (2020)
CF4 Scintillation:
Decay of Excited
Molecular States:
(CF3+)*
and
(CF4+)*
Davide Pinci: OPTICAL AND HYBRID READOUT TECHNIQUES

## Slide 27
High Fields : Charge Multiplication
l
E
x
Ions
Electrons
H. Raether
Electron Avalanches and Breakdown in Gases (Butterworth 1964)
a = a(E): Townsend coefficient
Charge Gain
Cloud chamber Images of Avalanches:

## Slide 28
Charge Multiplication
in Argon
A. Sharma and F. Sauli, Nucl. Instr. and Meth. A334(1993)420
Townsend Coefficient a in Ar-Methane Mixtures
Ar-CH4

## Slide 29
Charge Multiplication
Parallel Plate Counter
Induced Charge on Anode:
Induced Current on Anode:
s0
-V0
0
On Cathode:
QC(t)= - QA(t)
IC(t)= - IA(t)

## Slide 30
PROPORTIONAL COUNTER
Single Wire Counter
Rutherford and Geiger (1908)
Radial Electric Field
Drift
Multiplication
Critical Field

## Slide 31
Charge Multiplication
Avalanche Size Probablility
for 1 Primary Electron
(Furry Law):
Avalanche Size Probablility
for n Primary Electrons:

## Slide 32
Charge Multiplication
Avalanche Size Probability at
High Fields (High Gains)
Polya function:
H. Sclumbohm, Zeit. Physik 151(1958)563
Single Electron Avalanche Size
at Increasing Gains (Experimental):

## Slide 33
GASEOUS COUNTERS: MWPCs TO MPGDs
MWPC
MICROMEGAS
GEM
MiroGroove, MicroGap,MicroPixel
Resistive Plate Well ………..
+
Esther Ferrer Ribas: MPGD TECHNOLOGIES

## Slide 34
Very High Fields:
Transition Avalanche ➞ Streamer ➞ Discharge
The field is Increased in Front and Behind the Avalanche
Photons are Emitted and Reconverted in the High Field:
Secondary Avalanches Formation:
Tansition to Forward-Backward
Streamer:
DISCHARGE !
Raether Limit: ~ 107 electrons-ions

## Slide 35
Discharge
Destructive Effects of Discharges:
Drift Chamber (1974)
MSGC (1994)
Piotr Gasik: GAS DETECTORS PHYSICS 2
Discharge Prevention and Mitigation in MPGDs:

## Slide 36
To Know More on Gaseous Detectors:
…. and the other lectures at this School!
F. Sauli and E. Oliveri: Gas Detectors Handbook
http://fabio.home.cern.ch/fabio/handbook.html