## Slide 1: SRF activities at CERN
Eurisol-NET (ENSAR/NA03) WG
CERN June 27-28 2011
M. Pasini, CERN BE/RF and K.U.L.

## Slide 2: Contents
SRF CERN infrastructures
Nb/Cu experience
Bulk Nb cavities
HIE-ISOLDE QW Resonators
Status and summary

## Slide 3: SRF infrastructures
HPWR, LPWR, EP, CP available on site with particle counting meter
15 m long clean room class 100 are available, there is a plan to go to class 10 (sLHC-Project-Note-0026)
5 vertical cryostat are available (4 bath cryostat and 1 vacuum cryostat) and 2 horizontal bunkers
RF infrastructure available for tests from 100 MHz up to 1.3 GHz
Cryogenics at 1.9K and 4.5K (new optimized cryo distribution line will be available next year)

## Slide 4: On going activites
SPL study
  Cavity development
  Cavity diagnostics: OSD, Thermometry
Basic SRF research
  Quadrupolar resonators
Cavity production and testing
  LHC spare cavities
  HIE-ISOLDE QWRs
New projects
  Crab cavities?

## Slide 5: HIE-ISOLDE project
3 stages installation
1.2 MeV/u
3
MeV/u
5.5 MeV/u
10 MeV/u
8
MeV/u

## Slide 6: QWR cavities

## Slide 7: New mechanical design
Cavity prototype
Pre-series

## Slide 8: Nb Sputtering

## Slide 9: Bias and Magnetron sputtering
Bias Diode Sputtering
Magnetron Sputtering

## Slide 10: Prototype cavity

## Slide 11: Test Cryostat

## Slide 12: Test results
Chart: Eacc (MV/m)
| 0.0365841355197175 | 1.056313419512148 | 1.118903924573003 | 1.256877052484507 | 1.320665391485222 | 1.446414600854506 | 1.575044386307338 | 1.693529620956887 | 0.857615846688909 | 0.724924532480365 | 0.620572886897706 | 0.508502154262973 | 0.362904870746693 | 0.21076223587485 | 0.0264419084445414 | 1.717088964770511 | 1.744989415990728 | 0.906343442959936 | 0.602965962900709 | 0.732474984331329 | 0.135610337602405 | 0.724924532480365 | 0.916838405401449 | 1.458118422783434
 | 28454.2545 | 19490041.9495 | 17437315.4371 | 12737991.6469 | 10870290.1963 | 7863916.2989 | 4527594.0396 | 3941663.6378 | 25085572.9788 | 28817622.5282 | 50481127.8822 | 57827214.8045 | 67716951.3827 | 81018557.2728 | 97143333.2939 | 3721683.8988 | 3174658.1289 | 24443112.3493 | 36888822.6534 | 29759246.5326 | 88324165.9238 | 46674596.99 | 34142976.8852 | 8028814.4484
calibration point | 81018557.2728
new point | 73337016.0793
December data | 259591604.885 | 205252658.2563 | 139490117.1649 | 80155137.1266 | 46485242.4651 | 31768541.5676 | 19545545.1097 | 13569979.4732 | 391076036.6479 | 345754835.1637 | 502304398.1943 | 566253655.071 | 738583479.2099 | 724899097.2865 | 2626373262.6222 | 31817875.7603

## Slide 13: Summary
2 prototypes cavities are ready to be measured (Bias and Magnetron)
All the infrastructure is in place to continue the development on the sputtering technique
Unfortunately we had a problem (cold leak) with the test cryostat which cost us nearly 4 months of time. We have made a repair and we are getting ready to eventually replace it with a second one.