## Slide 1: HL-LHC-BGI: Assessing Potential Magnets
HL-LHC BGI Meeting – 4th March 2024
Clara Fleisig (SY-BI-XEI)

## Slide 2: Introduction to BGI Electric and Magnetic Fields
Clara Fleisig, 04 Mar 2024

## Slide 3: Ideal Electric and Magnetic Fields
Clara Fleisig, 04 Mar 2024

## Slide 4: BGI Requirements
Clara Fleisig, 04 Mar 2024

## Slide 5: Requirements
Clara Fleisig, 04 Mar 2024
Beam size uncertainty comes from:
Beam size systematic uncertainties are dependent on:
      Space charge
      Electric field uniformity and strength
      Magnetic field uniformity and strength

## Slide 6: Beam Type Used
Clara Fleisig, 04 Mar 2024
protons
ions
***Tables from BGV/BGI Review on 19th October 2022
2.2e11 protons/bunch
Simulated 60,000 ionization electrons
  ~ 15 ms integration time
  ~ 0.29 % statistical uncertainty

## Slide 7: Complications from Non-Uniform Fields (neglecting space charge)
Clara Fleisig, 04 Mar 2024
Solution to Lorentz equation for non-uniform electric field in “prime” frame of reference, where , from Bittencourt et al.
’
Rotate to BGI’s frame of reference to consider non-uniform magnetic field
ExB Drift

## Slide 8: Understanding Profile Shift (neglecting space charge, omitting cyclotron motion)
Clara Fleisig, 04 Mar 2024
ExB Drift
Accelerating drift

## Slide 9: Magnetic Fields
Clara Fleisig, 04 Mar 2024

## Slide 10: MDXL Magnet
Clara Fleisig, 04 Mar 2024
150 mm space in y
Modification of original MDX magnet to enlarge space for instrument
“Affordable option”

## Slide 11: Rolls Royce Magnet
Clara Fleisig, 04 Mar 2024
Expensive low distortion option

## Slide 12: Electric Fields
Clara Fleisig, 04 Mar 2024

## Slide 13: CF250 Design Electric Field
Clara Fleisig, 04 Mar 2024

## Slide 14: SPS Design’s Electric Field
Clara Fleisig, 04 Mar 2024

## Slide 15: Results
Clara Fleisig, 04 Mar 2024

## Slide 16: Uniform Electric Field (Centered)
Clara Fleisig, 04 Mar 2024

## Slide 17: Uniform Electric Field (Worst Case)
Clara Fleisig, 04 Mar 2024

## Slide 18: CF250 Design Electric Field (Centered)
Clara Fleisig, 04 Mar 2024

## Slide 19: CF250 Design Electric Field (Worst Cases)
Clara Fleisig, 04 Mar 2024

## Slide 20: SPS Design Electric Field (Centered)
Clara Fleisig, 04 Mar 2024

## Slide 21: SPS Design Electric Field (Worst Case)
Clara Fleisig, 04 Mar 2024

## Slide 22: Appendix
Clara Fleisig, 04 Mar 2024

## Slide 23
Clara Fleisig, 04 Mar 2024

## Slide 24: Uniform Electric Field
Clara Fleisig, 04 Mar 2024

## Slide 25: CF250 Design Electric Field
Clara Fleisig, 04 Mar 2024