## Slide 1
ALICE
System status:
TPC | Run – norm mix
TRD | Run – norm mix. Regulation valve of pump oscillating with Patm
TOF | Run – norm mix
HMPID | Stop- flushing Ar
MCH | Run – norm mix – (humidifier MFC PID? + difference mixer flow vs distribution flow, flowcells problem?)
MID | Run – norm mix
CPV | Run – norm. mix
LPh-MattiaV

## Slide 2
ATLAS
.
System status:
TRT | Run – norm mix
TFC | Run – CO2
MDT | Run – norm mix
RPC | Run – norm mix
MMG | Run - norm mix
TGC | Run- norm mix
ID flushing | Run – N2
ID CO2flushing | Run – CO2
Kacper, Gianluca

## Slide 3
CMS
System status:
DT | Run – norm mix – open loop + humidifier
GEM | Run – norm. mix
ID flushing | Run – norm mix
RPC | Run – norm. mix. Purifier 3 commissioning on-going. Purifier 1 not working well
CSC | Run – norm mix.
CF4 recup | Run
FGR – R134a recup | Run
Andrea, MattiaB

## Slide 4
LHCb
System status:
MWPC | Run – norm mix – O2 almost ok
RICH2 | Run – norm mix
RICH1 | Run – 2500 ppm O2
SciFi | Run – norm dry air
UT | Run – norm N2
Patrick, Pieter

## Slide 5
Non-LHC
LINAC ON
CLOUD
Run low flow air from mixer– chamber at 5 mbarg
Toxic & strange gases disconnected. Purge N2 done
NA62 (on UPS)
CEDAR OFF – 10th April H2
RICH OFF – MFCs in error
STRAW ON – interlock ok
Fabio, Roberto

## Slide 6: Gas bottle rental
Please be aware that you have to follow this procedure to return gas bottles:
https://edms.cern.ch/document/2278255/6
Otherwise we risk to keep paying the rental. Return has to be done through EAMlight: https://eamlight.cern.ch
Rental cost: 7.83 chf/month for bottle, 77 chf/month for battery.