## Slide 1: Status of RF components - clarification on our contribution.
24.05.2011
M. Filippova

## Slide 2: Summary table
Component | Suppliers | Status | TBTS | TBL | SATS | KEK | SLAC | PSI-XFEL | ST- XFEL | To be supplied | Stock
High-power load [40] | CINEL (IT) Heeze (NL) VDL (NL) Cobham (UK) | supplied | 4 | 12 | 2 | 2 | 2 | 3 | 4 | 11 | 14
 |  | to be supplied | 3 | 6 | 0 | 2 | 0 | 0 | 0 |  | 
Directional coupler [34] | Gycom (RU) Nihon Koshuha (JP) IHEP (CN) Cobham (UK) | supplied | 5 | 5 | 4 |  | 1 | 2 | 0 | 17 | 3
 |  | to be supplied | 0 | 9 | 0 |  | 0 | 3 | 5 |  | 
Splitter [10] | Gycom (RU) | supplied | 2 |  | 1 |  | 1 | 2 | 2 | 2 | 12
 |  | to be supplied | 2 |  | 0 |  | 0 | 0 | 0 |  | 
Hybrid [2] | CINEL(IT) IHEP(CN) | to be supplied | 2 |  |  |  |  |  |  | 2 | 11
VPA [2] | Gycom (RU) | supplied | 2 |  |  |  |  |  |  |  | 1 body
12 GHz Pulse Compressor [1] | Gycom (RU) | to be supplied |  |  | 1 |  |  |  |  | 1 | 1
Phase shifter [1] | Gycom (RU) | supplied | 1 |  |  |  |  |  |  |  | 

## Slide 3: High power loads
Quantity | TBTS | TBL | SATS | KEK | SLAC | PSI | Trieste
total [40] | 7 | 18 | 2 | 4 | 2 | 3 | 4
supplied [29] | 4 VDL*:N5 CINEL: N6,7,8 | 12 VDL*: N1, 3, 4 CINEL:N22,23, 24,26,27,28,29 VDL**: N6,9 | 2 CINEL:N14,15 (VDL*:N2, CINEL N13 – returned) | 2 Heeze: H-03, CINEL: N11 | 2 Heeze: H-02,04 | 3 VDL**: N30,31, 32 | 4 CINEL: 12,16,19,21
to be supplied [11] | 3 | 6 | 0 | 2 CINEL:N17,18 | 0 | 0 | 0
Stock: 14
•VDL*: N2[NC]
•VDL**: N25[NC], 33, 34, 35, 36, 37, 38, 39, 40
•CINEL: N13[to be repaired], 17, 18, 20
Drawing numbers:
VDL short*: CLIALOAD0013
VDL long**: CLIALOAD0041
Heeze: CLIALOAD0027
CINEL: CLIALOAD0033
VDL long**: CLIALOAD0041

## Slide 4: Directional couplers
Quantity | TBTS | TBL | SATS | KEK | SLAC | PSI | Trieste
total [34] | 5 | 14 | 4 |  | 1 | 5 | 5
supplied [17] | 5 Gycom: N1,3,5,7,8 | 5 Gycom: N2,6 Nihon: N3,4,5 | 4 Gycom: N4 (N10-returned) Nihon: N6,7,8 |  | 1 Gycom: N9 | 2 Nihon: N1,2 | 0
to be supplied [17] | 0 | 9 | 0 |  | 0 | 3 | 5
Stock: 3
• Gycom (RU): N10
• IHEP (CN): proto
• Nihon: proto
We expect to received by the mid of Jun’11:
• Nihon: N9, 10, 11, 12, 13
Drawing numbers:
Gycom: CLIACDIR0027
Nihon: CLIACDIR0028
Cobham: CLIACDIR0029
IHEP: CLIACDIR0030
Cancelled the contact with Cobham (UK)
to be ordered 15 units to Nihon Koshuha (JP)

## Slide 5: Waveguide components
Item - length flange to flange (mm) | Flanges | Qty | Drawing Number | Delivery time at CERN
WR90 S3000 FxM | F- M | 1 | WR90_S3000_FxM | 31/05/11
WR90 S1573 FxM | F-M | 1 | WR90_S1573_FxM | 31/05/11
WR90 S L727.6 FxF | F-F | 1 | WR90_S_L727.6FxF | 31/05/11
WR90 S704.0 FxM | F-M | 1 | WR90_S704.0_FxM | 31/05/11
WR90 S200 FxM | F-M | 2 | 2-50022.23.379A | 31/05/11
WR90 S610 FxM | F-M | 1 | 2-50022.23.378A | 31/05/11
WR90 S640 FxM | F-M | 1 | 2-50022.23.375B | 31/05/11
WR90 S825 FxM | F-M | 2 | 2-50022.23.376A | 31/05/11
WR90 S1300 FxM | F-M | 2 | 2-50022.23.377A | 31/05/11
Table 1: Drawings for WR90 straight
Table 2: Drawings for WR90 E-type bends
Item - length flange to flange (mm) | Flanges | Qty | Drawing Number | Status
WR90 HB_U – 117.0 F x 230 x 202.5 F | F- F | 2 | X-BAND_HB_U_117Fx230x202.5F | 10/06/11
WR90 HB – 117.0 F x 113.0 M | F-M | 8 | X-BAND HB 113Mx117F | Delivered on 16.05.2011
Asymmetric 202.54 F x 117.04 F | F-F | 3 | 1-50022.23.361 | 10/06/11
Symmetric 112.88 M x 117.04 F | F-M | 6 | 2-50022.23.359 | Delivered on 16.05.2011
Symmetric 117.04 F x 117.04 F | F-F | 2 | 2-50022.23.369 | 10/06/11
Table 3: Drawings for WR90 H-type bends
Item - length flange to flange (mm) | Flanges | Qty | Drawing Number | Status
WR90 EB – 82.8 F x 444.5 M | F- M | 1 | WR90_EB_82.8Fx444.5M | 10/06/11
WR90 EB 78.5 F x 630 M | F-M | 1 | WR90_EB_78.5Fx630M | 10/06/11
WR90 EB 82.8 Fx78.5 M | F-M | 3 | WR90_EB_82.8Fx78.5M | Delivered on 07.12.2010
WR90 EB 82.8 Fx78.5 F | F-F | 2 | WR90_EB_78.5Fx82.8F | Delivered on 07.12.2010
Symmetric 82.78 F x 82.65 F | F-F | 3 | 2-50022.23.390 | Delivered on 07.12.2010

## Slide 6: Conclusions
Cancelled the contact with Cobham
Nihon 5 pieces: to define priority!
the contract with Nihon for 15 bi-directional couplers
Mecachrome flanges are passed for Copper/Nickel plating:
- 2 SLAC female flanges
- 8 CN circular DN63
- 2 CN circular DN100