## Slide 1: Status Report on the MDI Alignment Monitoring Study
Léonard WATRELOT
CERN BE-GM-FP
Many thanks to :
Manuela Boscolo, Francesco Fransesini, Hélène Mainaud Durand, Mateusz Sosin, Michel Noir, Leo Sjoberg, Bartlomiej Pudlo, Jürgen Gutekunst, Okan Dag
22/05/2025, FCC week 2025, Vienna
1
Notes: Sources :

## Slide 2
2
Léonard WATRELOT, BE-GM-FP
Quick reminder
External monitoring system
Deformation monitoring system
MDI alignment Mock up
Detector geometry monitoring
22/05/2025, FCC week 2025, Vienna
Overview

## Slide 3
3
10 m
Reminder of the FCC-ee MDI region
22/05/2025, FCC week 2025, Vienna
Léonard WATRELOT, BE-GM-FP

## Slide 4
4
Alignment goal in the FCC-ee MDI: monitor the alignment of final focusing quadrupoles across the MDI
22/05/2025, FCC week 2025, Vienna
Léonard WATRELOT, BE-GM-FP

## Slide 5
5
Sub-goal: first monitor the alignment of each side independently
22/05/2025, FCC week 2025, Vienna
Léonard WATRELOT, BE-GM-FP

## Slide 6
6
Sub-goal: recover the data out of the interface at the end of the assembly
22/05/2025, FCC week 2025, Vienna
Léonard WATRELOT, BE-GM-FP

## Slide 7
7
Sub-goal: monitor the alignment between the assembly and the detector (especially the detector solenoid)
22/05/2025, FCC week 2025, Vienna
Léonard WATRELOT, BE-GM-FP

## Slide 8
8
Sub-goal: link the alignment between the assemblies on both sides of the detector
22/05/2025, FCC week 2025, Vienna
Léonard WATRELOT, BE-GM-FP

## Slide 9
9
First: the external alignment system
22/05/2025, FCC week 2025, Vienna
Léonard WATRELOT, BE-GM-FP

## Slide 10
10
Interferometric distance measurement network
First: the external alignment system
22/05/2025, FCC week 2025, Vienna
Léonard WATRELOT, BE-GM-FP
Notes: Difficult conditions
Radiations, magnetic fields, cryogenic temperature …
Need for an alignment system
A robust and redundant one as conditions will be very difficults and the access impossible

## Slide 11
11
Glass beads
Glass bead supports
Collimator and Corner Cube retroreflector
External alignment system
FSI long range validation campaign
Hardware R&D
Simulations
Permanent network of interferometric distance measurements based on Frequency Scanning Interferometry (FSI).
Multilateration over the network.
Optimal network : too much measurements, some (plenty) wont be possible.
Updates on the design are followed carefully.
Thesis link
22/05/2025, FCC week 2025, Vienna
Léonard WATRELOT, BE-GM-FP
Notes: Difficult conditions
Radiations, magnetic fields, cryogenic temperature …
Need for an alignment system
A robust and redundant one as conditions will be very difficults and the access impossible

## Slide 12
12
Second: internal alignment system
22/05/2025, FCC week 2025, Vienna
Léonard WATRELOT, BE-GM-FP

## Slide 13
13
Design by M. Koratzinos
Goal : monitor the deformation extremely precisely over the length of the assembly
Create a network of points accurate enough so another system can measure from it onto the inner components
Thesis link
Final focusing quadrupoles to be monitored
Second: internal alignment system
22/05/2025, FCC week 2025, Vienna
Léonard WATRELOT, BE-GM-FP

## Slide 14
14
Design by M. Koratzinos
  Deformation models
Cylinder of which the deformation is well known and from which we will measure the inner components
Goal : monitor the deformation extremely precisely over the length of the assembly
Create a network of points accurate enough so another system can measure from it onto the inner components
Deformation monitoring system
Thesis link
Final focusing quadrupoles to be monitored
Second: internal alignment system
22/05/2025, FCC week 2025, Vienna
Léonard WATRELOT, BE-GM-FP

## Slide 15
15
Design by M. Koratzinos
  Deformation models
Cylinder of which the deformation is well known and from which we will measure the inner components
Measurement on the inner components
Goal : monitor the deformation extremely precisely over the length of the assembly
Create a network of points accurate enough so another system can measure from it onto the inner components
Deformation monitoring system + distance measurement system
Thesis link
Final focusing quadrupoles to be monitored
Second: internal alignment system
22/05/2025, FCC week 2025, Vienna
Léonard WATRELOT, BE-GM-FP

## Slide 16
16
In-fiber measurements can be used to monitor deformations when placed in helix on the studied cylinder, portions measuring the local change of length.
Current use of the FSI
Multiplexed measurements performed for the FCC
Sosin, M., et al. "Frequency sweeping interferometry for robust and reliable distance measurements in harsh accelerator environment." Applied Optical Metrology III. Vol. 11102. SPIE, 2019.
Example of a FSI head prototype measuring on the cold mass from the cryostat
https://iopscience.iop.org/article/10.1088/1361-6501/acc6e3
First prototype for the In-lined Multiplexed and Distributed FSI (cf. article)
Deformation monitoring
22/05/2025, FCC week 2025, Vienna
Léonard WATRELOT, BE-GM-FP

## Slide 17
17
https://iopscience.iop.org/article/10.1088/1361-6501/acc6e3
Deformation monitoring
22/05/2025, FCC week 2025, Vienna
Léonard WATRELOT, BE-GM-FP

## Slide 18
18
+ equation of portion length as function of the deformation polynomials
Least square adjustment
Helixes observations
(= 3D lengths of portions)
Cylinder deformations
https://iopscience.iop.org/article/10.1088/1361-6501/acc6e3
Simulations shown micrometric accuracy
To be confirmed by a prototype
Total : 3600 measurements and ≈ 3 cm space taken by the sensing system in the assembly.
3
Deformation monitoring
22/05/2025, FCC week 2025, Vienna
Léonard WATRELOT, BE-GM-FP

## Slide 19
19
First prototype with helix fibers
Prototype implementing the fiber measurement and the FSI measurement on reflector
Measurements performed by a single fiber fiber
Monitoring of the glue curing
Stabilization stage
Deformation testing
Sensor glued on an aluminum plate
Latest and ongoing prototypes
22/05/2025, FCC week 2025, Vienna
Léonard WATRELOT, BE-GM-FP

## Slide 20
20
Stable support, simulating the support outside the detector
2m long plastic tube, simulating the support of the screening solenoid on which the fibers will be installed
Very precise movable plate (Universal Adjustement Platform) to induce deformations
6x Smaller plastic tubes simulating the final focusing quadrupoles
3D printed supports and motorised kinematic mounts for the simulated final focusing quadrupoles
MDI alignment monitoring mock-up: design and goal
22/05/2025, FCC week 2025, Vienna
Léonard WATRELOT, BE-GM-FP

## Slide 21
21
First assembly of the alignment monitoring mock-up.
UAP is being updated.
Initial deformation tests to be done using a dummy cylinder.
3D printed supports for the smaller cylinders
New controls and gears for the UAP
MDI alignment monitoring mock-up: first assembly
22/05/2025, FCC week 2025, Vienna
Léonard WATRELOT, BE-GM-FP

## Slide 22
Gluing of the magnets
Installation of the prisms and checking the measuring cone
Gluing of the prisms, ready for the calibration
Calibration of all measuring heads thanks to a calibration bench
Preparation of FSI heads that will perform the classic “in-air” measurement towards the final focusing quadrupoles.
MDI alignment monitoring mock-up: FSI heads preparation
22/05/2025, FCC week 2025, Vienna
Léonard WATRELOT, BE-GM-FP
22

## Slide 23
23
Vertex detector geometry monitoring
22/05/2025, FCC week 2025, Vienna
Léonard WATRELOT, BE-GM-FP

## Slide 24
24
Gibson, S. M., et al. "Monitoring the heart of ATLAS using Frequency Scanning Interferometry." Proceedings of the Eighth International Workshop on Accelerator Alignment, CERN, Geneva. 2004.
To put to perspective : subdetector monitoring systems installed inside ATLAS
Cf. presentation
22/05/2025, FCC week 2025, Vienna
Léonard WATRELOT, BE-GM-FP

## Slide 25
25
Prism for compact laser beam redirection
Glass bead retroreflector (4 mm)
Regular glass bead retroreflector
3D printed prism and fiber holder
Optical fiber ferrule
Examples of optical systems available :
First simulations ongoing (here, the network of points and points visible from a measuring position):
Inner tracker not studied yet
Deformation monitoring: simulations ongoing
22/05/2025, FCC week 2025, Vienna
Léonard WATRELOT, BE-GM-FP

## Slide 26: Thank you for your attention
26
22/05/2025, FCC week 2025, Vienna
Léonard WATRELOT, BE-GM-FP
Notes: Sources :

## Slide 27
28
All the information from the fibers will go through there.
Challenges due to conditions (space, temperature gradient, radiations, vacuum …) -> interface with fibers brazed or glued using epoxy.
Design by M. Koratzinos
Grandal, Tania, et al. "Laser brazing metallic embedding technique for fiber optic sensors." 2017 25th Optical Fiber Sensors Conference (OFS). IEEE, 2017.
Bosman, M. Z. C., et al. "DESIGN AND DEPLOYMENT OF AN IN-VACUUM ELECTRO-OPTIC BPM AT THE CERN SPS."
Recovering the data from the fibers
Epoxy glued optical fiber for installation on low-beta quadrupole cryostat for HL-LHC
To be studied
22/05/2025, FCC week 2025, Vienna
Léonard WATRELOT, BE-GM-FP

## Slide 28
29
BCAM
Amelung, Christoph, et al. "The Optical Alignment System of the ATLAS Muon Spectrometer Endcaps." ATL-MUON-PUB-2008-003 (2008).
Lines of sight
To put to perspective : subdetector monitoring systems installed inside ATLAS
22/05/2025, FCC week 2025, Vienna
Léonard WATRELOT, BE-GM-FP

## Slide 29
30
Interest of having a system able to move one or multiple element without requiring to disassemble the entire QC1 ?
Not necessary to be accurate at 10 μm, a system able to correct major displacements ~0.2 mm to 1mm (due to transport, gravity deformation, movement during cool down, intense magnetic fields …) would be already extremely convenient.
Not necessary to work at cryogenic temperatures only at room temperature would be already extremely convenient.
Not necessary to be able to work during the run of the machine, during shut downs would be already extremely convenient.
Universal Alignment Platform Tests, Kacper Widuch, Vivien Rude BE-GM-HPA 2021-03-11
A lot of possibilities are open, from the system working only at warm temperature allowing a re-adjustment to the 0,1mm level of major components at the end of shut downs, to the system able to realign in real time and during the run of the machine the cold components to the micrometer level.
Systems to work in these conditions exist, the difficulty is to quantify their advantage compared to a loss of luminosity due to any misquantified misalignment value or to the need to dismount, disassemble, realign, reassemble and remount the assembly.
Larchevêque, C., et al. "The Euclid VIS read-out shutter unit: a low disturbance mechanism at cryogenic temperature." arXiv preprint arXiv:1801.07496 (2018).
The EUCLID VIS Read-out Shutter Unit, which will operate in space
Re-adjustment system
22/05/2025, FCC week 2025, Vienna
Léonard WATRELOT, BE-GM-FP