## Slide 1: Integration update tunnel, arcs, Experiment caverns, service caverns and Alcoves
22.05.2025 / FCC Week
F. Valchkova-Georgieva
EN-ACE-INT

## Slide 2
  FCC Underground Structure Overview
  Integration of FCC-ee/hh Arc Cell
  FCC-ee/hh Underground Structure point A
  Integration of FCC-ee Beamstrahlung dump point A
  FCC-ee Booster Injection at point A
  FCC-ee Underground Structure point B
  FCC-ee/hh Underground Structure point D and point J
  FCC-ee Underground Structure point F
  FCC-ee Underground Structure point G
  Integration of FCC-ee Alcoves and transport areas
22.05.2025 / FCC Week
F. Valchkova-Georgieva EN-ACE-INT

## Slide 3
  FCC-ee Underground Structure Overview
Courtesy A. Navascues Cornago
Only schematic, and not to scale.
22.05.2025 / FCC Week
F. Valchkova-Georgieva EN-ACE-INT

## Slide 4
  Integration study of FCC Arc Cell
22.05.2025 / FCC Week
PLM References:
FCC-ee Arc Cell: https://plm.cern.ch/p/CAD/number:ST1901108_01
FCC-hh Arc Cell: https://plm.cern.ch/p/CAD/number:ST1883395_01
EDMS References: https://edms.cern.ch/document/3136748/1.1
F. Valchkova-Georgieva EN-ACE-INT

## Slide 5
22.05.2025 / FCC Week
  Integration of FCC-ee machine elements (regular arc)
Collider Center
Machine tunnel 5.5m in diameter
3 Cable trays
5 Cable trays
Chilled water
DN300
Magnet vehicle
Transport space reservation
2.2m x 2.25m (LxH)
HV Cable
2 Cable trays
He/Smoke extraction
Raw water
DN250
Demineralized water
DN550
Compressed air
DN80
4 Cable trays
Leaky feed
Reject water
DN125
Drain
Fresh air duct
Collider ring
Booster ring
Main cross section as for FCC-hh
Main ring below of booster ring
Main ring and booster ring 1.03 m distant
He recovery line
Robot space reservation
2.9m x 0.55m (LxH)
F. Valchkova-Georgieva EN-ACE-INT

## Slide 6
  Integration of FCC-ee machine elements (regular arc)
Collider ring
Booster ring
Sextupole
Quadrupole
Dipole
Sextupole
Quadrupole
Dipole
22.05.2025 / FCC Week
F. Valchkova-Georgieva EN-ACE-INT
Please follow Federico Carra’s & Audrey Piccini’s presentation "Arc half-cell mock-up status"
Please follow Anton Lechner’s presentation "Strategy for mitigating radiation to equipment in FCC-ee"
Please follow Barbara Humann’s presentation "Radiation environment"
Integration study pre-TDR phase

## Slide 7
  Integration of FCC-hh machine elements (regular arc)
Collider Center
Machine tunnel 5.5m in diameter
4 Cable trays
Chilled water
DN300
Magnet vehicle
Transport space reservation
2m x 2.25m (LxH)
HV Cable
2 Cable trays
He/Smoke extraction
Raw water
DN250
Demineralized water
DN250
Compressed air
DN80
Leaky feed
Reject water
DN125
Drain
Fresh air duct
Main cross section as for FCC-ee
Warm He recovery DN250
Demineralized water felling DN65
Helium Recovery line DN100
Superconducting link DN250
QRL ø 1100
Machine cryostat ø 1200
Robot space reservation
2.9m x 0.55m (LxH)
22.05.2025 / FCC Week
FCC-hh cryogenic system updated layout
F. Valchkova-Georgieva EN-ACE-INT

## Slide 8
  FCC-ee Underground Structure point A
22.05.2025 / FCC Week
PLM References: https://plm.cern.ch/p/CAD/number:ST1874371_01
EDMS References: https://edms.cern.ch/document/3126003/1.0
F. Valchkova-Georgieva EN-ACE-INT

## Slide 9
  FCC-ee Underground Structure at point A
Experiment Shaft ø18m
Service Shaft ø18m
22.05.2025 / FCC Week
F. Valchkova-Georgieva EN-ACE-INT

## Slide 10
  FCC-ee Underground Structure at point A
22.05.2025 / FCC Week
F. Valchkova-Georgieva EN-ACE-INT

## Slide 11
  FCC-ee Underground Structure at point A
150m
948m
160m
10m
132m
5m
60m
5m
100m
5m
288m
20m
5m
  Section 1
  Section 2
  Section 3
  Section 4
  Section 5
  Section 6
  Section 7
1
2
3
4
5
6
7
97m
  Section Dump
D
22.05.2025 / FCC Week
F. Valchkova-Georgieva EN-ACE-INT

## Slide 12
  FCC-hh Underground Structure at point A
22.05.2025 / FCC Week
F. Valchkova-Georgieva EN-ACE-INT

## Slide 13
  FCC Underground Structure at point A
  FCC-hh
  FCC-ee
22.05.2025 / FCC Week
F. Valchkova-Georgieva EN-ACE-INT

## Slide 14
  Integration study of FCC-ee Beamstrahlung dump point A
22.05.2025 / FCC Week
F. Valchkova-Georgieva EN-ACE-INT

## Slide 15
  FCC-ee main and booster rings Layout
Courtesy K. Oide/ A. Chance
The separation of 3 rings is about 12.7m
Wide tunnel in necessary around the IP for 0.8 km
22.05.2025 / FCC Week
F. Valchkova-Georgieva EN-ACE-INT

## Slide 16
  FCC-ee beamstrahlung dump integration at point A
IP
194m
22.05.2025 / FCC Week
F. Valchkova-Georgieva EN-ACE-INT

## Slide 17
  FCC-ee beamstrahlung dump integration at point A
IP
364m
22.05.2025 / FCC Week
F. Valchkova-Georgieva EN-ACE-INT

## Slide 18
  FCC-ee beamstrahlung dump integration at point A
IP
476m
22.05.2025 / FCC Week
F. Valchkova-Georgieva EN-ACE-INT

## Slide 19
  FCC-ee beamstrahlung dump integration at point A
IP
500m
22.05.2025 / FCC Week
F. Valchkova-Georgieva EN-ACE-INT

## Slide 20
  FCC-ee Booster Injection at point A
22.05.2025 / FCC Week
F. Valchkova-Georgieva EN-ACE-INT

## Slide 21
  FCC-ee Booster injection integration at point A
693.3m
Booster injection line
Booster Injection Line Tunnel
  Machine tunnel Section 5
Booster ring
Booster injection line
E- ring
E+ ring
22.05.2025 / FCC Week
Evacuation Tunnel
F. Valchkova-Georgieva EN-ACE-INT

## Slide 22
  FCC-ee Underground Structure point B
22.05.2025 / FCC Week
PLM References: https://plm.cern.ch/p/CAD/number:ST1875595_01
EDMS References: https://edms.cern.ch/document/3126005/1.0
F. Valchkova-Georgieva EN-ACE-INT

## Slide 23
  FCC-ee Underground Structure at point B
  Service Shaft
Collider dump electron
Booster dump electron
Collider dump positron
Booster dump positron
Collider injection & Dump positron
Booster extraction & Dump
Collider injection & Dump electron
22.05.2025 / FCC Week
F. Valchkova-Georgieva EN-ACE-INT

## Slide 24
  FCC-ee Underground Structure at point B
  Section Dump
  Section 4
  Middle LSS
327m
28m
83m
155m
330m
138.5m
5m
5m
5m
1
D
2
3
4
5
  Section 1
  Section 5
  Section 3
  Section 2
22.05.2025 / FCC Week
  Transport space occupation
F. Valchkova-Georgieva EN-ACE-INT

## Slide 25
  FCC-ee Underground Structure
  point D and point J
22.05.2025 / FCC Week
PLM References: https://plm.cern.ch/p/CAD/number:ST1914309_01
EDMS References: https://edms.cern.ch/document/3126007/1.0
F. Valchkova-Georgieva EN-ACE-INT

## Slide 26
  FCC Underground Structure at point D and point J
Experiment Shaft ø15m
Service Shaft ø18m
22.05.2025 / FCC Week
F. Valchkova-Georgieva EN-ACE-INT

## Slide 27
  FCC-ee Underground Structure at point D and point J
22.05.2025 / FCC Week
F. Valchkova-Georgieva EN-ACE-INT

## Slide 28
  FCC-hh Underground Structure at D and point J
22.05.2025 / FCC Week
F. Valchkova-Georgieva EN-ACE-INT

## Slide 29
  FCC Underground Structure at D and point J
  FCC-hh
  FCC-ee
22.05.2025 / FCC Week
F. Valchkova-Georgieva EN-ACE-INT

## Slide 30
  FCC-ee Underground Structure point F
22.05.2025 / FCC Week
PLM References: https://plm.cern.ch/p/CAD/number:ST1943583_01
EDMS References: https://edms.cern.ch/document/3126008/1.0
F. Valchkova-Georgieva EN-ACE-INT

## Slide 31
  FCC-ee Underground Structure at point F
Service Cavern
Accelerator tunnel
Service Shaft ø12m
Connection tunnel ø 7m
Junction Cavern/Shaft
Junction Cavern/Machine tunnel
Access Tunnel ø9m
22.05.2025 / FCC Week
F. Valchkova-Georgieva EN-ACE-INT

## Slide 32
  FCC-ee Underground Structure at point F
  Section Machine Tunnel
  Transport Tunnel
204m
540m
  Service Shaft
22.05.2025 / FCC Week
F. Valchkova-Georgieva EN-ACE-INT

## Slide 33
  FCC-ee Underground Structure point G
22.05.2025 / FCC Week
PLM References: https://plm.cern.ch/p/CAD/number:ST1939652_01
EDMS References: https://edms.cern.ch/document/3136745/1.0
F. Valchkova-Georgieva EN-ACE-INT

## Slide 34
  FCC-ee Underground Structure at point G
Experiment Shaft ø18m
Service Shaft ø18m
22.05.2025 / FCC Week
F. Valchkova-Georgieva EN-ACE-INT

## Slide 35
  FCC Underground Structure at point G
22.05.2025 / FCC Week
F. Valchkova-Georgieva EN-ACE-INT

## Slide 36
  Integration study of FCC alcove and transport Layby
PLM References:
FCC-ee Standard Big Alcove: https://plm.cern.ch/p/CAD/number:ST1947597_01
FCC-ee Big Alcove point A/point G: https://plm.cern.ch/p/CAD/number:ST1828012_01
FCC-ee Big Alcove point B: https://plm.cern.ch/p/CAD/number:ST1948847_01
FCC-ee Alcove ARC: https://plm.cern.ch/p/CAD/number:ST1950313_01
FCC-ee Arc Junction Small Parking Area: https://plm.cern.ch/p/CAD/number:ST1921399_01
FCC-ee Arc Junction Big Parking Area: https://plm.cern.ch/p/CAD/number:ST1921600_01
EDMS References: https://edms.cern.ch/document/3136752/1.0
22.05.2025 / FCC Week
F. Valchkova-Georgieva EN-ACE-INT

## Slide 37
  FCC Alcove and transport Layby integration
Schematic of the principle of cabling from the alcoves
Courtesy Jean-Paul Burnet
22.05.2025 / FCC Week
F. Valchkova-Georgieva EN-ACE-INT

## Slide 38
  FCC Alcove and transport Layby integration
  Electrical requirements for Small Alcoves:
  Electrical requirements for Big Alcoves:
22.05.2025 / FCC Week
F. Valchkova-Georgieva EN-ACE-INT

## Slide 39
Big Alcove 1st Level
Big Alcove 2nd Level
  FCC-ee Underground Structure Big Alcove point A and point G
Collider Quad. Magnet Circuit
Collider Quad. Magnet Circuit
Collider Dipole Magnet Circuit
Booster Quadrupole Magnet Circuit
Booster Quadrupole Magnet Circuit
Booster Dipole. Magnet Circuit
HV Cubicles
Laser Hutch
22.05.2025 / FCC Week
F. Valchkova-Georgieva EN-ACE-INT

## Slide 40
  FCC-ee Underground Structure Big Alcove point A
Section View
Isometric View
830m
22.05.2025 / FCC Week
F. Valchkova-Georgieva EN-ACE-INT

## Slide 41
Big Alcove 1st Level
Big Alcove 2nd Level
  FCC-ee Underground Structure Big Alcove point B
Collider Quad. Magnet Circuit
Collider Quad. Magnet Circuit
Collider Dipole Magnet Circuit
Booster Quadrupole Magnet Circuit
Booster Quadrupole Magnet Circuit
Booster Dipole. Magnet Circuit
HV Cubicles
22.05.2025 / FCC Week
F. Valchkova-Georgieva EN-ACE-INT

## Slide 42
  FCC-ee Underground Structure Big Alcove point B
Isometric View
Section View
22.05.2025 / FCC Week
F. Valchkova-Georgieva EN-ACE-INT

## Slide 43
  FCC-ee Underground Structure Big Alcove at point F
Big Alcove 1st Level
Big Alcove 2nd Level
Collider Quad. Magnet Circuit
Collider Quad. Magnet Circuit
Collider Dipole Magnet Circuit
Booster Quadrupole Magnet Circuit
Booster Quadrupole Magnet Circuit
Booster Dipole. Magnet Circuit
HV Cubicles
22.05.2025 / FCC Week
F. Valchkova-Georgieva EN-ACE-INT

## Slide 44
  FCC-ee Underground Structure Big Alcove at point F
Isometric View
Section View
22.05.2025 / FCC Week
F. Valchkova-Georgieva EN-ACE-INT

## Slide 45
  FCC-ee Underground Structure Big Alcove at point D and point J
Isometric View
Section View
22.05.2025 / FCC Week
F. Valchkova-Georgieva EN-ACE-INT

## Slide 46
  FCC-ee Underground Structure Small Alcove in the Arc
22.05.2025 / FCC Week
F. Valchkova-Georgieva EN-ACE-INT

## Slide 47
  FCC-ee Underground Structure Small Alcove in the Arc
Small Alcove with Small Parking Area
Small Alcove with Big Parking Area
Small Parking Area
Big Parking Area
22.05.2025 / FCC Week
F. Valchkova-Georgieva EN-ACE-INT

## Slide 48
  Conclusion
Integration of all underground infrastructures for FCC-ee and FCC-hh are under study (pre-TDR phase)
Two optics families should be compared: GHC (Oide-san), LCC (P. Raimondi). Today the integration study is based on GHC optic
The integration studies will continue to evolve addressing the stakeholder requirements in order to provide preliminary 3D models to the civil engineering design office for the overall FCC underground areas, including detectors, accelerators, services, transfer lines, and access tunnels by December 2025.
22.05.2025 / FCC Week
F. Valchkova-Georgieva EN-ACE-INT

## Slide 49: I would like to acknowledge the FCC Technical Infrastructure Coordination team and the FCC Accelerator Technology team for their input and support in the integration studies.
49
22.05.2025 / FCC Week
F. Valchkova-Georgieva EN-ACE-INT

## Slide 50: Thank you for your attention.
50
22.05.2025 / FCC Week
F. Valchkova-Georgieva EN-ACE-INT