## Slide 1: Review of the safety concept: pre-TDR roadmap
A. Henriques
FCC Week 2025
22/05/2025
22/05/2025 FCC Week

## Slide 2: Review of the safety concept: pre-TDR roadmap
gratefully acknowledging the contributions of the FCC Safety WP members:
Ghislain Roy
Giacomo Lavezzari
Guven Nergiz
Markus Widorski
Oriol Rios
Pavol Vojtyla
Thomas Otto
Tomasz Ladzinski
… and the TIWG WG
22/05/2025 FCC Week

## Slide 3: Outline
Safety concept – recap
Review of the Safety Concept
  Internal
  External
Review – UK Health & Safety Executive
Safety WP – pre-TDR
  Tasks
  Master plan
Conclusion

## Slide 4: FCC Feasibility Study – Safety concept
See Safety talks
~40% of Technical Infrastructure sections

## Slide 5: Safety Concept - recap

## Slide 6: Safety Concept - recap
Access control
Air management
Egress / Personnel Transportation
Emergency Response
Longitudinal compartments
Hazard detection
Evacuation guidance system
Horizonal & Vertical egress redundancy
Integrated approach

## Slide 7: Review of the Safety Concept – Internal
Source: https://indico.cern.ch/event/1369398/#8-communications
MTR

## Slide 8: Review of the Safety Concept – Internal

## Slide 9: Review of the Safety Concept – Internal
SAC
External review

## Slide 10: Review of the Safety Concept – External
Notified body in the member states
Multi-disciplinary team
Experience in large infrastructure projects
SPC action: Carry out (…) a risk analysis by external consultant to verify that no important changes (…) are required.
Obj #1: Identifying any showstoppers

## Slide 11: Review of the Safety Concept – External
Notified body in the member states
Multi-disciplinary team
Experience in large infrastructure projects
SPC: Carry out (…) a risk analysis by external consultant to verify that no important changes (…) are required.
Obj #1: Identifying any showstoppers
Obj #2: Identify improvements
Page 1 / 99

## Slide 12: Review of the Safety Concept – HSE UK
https://www.hse.gov.uk/guidance/topics.htm
Britain’s statutory regulator of occupational health and safety

## Slide 13: Review – UK HSE
https://edms.cern.ch/document/3296700/1
Objective #1
Conclusions:
Following HSE’s (UK) assessment of the CERN Future Circular Collider (FCC) concept safety case, HSE (UK) have identified several areas that require further refinement to address potential concerns. CERN’s responses [2] reflect a commitment to resolving these issues. CERN have indicated that certain matters have been or will be addressed and as such HSE’s evaluation finds no fundamental barriers in the concept safety report at this stage. However, this determination is subject to the consideration of HSE’s comments and recommendations.
Objective #2
Review of all safety domains, except Radiation Protection

## Slide 14: Review – UK HSE
https://edms.cern.ch/document/3296700/1
Objective #2 - TODOs
Enhanced risk assessments and scenario modelling:
- “What if” scenarios
Fire / ODH and ventilation interaction studies
Single point failure mitigation in electrical secure power network
Impact on design changes and technology updates
pre-TDR tasks
Expand evacuation plan / studies

## Slide 15: Safety WP – pre-TDR
Door closed during evacuation
“What if” scenarios
Failure of Compartment Doors
Delayed Fire Detection
Evacuation Alarm Failure
Power Loss
Blocked Escape Routes During Installation phase
Autonomous Vehicle Malfunction
Smoke Extraction Failure
Vehicle Fire in Alcoves
Definition of MCI for SRF
Failure in MV Network
Lift Failure
Panic / victims
First task: HAZOP / HAZIDs for all safety domain
See Safety talks
Seismic hazard

## Slide 16: Safety WP – pre-TDR
“What if” scenarios - examples
Door closed during evacuation
Smoke Extraction Failure
O. Rios et al, FCC Week 2024
See “Reviewed fire safety concept and future studies”,
O. Rios

## Slide 17: Safety WP – pre-TDR
Fire / ODH and ventilation interaction studies
O. Rios et al, FCC Week 2024
FCC Feasibility Study report, Vol II
D. Lafarge et al.
See “ODH simulations”,
G. Nergiz

## Slide 18: Safety WP – pre-TDR
Expand evacuation plan / studies
F. Valchkova-Georgieva
RF sectors
W x H = 2.20 x 2 m
R. Rinaldesi, FCC Week 2024

## Slide 19: Safety WP – pre-TDR
Single point failure mitigation in electrical secure power network
Secured and uninterruptible network distribution in the tunnel in MV
Use the same link (20 kV) for general services AND safety systems
Load shedding logic in case of power outage - risk assessment required
MV line, cables and equipment (switches, etc) in tunnel = safety standards
Power unavailability: 10-30 s
C. Marcel,
FCC Week 2025
FCC Feasibility Study report, Vol II

## Slide 20: Safety WP – pre-TDR
Seismic hazard assessment
M. Andreini
FCC Feasibility Study report, Vol II
See “Advances in Derisking the FCC Tunnel Design”,
A. Moscariello

## Slide 21: Safety WP – pre-TDR
CFD studies
Mesh sensitivity analysis
Benchmarking
Cyber-physical security
Ergonomics
Safety Documentation
Smoke Extraction in Caverns
PPE
Evacuation scenarios during construction / installation
…

## Slide 22: pre-TDR Master Plan
M. Benedikt
2024 |  |  |  | 2025 |  |  |  | 2026 |  |  |  | 2027 |  |  | 
Q1 | Q2 | Q3 | Q4 | Q1 | Q2 | Q3 | Q4 | Q1 | Q2 | Q3 | Q4 | Q1 | Q2 | Q3 | Q4
FS Report
cost update
Pre-TDR Phase
Feasibility Study
Project Decision
ESPPU
2025/26
pre TDR
cost update
Review SC
New
commers
What if scenarios
Safety studies
Evac modelling
CFD simulations
ASET / RSET
Risk assessment
Seismic hazard assessment
Pre-TDR
Report
FCC
Safety WP

## Slide 23: Conclusion
Page 99 / 99
Let's get to work, shall we !!
Feasibility confirmed w.r.t Safety
Confirmation +
pre-TDR work plan
pre-TDR master plan

## Slide 24: Thank you
Gratefully acknowledging the contributions of the FCC Safety WP members and the TIWG WG