## Slide 1
Technical infrastructure Summary
K Hanke, FCC Week 2025, 23/05/2025
1
Klaus Hanke

## Slide 2
2
Klaus Hanke
6 sessions
24 presentations

## Slide 3
Klaus Hanke
3

## Slide 4
4
Klaus Hanke
Electricity and Energy Management
Chair: Nicolas Bellegarde
Mario Parodi, New technologies for electrical transmission and distribution
Santiago Hernán Suarez, Integrating renewable energy and hydrogen storage into the FCC
Charline Marcel, Electrical grid and infrastructure update
Hannah Dostmann, Technical infrastructure availability: Challenges and opportunities from LHC to FCC-ee
M. Parodi, M. Colmenero:
The problem of power quality
Data from PMUs (phasor measurement units), detected e.g. instabilities before black-out
Unified Power Flow Controllers for FCC
S. Hernan Suarez:
Renewable energy (solar, wind); hydrogen storage

## Slide 5
5
Klaus Hanke
Electricity and Energy Management
C. Marcel:
Concept of the electrical grid for FCC-ee
Electrical infrastructure layout
Secured network concept

## Slide 6
6
Klaus Hanke
Electricity and Energy Management
H. Dostmann, availability
electrical system, cryogenics, cooling & ventilation;
data based on experience, along with mitigation measures

## Slide 7
7
Klaus Hanke
RF Points and Cryogenics
Chair: Frank Gerigk
Fani Valchkova, Mark Timmins, Integration of RF points for FCC-ee
Davide Aguglia, Powering of RF for FCC-ee
Anita Petrovic, FCC-ee cryogenics status update from FSR
Laurent Delprat, FCC-hh cryogenics update for 1.9 K and 4.5 K options
F. Valchkova, M. Timmins: updated integration of PH, PL, based on new cryostat design

## Slide 8
8
Klaus Hanke
RF Points and Cryogenics

## Slide 9
9
Klaus Hanke
RF Points and Cryogenics
D. Aguglia, powering of the RF
new baseline Tristron
Modular Multilevel Converter MMC
existing facilities feature high availability and efficiency
available technology, centralized powering scheme seems to be the best

## Slide 10
10
Klaus Hanke
RF Points and Cryogenics
A. Petrovic, cryo system for FCC-ee
L. Delprat, cryo system for FCC-hh
baseline 1.9 K

## Slide 11: FCC-ee @ ttbar
FCC-ee collider cryogenic system layout for operation
Klaus Hanke
11

## Slide 12
12
Klaus Hanke
Integration and Radiation
Chair: Sonia Bartolome
Fani Valchkova, Integration update
Federico Carra, Audrey Piccini, Arc half-cell mock-up status
Barbara Humann, Radiation environment in the FCC-ee arcs

## Slide 13
13
Klaus Hanke
experimental Points
technical Points
RF sections
alcoves
service caverns
etc.

## Slide 14
14
Klaus Hanke
F. Carra, A. Piccini, status of arc half-cell mock-up
arc represents 85% of the machine
installation at CERN in an existing building
preparatory works ongoing

## Slide 15
15
Klaus Hanke
B. Humann
radiation environment in the FCC-ee arcs
challenges: dissipated power, ionizing dose, radiation to electronics

## Slide 16
16
Klaus Hanke
Safety
Chair: Benoit Delille
Andre Henriques, Review of the safety concept - pre-TDR roadmap
Giacomo Lavezzari, Radiation protection studies for the FCC
Oriol Rios, Reviewed fire safety concept and future studies
Guven Nergiz, ODH simulations: benchmark and access conditions to RF sector
Marc Nas & Hannes Gamper, FRS intervention: use of robotics

## Slide 17
17
Klaus Hanke

## Slide 18
18
Klaus Hanke
Cooling and Ventilation, Geodesy
Chair: Ingo Ruehl
Inigo Martin Melero, Cooling update
Inigo Martin Melero, Ventilation update
Armin Hafner (NTNU), Heat recovery perspectives with CO2
Benjamin Weyer, Geodesy update

## Slide 19
Klaus Hanke

## Slide 20
20
Klaus Hanke

## Slide 21
Klaus Hanke
21

## Slide 22
22
Klaus Hanke
Transport and Logistics
Chair: Benedikt Müller / FIML
Damien Lafarge, Transport concept (personal and material)
Hannes Gamper, Robotics update
Milosz Zielinski, Magnet production
Sarah Fleury, Installation schedule

## Slide 23
23
Klaus Hanke
Transport and Logistics
Transport and installation of a quadrupole with two sextupoles and the supporting girder (QSS unit)
max speed 30 km/h
autonomous driving
driveway width is 2.2 m

## Slide 24
24
Klaus Hanke
H. Gamper, robotics update

## Slide 25
S. Fleury, updated installation schedule

## Slide 26
Klaus Hanke
Big thanks to the chairpersons and speakers of the infrastructure sessions

## Slide 27
27
27
Klaus Hanke