## Slide 1: EE Chamber Commissioning
By: Eric Seabron

## Slide 3: How to find Momentum using MDTs
Find To Values => t – to = td
Create R-T functions to find drift radius (rd) where, rd ≡ f(td)
R = Rd ± r where,
r ≡ Resolution Function
R values are used to find the Sagitta value (S)
N = # of position measurements
k = distance between each measurement

## Slide 4
To Values & R-T Graphs

## Slide 5
Tracking Resolution

## Slide 9: Finding Leaks and Fixing Leaks

## Slide 10
~5.18 Volume Exchanges/Day

## Slide 11
Chart: Leakage Rate
| EES1C10 ML1 | EES1C10 ML2 | EES2C10 ML1 | EES2C10 ML2 | EES1C04 ML1 | EES1C04 ML2 | EES2C04 ML1 | EES2C04 ML2 | EES1C14 ML1 | EES1C14 ML2 | EES2C14 ML1 | EES2C14 ML2 | EES1C02 ML1 | EES1C02 ML2 | EES2C02 ML1 | EES2C02 ML2 | EES1C16 ML1 | EES1C16 ML2 | EES2C16 ML1 | EES2C16 ML2 | EES1C12 ML1 | EES1C12 ML2 | EES2C12 ML1 | EES2C12 ML2 | EES1C08ML1 | EES1C08ML2 | EES2C08ML1 | EES2C08ML2 | EES1C06ML1 | EES1C06ML2 | EES2C06ML1 | EES2C06ML2
Multilayer | 0.63972 | 0.72352 | 0.75145 | 0.74063 | 1.0862 | 1.1524 | 0.95644 | 1.1024 | 0.48096 | 1.1154 | 0.71129 | 0.52004 | 0.37753 | 0.86688 | 0.66961 | 1.0597 | 0.96151 | 1.5847 | -0.32206 | 1.002 | 1.0061 | 0.65565 | 0.51853 | 0.29316 | 0.61232 | 2.0179 | 1.7772 | 0.55733 | 0.66646 | 0.45221 | 1.1752 | 0.52617

## Slide 12: Low Voltage Electronics Testing
1) Stress Test with 3-15 hour High Voltage Tests
2) Look for Errors and Bugs which indicate faulty electronics
3) Replace Faulty Electronics and Restart HV Stress Tests
If Lucky the Chambers will pass all tests and can be put back in storage
DAQ System

## Slide 13
•The Mezzanine card processes 24 tubes using 3 ASD (Amplifier Shaper Discriminator) chips and a TDC (Time to Digital Converter) chip.
•The CSM uses an passive interconnection of all 18 Mezz Cards to obtain is data which it sorts through using a active components including a Multiplexer.
CSM Board

## Slide 14
Dark Currents
< 2uA
Chamber Temperature Probes

## Slide 15
Mezz Temp. Probes
B-Field
Irregular Magnetometer Reading

## Slide 16: More Electronics Hardware
We must remove screws between the multilayers from electronics covers for easier access to the Mezz Cards in the pit.
Reinstall mounting plates for HV splitter boxes with better fortified copper plate backs.

## Slide 17: Summary
Commissioned 8 sectors ~ 16 Chambers.
Removed >1000 screws.
Installed 16 HV boxes.
Ran >80 stress tests.
Intimately learned about the EE Chambers … we treated each one as if it were our own.
In total we …
Our Commissioning Team:
Kareem Hegazy, Rex Brown, Eric Seabron, Lulu Liu, Dr. Junjie, Dr. Bing, Dr. Tiesheng, Dr. Jianbei
Questions???