## Slide 1: Monitoring & Forecasting CERN’s Energy Consumption Challenges & Opportunities
A.Kiourkos
2024-09-13
ENTSO-E

## Slide 2: Agenda
CERN’s Electrical Network
Energy consumption at CERN
Energy Monitoring
Forecasting
Anomaly detection
On-going works

## Slide 3
400 kV
220 kV

## Slide 4
B.T.
BE2
BE1
ROMANEL
CHAMOSON
GENISSIAT
VERBOIS
BE1
RTE/Swissgrid 400 kV lines
RTE Bois-Tollot 400 kV substation
BE1 400/66/18 kV substation
BE2 400/66 kV substation
66 kV lines
66/18 kV substation
18 kV lines
18 kV substation
SIG 132 kV line
ME10 130/18 kV substation
ENEDIS 20 kV suppliles
BE2
B.T.

## Slide 5: Energy consumption @ CERN
High-energy physics is energy-intensive…. 😊
Magnets
RF Cavities
Cooling systems
  Cryogenics
  Cooling and Ventilation
Data Centers
General Infrastructure
CERN
1.2 GWh
~ 1/3
Canton of Geneva

## Slide 6: Web Energy
Energy Management System developed @ CERN.
Records and monitors energy consumption.
Forecasts energy consumption.
Detects anomalies.
Facilitates the management of the electricity contract.
Provides users with visibility into energy consumption.
Contains the experience of CERN’s energy management team.

## Slide 7: Architecture
Cloud native architecture.
Various data sources.
Flexible & scalable.
Import-export of data using open formats.
Based on open-source technologies.

## Slide 8: Data Model & Versioning

## Slide 9: Forecasting

## Slide 10: Forecasting

## Slide 11: Anomaly Detection

## Slide 12: Anomaly Detection

## Slide 13: On-going works – GIS Integration

## Slide 14: On-going works
Gas and Water monitoring.
KPIs according to ISO 50001.
Short term forecasting and analysis using AI.
Advanced reporting capabilities
Customizable dashboards

## Slide 15: Questions?
akiourko@cern.ch