Technical Board - Radiation tolerant Cabling
Ewald Effinger for SY-BI-BL
20.06.2024

---
Cabling in TDC2

---
Cabling in LSS2 and TT20

---
BL needs for radiation tolerant cables in LS3
Cables for the LSS2 installation
Cables for the TDC2 installation

---
BL needs for radiation tolerant cables in LS3
Cables for the TDC2 installation (oBLM)
Cables for the TCC2 installtion

---
Total request for the BL section
A total of almost 15km radiation tolerant cable is needed.
5 different cable types are needed.
For the installation we also need connectors and plugs with PEEK isolation.