## Slide 1: ALLEGRO Noble Liquid Upcoming Beam Tests
J.Rutherfoord
13 December 2024
v1

## Slide 2: Proposal to ALLEGRO collaboration
The University of Arizona group proposes to be responsible for organizing all test beam runs at the CERN North Area
Provide all cryostat/cryogenics systems
  Also DAQ, trigger, …
Coordinate with CERN services for scheduling, procurements, safety, …
Organize ALLEGRO testbeam aims and needs
Manage the test beam run

## Slide 3: Arizona Management Experience
Test beam runs organized and run
  1993 November H8 – EM Energy resolution
  1995 Summer H6 – Test realistic preamps …
  1998 Summer H6 – Hadron Energy resolution
  2003 Summer H6 – FCal Calibration Run
  2004 Summer H6 – Correct FCal/HEC transition
  2005 Summer H6 – Fully populated readout
  2021 Summer H2 – FCalPulse (Space-charge)
  2022 Summer H8 – FCalPulse (Space-charge)

## Slide 4
Cryostat/Cryogenics system schematic

## Slide 5: Cryogenics System properties
Designed to be “baked out”
No “O-rings”, all metal (Cu) seals
  Earlier versions have rubber O-rings
Pull vacuum ~ 10-5 Torr
Safety “pop-off” valves
Anti-freezing LN2 flow-control valve
Safe in power outages – pressure regulated valves

## Slide 6
Inner Diameter 428 mm
Depth
600 mm
Inner Diameter 428 mm
Inner Diameter 260 mm

## Slide 9: Setup in CERN North Area

## Slide 13
350 GeV e- beam
EM shower initiator
Cryostat top view
428 mm
absorber/readout/absorber boards
700 mm

## Slide 14: DAQ
Preamp 8 ns risetime
32 – 40 channels digitizer
2 ns sampling 14 bit adc
5 Msample buffer