## Slide 1: Integration News
10.07.2024
F. Valchkova-Georgieva & Dieudonne Adrien Ngo'O Ella

## Slide 2
  Integration topics:
  Integration of FCC-ee Arc-cell (ST1743700_01)
  Integration of Underground strucutre point A (ST1874371_01)
  Integration of Underground strucutre point L (ST1859242_01)

## Slide 3
  Integration of FCC-ee machine elements (regular arc)
Collider Center
Machine tunnel 5.5m in diameter
3 DC Cable trays:
2x 300mm
1x 500mm
5 DC Cable trays:
1x400mm
1x500mm
3x600mm
Chilled water
DN300
Magnet vehicle
Transport space reservation
2.2m x 2.25m (LxH)
HV Cable
Cable trays:
2x 200mm
He/Smoke extraction
Raw water
DN250
Demineralized water
DN550
Compressed air
DN80
4 Cable trays
Leaky feed
Reject water
DN125
980
1030

## Slide 4
  FCC-ee Underground Structure at point A
Experimental Shaft ø18m
Bypass tunnel ø 5.5m
Machine tunnel
Service Cavern
Experiment Cavern
2 x Evacuation
connection tunnel
Survey Gallery
Connection tunnel ø 5.5m

## Slide 5
  FCC-ee Underground Structure at point A

## Slide 6
  FCC-ee integration study at point A

## Slide 7
150m
14.8m
5.73m
2.01m
339.4mm
3390.7mm
6160.7mm
E+ ring
E- ring
Beamstrahlung
Booster ring
0.98m
  FCC-ee integration study at point A
  Section 1
948m

## Slide 8
160m
10m
16.4m
6.51m
2.01m
2603.2mm
7132mm
3467.5mm
E+ ring
E- ring
Beamstrahlung
Booster ring
0.98m
  FCC-ee integration study at point A
  Section 2
948m

## Slide 9
132m
5m
  FCC-ee integration study at point A
18.6m
6.3m
4340mm
8640mm
1720mm
E+ ring
E- ring
Beamstrahlung
Booster ring
0.98m
  Section 3
948m

## Slide 10
60m
5m
  FCC-ee integration study at point A
14.5m
5.4m
9340mm
16mm
E+ ring
E- ring
Booster ring
0.98m
  Section 4
948m

## Slide 11
100m
5m
  FCC-ee integration study at point A
14.5m
5.4m
8643mm
900mm
E+ ring
E- ring
Booster ring
0.98m
  Section 5
948m

## Slide 12
288m
  FCC-ee integration study at point A
  Section 6
7.3m
3.5m
2518mm
1853mm
E+ ring
E- ring
0.98m
948m

## Slide 13
  FCC-ee Underground Structure at point A
Connection tunnel 5.5m in diameter

## Slide 14
  FCC-ee Underground Structure at point A
Bypass tunnel 5.5m in diameter

## Slide 15
  FCC-ee Underground Structure at point A
Connection tunnel 10m in diameter

## Slide 16: Thank you for your attention.
16
F. Valchkova-Georgieva