## Slide 1: RF cavity designs for ion therapy linacs
Alexej Grudiev, Stefano Benedetti, CERN
Ions2018 workshop, Archamps, 19-21 June 2018

## Slide 2: Outline
High frequency (HF)-RFQ linac cavity design
Interdigital H-mode (IH) accelerating structure at 750 MHz
High gradient backward travelling wave (BTW-HG) accelerating structure
Side coupled linac (SCL): high gradient versus high efficiency
Conclusion

## Slide 3: HF-RFQ: main features of the design at 750 MHz
Higher injection efficiency into 3 GHz linac
Compact RFQ cavity
High (for RFQ linacs) accelerating gradient: 2.5 MeV/m
Higher frequency -> high ohmic losses. Optimized cavity shape for lower losses
Four coaxial couplers provide RF power combination in the cavity:
  Compact, low cost power couplers and RF windows from PEEK
  Smaller perturbation of RF fields
The same vacuum flange is used for tuners, pumping port and RF power couplers

## Slide 4: RF design to minimize the ohmic losses
2D cross-section of RFQ
Conical tuners cross-section
Vacuum pumping ports

## Slide 5: Coaxial coupler design with PEEK RF window
Cross-section of RFQ with RF power coupler and Rf probe
H-field

## Slide 6
Chart: Energy [MeV]
| 5 | 15 | 30 | 50 | 70
IH 750MHz | 276.8 | 150 | 98 | 70 | 56.3
DTL 3GHz | 59.1 | 123.2 | 136.6 | 125.5 | 111.4
IH 750MHz opt | 410 | 296
The 750 MHz IH structure for low energy linac
Here constant 2.5mm bore radius
IH 750 MHz
DTL 3 GHz
IH 750 MHz opt
Notes: Many structures studied. TE, TM (IH, CH, DTL, CCL)
Two frequencies, 750 MHz, 3 GHz
DTL too short, even if it works at 2pi mode
IH optimized solutions: RF details skipped, optimization of all the parameters. (You have current flowing through the stems, you can impact much more than on a DTL design)

## Slide 7: 2.5 – 10 MeV IH accelerating structures
Q | R/Q | T
10732 | 38224 | 0.826
2.5 MeV – 522.5 MΩ/m
5 MeV – 410.2 MΩ/m
10 MeV – 296.1 MΩ/m
Lcell | Gap | S. Rad
20.586 | 11 | 3
Q | R/Q | T
10074 | 52072 | 0.780
Lcell | Gap | S. Rad
14.561 | 9 | 2.5
Q | R/Q | T
11681 | 25352 | 0.842
Lcell | Gap | S. Rad
28.949 | 15 | 4

## Slide 8
IH dipole kicks
Dipole kicks are a non-zero real component of the transverse voltage across the cavity gap
Dipole component
Quadrupole component (RF defocusing)
Lcell
x axis
Global compensation
Local compensation
Notes: Do a break, say it is the most important finding on this part, move one side to the other of the slides

## Slide 9: End cell design in IH structure
Matching frequency
with end cell diameter
with inwards cavity
ZTT = 90 Mohm/m
Matching frequency
with inwards cavities but outer volume is fixed
ZTT = 175 Mohm/m
Three cells ZTT (0.5gap) is 89.6 Mohm/m
TERA Foundation – CLUSTER design

## Slide 10: RF design of high gradient BTW and SCL
BTW-HG
SCL-HG
Full 3D RF design of two cavities Same max and
 | BTW150 | SCL-HG
Gap [mm] | 7.0 | 9.0
TT factor | 0.90 | 0.86
Q-factor (first/last) | 7000/7450 | 9140
R’/Q (first/last) [Ω/m] | 7430/7370 | 6570
ZTT (first/last) [MΩ/m] | 52/55 | 60.0
Comparison from 70 to 230 MeV
Chart: Kinetic Energy [MeV]
| 76 | 105 | 138 | 181 | 230 | 290 | 350
CCL | 53.5 | 63.2 | 68.983 | 74.4 | 79.5
BTW | 56.8142 | 67.7035 | 73.2903 | 77.4566 | 80.9602
Ratio | 1.0619 | 1.0713 | 1.0624 | 1.0411 | 1.0184
Cells are optimized to have minimum:
Sc in BTW cell: 1/32 segment
Notes: Highlight that input couplers where also designed
CCL wins for Q factor mainly
Difference get negligible at higher geometrical betas. Due to non RF considerations, we decided to propose the BTW design for the high gradient TULIP linac.
Same surface fields constraints

## Slide 11: RF design of high efficiency SCL for CABOTO
CABOTO may need lower gradient to reduce power consumption
Structures can be designed shorter
Beam envelopes are smaller
Cavity apertures are smaller
ZTT is higher, RF power is lower
Lower gradient allows a sharper nose design,
BUT
the greatest improvement comes from the aperture reduction
SCL-BL
SCL-HG
Notes: CCL BL is the ADE design!!
My CCL for CABOTO: septum 2mm (though to be discussed, for Rno…), not coupled solution studied
Lower radius advantage gets important for the CCL part. (14 % more ZTT going from 2.5 to 2mm)

## Slide 12: Mechanical tests: Creep and tuning pins
H2 bonding – 1050 C max temperature
20 mock-up RF cells tested Horizontal and vertical
Results for the 2 mm septum
Average axial deformation 13μm, radial 6μm
4 dimple tuners per RF cell,
10.5 mm diameter,
1.6 mm wall thickness
Test of Different Thickness
Notes: Creep tests, three were performed. Eventually we chose a 2mm septum thickness, key parameter for RF efficiency, but has to guarantee mechanical stability.

## Slide 13: RF measurements and tuning
Before tuning
After tuning
The cavity would be actually ready to accelerate particles
1st prototype – under HG test
2nd prototype
Notes: Discuss all the graphs

## Slide 14: BTW150 high power RF conditioning history
The prototype installed in CLIC CTF2
62 MV/m at RF pulse length of 1.6us
Breakdown rate is < 10e-5 bpp
Notes: Preliminary! (55/50)^16=4.6 (1.3/2.5)^3=0.14 -> 2.5e-6/4.6/0.14=4.2e-6

## Slide 15: Conclusion and outlook
All-linac based solution is a promising technology choice for ion therapy
Several concepts have been elaborated and different RF structures have been designed to cover the full range of ion energy
POSSIBLE NEXT STEPS
  Overall optimization taking into account user requirements as well as beam dynamics and RF constraints together with installation and operation cost
  Prototyping and high power testing of key RF components is essential for technical design of the accelerator and assessment of its reliability and cost

## Slide 16
Thank you !