## Slide 1: DRD1 H4(PPE134) 2024 Test Beam​
Eraldo Oliveri: +41754116126
Yorgos Tsipolitis: +41754118992
Karl Floethner : +41754110839
Wed. 26/06/2024 – Wed. 10/07/2024
Generic and Application driven R&D
  Technologies: Micromegas, uRWELL, uRGroove, GEM
  Application: High Rate, Timing, Calorimetry
  Readout: Capacitive Coupling, Resistive Sharing
Project driven R&D
FCC-muons uRWELL/TIGER
Detector Commissioning
  MPGDHCAL
FE electronics and DAQ
  Straw, VMM3a and TPC
E. Oliveri, K.J.Floethner, Y. Tsipolitis

## Slide 2: Beam Conditions
Muon Beam Purity: perfectly satisfying our needs (no showers produced by our detectors)
Pion: >10e+7/spill
Muon/Pion Rate: Very Satisfied. Huge thanks to Nikos, Bastien and Frederic (Aberle, RP) for helping optimize beam intensity and RP alarms. DAQ rate doubled in some setup. Very important and really appreciated.

## Slide 3: Setups (8)
PICOSEC
STRAW
USTC
SETUP
A
FCC-muons
PICOSEC
GDD/
DRD1
Tracker
SETUP
B
SETUP
E
SETUP
C
SETUP
G
SETUP
F
SETUP
D
MPGD HCAL
SETUP
H
MINICACTUS

## Slide 4
10x10-channel 𝜇-RWELL PICOSEC detector prototype
Beam
June 2024 JLab PICOSEC Telescope
PICOSEC 1
PICOSEC 2
PICOSEC 3
PICOSEC 4
GEM 1
GEM 2
GEM 3
MCP-PMT (out of frame)
K. Gnanvo, N. Shankman

## Slide 7: STRAWS

## Slide 8: STRAWS

## Slide 9: RD51/DRD1 VMM3a/SRS telescope
In addition to continuous self-triggered readout mode, VMM3a/SRS now also contains an externally triggered readout mode.
Goal of this test beam: performance characterisation of triggered mode → Useful for integration of front-end electronics with other telescopes and experiments
Measurements and results so far: → Externally triggered mode allows operation at lower thresholds (1 fC THL instead of typically 1.5 to 2.0 fC in the self-triggered mode) → Operation at high rates possible (> 100 kHz trigger rate), but detailed analysis still ongoing.
Thanks a lot to Bastien and Nikos for the excellent beam quality, especially the pion beam for the rate tests of the triggered mode
T1
T2
T3
7/11/2024
E. Oliveri, K.J.Floethner, Y. Tsipolitis

## Slide 10
USTC beam test: Cylindrical μRGroove
Setup：
  Gas: Ar/iC4H10(95:5) and Ar/CO2/CF4(45/15/40)
  Beam: 150GeV/c muon
  Readout from X-strip(top), V-strip grounded
  3×MM Tracker+APV25+SRS+mmDAQ
  CC for the perpendicular and μTPC for the oblique track
USTC Group: Yi Zhou, Siqi He
Spatial resolution by CC：90~100μm
Detection efficiency >95%;
Preliminary results of μTPC：~150μm
CC result
7/11/2024
10
E. Oliveri, K.J.Floethner, Y. Tsipolitis

## Slide 11
MPGDHCAL
Setup:
Tracker made of:
  2 Micromegas Tmm
  1 GEM with double readout
  2 Scintillators
Calo structure:
  all pad chambers with pad size of 1x1cm2
  3 Micromegas
  5 µRWELL
Measurements:
muons beam:
  HV top/mesh scan
  Drift scan
  X&Y scan
pions beam:
  rate capability
Tracker
Calo chambers
7/11/2024
11
E. Oliveri, K.J.Floethner, Y. Tsipolitis

## Slide 12
7/11/2024
12
E. Oliveri, K.J.Floethner, Y. Tsipolitis